Public Utility Commission of Texas

Memorandum

TO:	Doug Brown, Attorney

Legal Division

THRU:	Tammy Benter, Director

Debi Loockerman, Rates Team Lead

Water Utility Regulation Division

FROM:	Patricia Garcia, Engineering Specialist

Water Utility Regulation Division

DATE:  	August 1, 2017

SUBJECT:	Docket No. 47273; Application of Quadvest, L.P. for Temporary Rates for Services Provided for a Non-functional Utility

Background:

On June 9, 2017, Quadvest LP (Quadvest or Applicant), temporary manager of Suburban Utility Co (Suburban or Utility), Certificate of Convenience and Necessity (CCN) No. 10835, filed with the Public Utility Commission of Texas (Commission or PUC) a request for a temporary rate increase pursuant to Tex. Water Code Ann. § 13.046 (TWC) and 16 Tex. Admin. Code § 24.147 (TAC), in Harris County, Texas.

The Texas Commission on Environmental Quality (TCEQ) issued an emergency order effective for the period of March 27, 2017 through September 23, 2017, appointing Quadvest as temporary manager of Suburban.

On July 11, 2017, Order No. 3 was entered, finding Quadvest’s application and provision of notice to be sufficient.

Quadvest requests approval of a temporary rate increase for Suburban to assure sufficient funds are available for high priority repairs and maintenance projects in order to provide continuous and adequate service, and to keep the water utility operating properly within regulatory requirements.

Documentation Reviewed:

Items reviewed in support of this rate increase include:

- General ledger from Quadvest for the operation of Suburban for the months of April 2017 through June 2017.

- Quadvest’s Temporary Manager reports for the months of April 2017 through June 2017.

- Receipts and invoices for materials and labor costs related to repairs to the water system from March 2017 through June 2017.

- Electricity bills for the months of May 2017 through June 2017.

Recommendation:

Based on Staff’s review of the information in the application and the documentation described above, Staff concludes that Quadvest’s monthly expenses incurred in acting as temporary manager for Suburban justify the requested temporary rate increase.  In particular, Staff reviewed itemized receipts supporting Quadvest’s expenditures during its tenure as temporary manager of Suburban.  Those receipts show that Quadvest has repaired several of Suburban’s facilities, which indicates that the requested rates have been used to support the improvement of Suburban’s public water systems.  Staff supports continued investment in Suburban’s public water systems for CCN 10835.

As a result, Staff recommends that the Commission take the following actions:

- The Commission find that the proposed temporary rate of $38.01 per connection per month, as requested, effective June 10, 2017 and expiring on September 23, 2017 is reasonable.  This rate is in addition to the base rate listed on Suburban’s tariff.  Rates are as follows:

| Meter Sizes | Monthly Minimum Charge* | Temporary Rate Increase Requested | Temporary Monthly Minimum Charge |
| --- | --- | --- | --- |
| 5/8” x 3/4” | $23.00 | $38.01 | $61.01 |
| 3/4" | $23.00 | $38.01 | $61.01 |
| 1” | $57.50 | $38.01 | $95.51 |
| 1 ½” | $115.00 | $38.01 | $153.01 |
| 2” | $184.00 | $38.01 | $222.01 |
| 3” | $345.00 | $38.01 | $383.01 |

*Staff notes that the gallonage rates will not be changed from the tariffed rates.

- The Commission provide a copy of the attached tariff to the Applicant.

- The Commission order that the temporary manager provide the following documentation monthly by the last day of the month following the operational month until the temporary manager’s term is completed:

- Summary of monthly operations including revenues and expenses with detailed list of actual expenses incurred for manager’s fees, repairs, chlorine, billing, operator costs, electricity, laboratory fees, sampling costs, etc.;

- Copies of invoices and/or receipts to support the actual cost of service; and

- Actual number of customers at the beginning and ending of the month listed by public water system and meter size.