PUC Interoffice Memorandum

To:	Richard Nemer, Attorney

Legal Division

Thru:	Heidi Graham, Manager

Water Utilities Division

From:	Elisabeth English, Engineering Specialist

Water Utilities Division

Date:	May 9, 2019

Subject:	Docket No. 47398, Application of Horseshoe Bay Water Utility for Water and Sewer Certificates of Convenience and Necessity in Llano and Burnet Counties

On July 12, 2017, Horseshoe Bay Water Utility filed an application with the Public Utility Commission of Texas (Commission) to obtain water and sewer Certificates of Convenience and Necessity (CCN) in Llano and Burnet Counties, Texas. The application was filed pursuant to Texas Water Code (TWC) §§ 13.242-.250 and 16 Tex. Admin. Code (TAC) §§ 24.225-.237 (previously 16 TAC §§ 24.101-.107).

On April 16, 2019, Horseshoe Bay Water Utility filed a correction, amending the legal entity name in the application to the City of Horseshoe Bay (Horseshoe Bay), a name under which the applicant has conducted all business since March 1, 2006. Accordingly, the CCN and corresponding maps must be issued to the City of Horseshoe Bay following the approval of this application.

Horseshoe Bay, a home rule municipality, seeks to obtain a water CCN and a sewer CCN for the service area within its corporate boundaries, as per its amended application, filed on November 8, 2017. The requested area is approximately 10,435 acres and has 3,457 current customers.

In accordance with 16 TAC § 24.227(c), and based on the detailed review below, Staff recommends that Horseshoe Bay be granted a water CCN and a sewer CCN for the requested service area. Horseshoe Bay is capable of providing continuous and adequate service, and approving this application to issue water CCN No. 13271 and sewer CCN No. 21111 is necessary for the service, accommodation, convenience, and safety of the public. On April 22, 2019, Horseshoe Bay consented to the attached maps and certificates, revised to include the amended entity name.

Additionally, on December 22, 2017, the applicant filed a request to decertify and cancel Deerhaven Inc.’s inactive water CCN No. 10467. The aforementioned CCN is located within Horseshoe Bay’s requested service area. Deerhaven Inc. forfeited its existence as a Texas corporation on January 9, 1989.  Furthermore, Deerhaven Inc. does not possess an active public water system to provide water service to the area located within water CCN No. 10467. Therefore, Deerhaven Inc. is incapable of providing continuous and adequate service. Staff recommends that the Commission revoke CCN No. 10467 pursuant to TWC § 13.254 and 16 TAC § 24.245 (previously 16 TAC § 24.113).

Horseshoe Bay’s aforementioned filing on December 22, 2017, also states that Deerhaven Inc. was replaced in 2010 by Deerhaven Water Control and Improvement District (Deerhaven WCID), who holds an active water CCN, No. 13180. Deerhaven WCID’s water CCN service area abuts Horseshoe Bay’s requested service area and will remain unchanged following the decertification of Deerhaven Inc.’s inactive water CCN.

Notice

Applicant filed an affidavit in the docket on April 25, 2018, attesting to the provision of notice to affected parties and customers. The filing also included publisher’s affidavits attesting to notice by publication. In a subsequent filing on June 14, 2018, applicant provided an affidavit attesting to notice provided to one additional entity. Based on the final notice by mail date of June 6, 2018, the comment period concluded on July 6, 2018. The Commission did not receive any comments or requests to intervene, nor were any landowner opt-out requests received in response to applicant’s application.

On March 6, 2018, Staff sent Deerhaven Inc., via certified mail, a copy of Staff’s Recommendation on Administrative Completeness and Petition to Revoke the Certificate of Convenience and Necessity of Deerhaven, Inc. and Notice of Opportunity for Hearing. The pleading was sent to the address provided by Deerhaven Inc. in the Commission's records and to its registered agent as listed on the Texas Secretary of State's web site.  The Commission did not receive a request for a hearing or comments on the allegations included in the petition from Deerhaven Inc.

Detailed Review of the Criteria Considered

Review of a CCN application is governed by the provisions found in TWC § 13.246 and 16 TAC § 24.227. Specifically, TWC § 13.246(c) and 16 TAC § 24.227(d) require the Commission to consider nine criteria when granting or amending a CCN.  Staff has analyzed the application under these provisions as follows:

Adequacy of Existing Service—reviewed under TWC § 13.246(c)(1), 16 TAC § 24.227(d)(1)

Horseshoe Bay has a public water system registered with the Texas Commission on Environmental Quality (TCEQ) under Public Water System (PWS) Identification No. 1500015. Horseshoe Bay has five TCEQ-licensed operators listed in the application responsible for the operation of the PWS. The water system quantity and quality requirements established by the TCEQ are the minimum standards for determining (1) the sufficiency of production, treatment, storage, transmission, and distribution facilities of water suppliers and (2) the safety of the water supplied for household usage. The water system serving the requested area was approved by TCEQ and is currently in operation; therefore, the existing service is sufficient to provide a continuous and adequate supply of water for all reasonable consumer uses.

Horseshoe Bay also operates a wastewater treatment plant (WWTP), associated with a permit issued by TCEQ, Wastewater Discharge Permit No. WQ-11217-001. Horseshoe Bay has five TCEQ-licensed operators listed in the application responsible for the operation of the WWTP. TCEQ’s design criteria for wastewater facilities, and the associated TCEQ discharge permit, set the minimum standard for all normal operating demands in determining the sufficiency of sewer collection and treatment. The WWTP serving the requested area was approved by TCEQ and is operated in accordance with Horseshoe Bay’s TCEQ water discharge permit; therefore, the existing service is sufficient for the treatment of wastewater and discharging effluent at existing quality standards.

Need for Additional Service—reviewed under TWC § 13.246(c)(2), 16 TAC § 24.227(d)(2)

Horseshoe Bay owns and operates existing water and sewer systems, which includes the treatment, distribution and storage of water, and the treatment, collection and disposal of wastewater. Horseshoe Bay currently serves customers within its corporate limits, but does not possess a water CCN or sewer CCN. Horseshoe Bay is filling a service need for the 3,457 existing customers in the requested area.

Effect of Granting the CCN—reviewed under TWC § 13.246(c)(3), 16 TAC § 24.227(d)(3)

There will be no effect on Horseshoe Bay, on any landowner in the area, or on any retail public utility servicing the proximate area, as the provider of water and sewer service will not change. Additionally, Horseshoe Bay is a municipality and the requested area is located within their municipal boundaries.

Ability to Serve: Managerial and Technical—reviewed under TWC § 13.246(c)(4), 16 TAC § 24.227(a), (d)(4)

Horseshoe Bay’s PWS consists of two surface water treatment plants (SWTP), which treat raw water from Lake LBJ to produce water that meets TCEQs drinking water quality standards. The SWTPs are capable of producing up to 5 million gallons of water, meeting the TCEQ’s minimum capacity requirements for the expected service demand for the 3,457 customers located in Horseshoe Bay’s requested service area. The wastewater discharge permit will remain active through December 21, 2026. Horseshoe Bay does not have any violations listed in the TCEQ database for either its PWS or WWTP, and no additional construction is necessary to provide water or sewer utility service to the requested service area. Horseshoe Bay personnel responsible for production of treated water or the treatment of wastewater have the appropriate licensing, which assists in ensuring that water quality standards are met and that plant operations meet TCEQ requirements. Therefore, Horseshoe Bay has demonstrated the managerial and technical ability to continuing providing water and sewer services using its presently owned systems.

Service from Adjacent Retail Public Utility—reviewed under TWC § 13.246(c)(5), 16 TAC §  24.227(d)(5)

Horseshoe Bay is providing retail public utility service to customers in the requested area using existing infrastructure located within its corporate boundaries. Therefore, it is not feasible to obtain service from an adjacent retail public utility.

Ability to Serve: Financial Ability and Stability—reviewed under TWC §§ 13.241(a) and 13.246(c)(6), 16 TAC § 24.227(a), (d)(6), 16 TAC 24.11

The criteria and tests used to assess Horseshoe Bay’s financial ability and stability are listed in 16 TAC § 24.11. The Commission rule includes leverage tests and an operations test.

Horseshoe Bay’s annual financial report (AFR), included audited financial statements for the year ended September 30, 2018. The AFR offered an independent auditors’ opinion report issued by BrooksWatson & Co, CPA, which stated that the financial statements fairly present the financial position of Horseshoe Bay as of September 30, 2018, and the respective changes in financial position for the year ended, in accordance with accounting principles generally accepted in the United States of America. The audit and the related opinion indicate the transparency of the applicant and indicate sound management capabilities.

Horseshoe Bay meets two out of five leverage tests. First, Horseshoe Bay was awarded a AA+ credit rating from Standard and Poor’s Financial Services LLC, effective September 14, 2016. This signifies an investment-grade credit rating, which meets the leverage test under 16 TAC § 24.11(e)(2)(D). Second, Horseshoe Bay has a debt to equity ratio of 0.95. The ratio is determined by dividing long-term debt of $26,300,548 by net position of $27,733,997.  Since Horseshoe Bay’s debt to equity ratio is less than one, it meets the leverage test under 16 TAC § 24.11(e)(2)(A).

Horseshoe Bay also meets the operations test. The applicant has not submitted projections in its application. However, based on the information included in its AFR, within the proprietary (utility) fund, Horseshoe Bay experienced a net operation income prior to depreciation of $2,483,041. This amount is calculated by adding the depreciation amount, $1,485,282, to net operating income, $997,759. As a result of this calculation, no cash shortages were reflected in the financial statements. Furthermore, the AFR demonstrates sufficient cash, totaling $2,959,255, available to cover any operations and maintenance shortages.

Environmental Integrity—reviewed under TWC § 13.246(7), 16 TAC § 24.227(d)(7)

The requested area will be served via existing water and sewer infrastructure.  The environmental integrity of the land should not be effected, as there is no construction needed to continue Horseshoe Bay’s provision of retail public utility service to the requested area.

Effect on the Land—reviewed under TWC § 13.246(c)(9), 16 TAC § 24.227(d)(9)

The requested area will be served via existing water and sewer infrastructure.  As a result, the issuance of a water and sewer CCN should have no effect on the land.

Improvement of Service and Lowering of Costs —reviewed under TWC § 13.246(c)(8), 16 TAC § 24.227(d)(8)

Horseshoe Bay will continue to provide the current customers retail public utility services after it is issued CCN’s for the requested service area. Horseshoe Bay did not indicate that there would be any expected reduction of costs.  Therefore, there is no expected change in service as a result of the application’s approval.

As detailed above, Staff’s review indicates that Horseshoe Bay has met the statutory requirements of TWC Chapter 13, and the Commission’s Chapter 24 rules, allowing for the issuance of a water CCN and a sewer CCN for the requested service area.

Staff further recommends that Horseshoe Bay file certified copies of the CCN maps, a certified copy of its amended certificates, and a boundary description of the CCN service area in the county clerk’s office of Llano and Burnet counties, pursuant to TWC §§ 13.257(r)-(s).

Municipal Advisory Council of Texas website at www.mactexas.com.

Id., AFR at page 19.

Id.

Id. at page 31.

Id.

Id. at page 19.