PUC Interoffice Memorandum

TO:		Rosemary Hambright, Attorney

Legal Division

THRU:	Tammy Benter, Director

Heidi Graham, Manager

Water Utility Regulation Division

FROM:	Leila Guerrero, Regulatory Accountant/Auditor

Water Utility Regulation Division

DATE:  	January 22, 2018

SUBJECT:	Docket No. 47494, Application of Aqua Utilities, Inc. dba Aqua Texas to Amend a Sewer Certificate of Convenience and Necessity in Hays County

Background

On August 11, 2017, Aqua Utilities, Inc. dba Aqua Texas, (Applicant or Aqua Texas) filed an application with the Public Utility Commission of Texas (Commission) to amend sewer certificate of convenience and necessity (CCN) No. 20453, in Hays County, Texas, pursuant to Tex. Water Code Ann. §§ 13.242 to 13.250 (TWC) and the 16 Tex. Admin. Code §§ 24.101 to 24.107 (TAC). The total area being requested includes approximately 524 acres with no existing customers.

The comment period ended October 23, 2017, and no protests or opt-out requests were received.

Criteria Considered

TWC § 13.246(c) and 16 TAC § 24.102(d) require the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

TWC § 13.4246(c)(1) and 16 TAC § 24.102(d)(1) require the Commission to consider the adequacy of service currently provided to the requested area.

Service is not currently being provided to the requested areas.

TWC § 13.246(c)(2) and 16 TAC § 24.102(d)(2) require the Commission to consider the need for service in the requested area, including whether any landowners, prospective landowners, tenants, or residents have requested service.

The areas subject to this application are currently undeveloped land.  The Applicant received requests for service from the landowners/developers, Kyle Three Partners, LP, and K Marcos, LLC, who intend to develop the land into a neighborhood called “Sunset Oaks Subdivision.”  The developers anticipate a need for sewer service to the proposed CCN area sufficient to supply 2,000 living unit equivalents.

TWC § 13.246(c)(3) and 16 TAC § 24.102(d)(3) require the Commission to consider the effect of granting an amendment on the recipient and on any other retail water and sewer utility servicing the proximate area.  The CCN amendment will benefit the Applicant by providing additional service connections, which will provide additional revenue to be used for future upgrades and improvements to the sewer service system.  There are no other retail sewer utilities servicing the proximate area.

TWC § 13.246(c)(4) and TAC § 24102(d)(4) require the Commission to consider the ability to provide adequate service.

The Applicant’s request to transfer the permit number WQ0015293001 from DMS Real Tree, LLC, to Aqua Utilities, Inc. was approved by the TCEQ on October 12, 2017.  The Applicant submitted a copy of the permit in this docket, Item No. 13. In addition, the proposed area has an active water quality permit issued and no violations issued.

TWC § 13.246(c)(5) and 16 TAC § 24.102(d)(5) require the Commission to consider the feasibility of obtaining service from an adjacent retail public utility.

The Applicant received requests to serve from the developers that own and/or are contracted to purchase the requested areas, thus obtaining service from an adjacent retail provider was not considered.

TWC § 13.246(c)(6) and 16 TAC § 24.102(d)(6) require the Commission to consider the financial ability of the Applicant to pay for facilities necessary to provide continuous and adequate service and the financial stability from the Applicant.  Pursuant to 16 TAC § 24.11(e), the Applicant must meet both a leverage test and an operations test.

Leverage Test: Pursuant to 16 TAC § 24.11(e)(2), the Applicant must meet a leverage test.  The Commission’s rule provides five methods by which an applicant may satisfy the leverage test, of which the Applicant need only satisfy one.  Staff recommends the application be approved based on the consolidated financial statements for Aqua America, Inc. (affiliate), which show that the Applicant’s affiliate possesses a debt-to-equity ratio of less than one, satisfying the leverage test method set out in 16 TAC § 24.11(e)(2)(E).  The affiliate provided consolidated financial statements for the years 2016 and 2015.  The balance sheet shows that the affiliate has a long-term debt of $1.74 billion and a total equity of $1.85 billion, or possesses a debt-to-equity ratio or 0.94, or less than one, meaning that the affiliate meets the leverage test set out in 16 TAC § 24.11(e)(2)(A).  The affiliate has provided funds to the Applicant for operations and investment in plant for many years.

The statement for revenues and expenses for 2016 shows that the affiliate has a total annual net operating income before depreciation and non-cash expenses of $367.19 million, and annual long-term debt payments for two years including interests amounting to $231.27 million, resulting in a debt service coverage ratio of 1.59, or more than 1.25, meaning the affiliate meets the leverage test set out in 16 TAC § 24.11(e)(2)(B).

In addition, the affiliate has an A+/Stable credit rating from Standard and Poor’s Financial Services LLC as of October 31, 2017, which meets the leverage test set out in 16 TAC § 24.11(e)(2)(D).

Operations Test: Pursuant to 16 TAC § 24.11(e)(3) and § 24.11(e)(4)(B), the Applicant must meet the operations test which states that the owner or operator must demonstrate sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations.  The projected operations and maintenance for the next five years are not available at this time, however, based on the annual financial report, the affiliate has retained earnings of $1.03 billion and cash and cash equivalents of $3.76 million for the year 2016.  In addition, the affiliate does not show any operations and maintenance shortages for the next five years.  Since the utility subject to this application includes existing and operating systems, operations and maintenance costs are projected based on the Applicant’s past financial experience.

Based on the above discussion, Staff recommends that the Commission find that the Applicant possesses adequate financial and managerial capability.

TWC §§ 13.246(7) and (9) and 16 TAC §§ 24.102(d)(7) and (9) require the Commission to consider the environmental integrity and the effect on the land to be included in the certificate.  There should be minimal effect on the environmental integrity of the land, as it is developed.

TWC § 13.246(8) and 16 TAC § 24.102(d)(8) require the Commission to consider the probable improvement in service or lowering of cost to consumers.  There are currently no customers being served in the area at this time.

Based on a review of the application and information provided, the Applicant has demonstrated adequate financial, managerial, and technical capabilities to provide service to the proposed areas.

The Applicant meets all of the statutory requirements of TWC Chapter 13 and 16 TAC Chapter 24 rules and regulations. Staff recommends that approval of this application is necessary for the service, accommodation, convenience, and safety of the public pursuant to 16 TAC § 24.102(c).  The Applicant filed consent to the attached map, tariff, and certificate on January 22, 2018.

Staff recommends this application be approved, and that the Applicant be provided with a copy of the attached map, tariff, and certificates. Staff further recommends that the Applicant file certified copies of the CCN maps along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257(r)-(s).

16 TAC § 24.11(e)(2).

See Aqua America, Inc.’s 2016 Annual Report, with the application, Attachment 2, pp.3-11.