project NO. 47552

issues related to the	§	Public utility commission

disaster resulting from	§		of texas

hurricane harvey	§

Summary of Preparedness Activities in Response to Lessons Learned

from Hurricane Harvey by the Working Group of Commission Staff and Electric Utilities

December 14, 2018

# Introduction

Hurricane Harvey made landfall as a Category 4 hurricane on August 25, 2017, at 10:00 p.m. with winds in excess of 130 miles per hour and a record-breaking storm surge.  The storm inflicted massive disruptions on the electric power system in the Corpus Christi, Houston/Galveston, and Beaumont/Port Arthur areas of Texas.  As Hurricane Harvey moved inland, the storm stalled, causing excessive rain in parts of southeastern Texas and flooding large areas of Houston and inland as far as Austin.

As part of its review of the impacts of Hurricane Harvey, the Commission commended electric utilities and Commission staff for their response to Hurricane Harvey.  In addition, the Commission directed its staff to work with utilities to increase preparedness for future major weather events through increased collaboration and consideration of additional infrastructure-related preparedness actions by individual utilities, based on the lessons learned from Hurricane Harvey.  As part of these efforts, Commission staff and utilities worked with the Texas Department of Public Safety’s Texas Division of Emergency Management (TDEM), which manages the State Operations Center.

Commission staff conducted a workshop with the utilities and TDEM to share information about activities related to Hurricane Harvey.  After the workshop, Commission staff and utilities created a working group, which in turn created four task forces to accomplish the needed work.  Most of the work was completed by July 2018, with additional documentation and refinements occurring beyond that time.  The work was completed in an efficient, collaborative manner, with most of the work accomplished through conference calls and emails.  The work of the four task forces is described in the following sections.  Questions about this summary and the working group and task forces may be directed to Keith Rogas, Director of the Commission’s Infrastructure and Reliability Division.

# Task Force 1 – Utility and Commission Staff Collaboration with the State Operations Center

Task Force 1 improved collaboration with the State Operations Center (SOC).  The SOC coordinates state emergency assistance to local governments that have experienced an emergency situation that local response resources are inadequate to address.  During a major emergency, the SOC management team, state agencies and volunteer groups that make up the state Emergency Management Council, and federal liaison teams convene at the SOC to identify, mobilize, and deploy resources to respond to the emergency.  Task Force 1 addressed improved collaboration with the SOC on identification and use of resources by utilities that are available through the SOC; re-entry by utilities into impacted areas for the purpose of electric service restoration; and reporting to the SOC of outages and service restoration estimates.  Attachment 1 of this document contains the summary notes of Task Force 1.

# Task Force 2 – Utility-Specific Actions

Task Force 2 summarized infrastructure-related preparedness actions by individual utilities that operate along the Texas Gulf Coast and that are fully regulated by the Commission:  AEP Texas, CenterPoint Energy, Entergy Texas, Inc. (ETI), Lower Colorado River Authority Transmission Services Corporation (LCRA TSC), Sharyland Utilities, and Texas-New Mexico Power Company (TNMP).  Task Force 2 addressed hurricane-related flood protection for electric utility facilities, other storm hardening actions, and purchase of facilities and materials in preparation for storm season.  Attachment 2 of this document contains the report of Task Force 2.

# Task Force 3 – Utility Collaboration through Mutual Assistance

Task Force 3 addressed improved Texas-based mutual assistance for electric utilities in Texas through increasing the membership of the Texas Mutual Assistance Group (TXMAG); increasing the sharing of mobile substations and other resources through TXMAG; and evaluation of best practices of mutual assistance groups.  Attachment 3 of this document contains the report of Task Force 3.

# Task Force 4 – Collaboration between Electric Utilities and Commission Staff

Task Force 4 addressed improved collaboration between electric utilities and Commission staff through the following activities:  development of a standardized outage definition for use during an event and post-event recovery by utilities in reporting to the Commission staff’s Emergency Management Response Team when the SOC is activated; development of a streamlined outage and restoration reporting process; and compilation of materials that will be useful to electric utilities and Commission staff in responding to major weather events in the future.

# Conclusion

Under the direction provided by the Commission, Texas electric utilities and Commission staff improved their preparedness for major weather events.

Hurricane Harvey Event Analysis Report, North American Electric Reliability Corporation (March 2018), p. 5.

Commission’s September 28, 2017 open meeting, transcript, p. 15, l. 17 – p. 75, l. 11.  The North American Electric Reliability Corporation – a federally mandated organization that supports the reliability of the electric grid - identified a number of what it characterized as good industry practices that were used by impacted utilities in the response to Hurricane Harvey.  The identified practices included the following collaborative practices:

- Collaborative efforts with other Texas utilities, ERCOT [Electric Reliability Council of Texas, Inc.], and regional mutual assistance groups worked well during this event.  It is important to touch base with contract resources and adjacent utilities prior to the storm event to establish communication chains.

- Establishment of contacts with State and Local Emergency Management coordinators and key stakeholders was key in maintaining continuity and prioritization of the recovery effort.

State of Reliability, 2018, North American Electric Reliability Corporation (June 2018), p. 181.

https://www.dps.texas.gov/dem/Operations/index.htm