# Background

## Project goal:  increase the preparedness of electric utilities and the Public Utility Commission of Texas (PUC) for a major weather event based on lessons learned from Hurricane Harvey.

# PUC-State Operations Center (SOC) Task Force:  SOC Related Issues

## Resources Available at the SOC for Electric Service Restoration

### Develop a list of SOC resources available to utilities

#### See Exhibit A.

### Expectations and process for utility access to SOC resources.

#### Investor-Owned Utilities (IOUs), Texas Electric Cooperatives (TEC), Texas Public Power Association (TPPA), (collectively “utilities”) agree that 24/7 contact information of those who can staff the SOC will be current and provide redundancy.

#### The PUC’s Emergency Management Response Team (EMRT) will make the initial request for utility staffing.

##### EMRT will work with the SOC to determine if utility staffing at the SOC is necessary or if having 24/7 contacts available could accomplish the same result.

#### Due to space limitations, a maximum of 10 utility personnel may staff the SOC at any one time.

#### Utilities agree to activate to the SOC within 3 hours of EMRT request.

#### Duration of staffing at the SOC.

##### TBD by the particular event.  EMRT will work with utilities and the SOC to determine when staffing is no longer needed.

## Disaster-Area Re-Entry

### Texas Division of Emergency Management’s (TDEM) Initial Re-entry Assessment Team (IRAT)

#### Utility participation in IRAT process.

##### See Exhibit B. Agreement among utilities, TDEM and EMRT that assistance prior to activation of the IRAT provides the most benefit.

##### Depending on the utility resources, utility personnel may be able to accompany the IRAT for areas with a narrow focus and clearly defined start and stop points.  Many smaller utilities may not have the resources to provide this service.

###### Although rarely requested to accompany the IRAT, utilities should identify who in their organization could perform this task if TDEM makes the request.

### Clearance of downed power lines, especially in areas with more than one utility.

#### See Exhibits C and D.

### Escorts for mobile substation/utility infrastructure transport.

#### All requests for a DPS escort need to go through the SOC.

##### EMRT may request a DPS escort.

##### Utility may request a DPS escort through its local DDC.

#### Prioritizing requests for DPS escorts.

##### If resources allow, DPS will fill the request.

#### Requests for local police escorts

##### Requests for local police escorts may be made at the local level.

### Waivers of Permits for oversize/overweight utility infrastructure.

#### Oversize/overweight permits are issued by the Texas Department of Motor Vehicles:  http://www.txdmv.gov/motor-carriers/oversize-overweight-permits

#### Waivers for oversized utility infrastructure

##### Waivers for oversized utility infrastructure are not granted.  Because oversized utility infrastructure can cause major damage to roadways, a utility escort to measure roadway heights is essential.

#### Waivers for overweight utility infrastructure

##### Waivers for overweight loads can be granted.  Utilities can be re-routed on roads that support the weight.

### Information about road conditions.

#### TX DOT map of road conditions:  https://drivetexas.org

#### Assistance to utilities

##### Because Drive Texas is not always current, the EMRT will work with TX DOT and DPS to provide utilities with the latest information on road conditions.

#### Assistance to TX DOT

##### Utilities may contact EMRT or the local DDC to report blocked roadways.  This information will be passed on to DPS and TX DOT.  If the Emergency Management Council is not activated to the SOC, utilities should report roadway conditions to their local government.

### Letter of Access/Invitation (LOI).  See Exhibit E.

#### Utilities provide LOIs to their mutual aid workers and contractors to facilitate access into evacuated areas in order to assess damage and restore power and damaged infrastructure.

#### PUC-SOC Task Force discussion also envisioned use of the LOI in instances where a fuel tanker and driver, contracted by a utility but not previously credentialed by a fuel refinery, seeks to load fuel.

## Outage Reporting and Service Restoration Time Estimates

### Outage Reporting and Restoration Time Estimates.

#### TDEM, EMRT and utilities agree that utilities will provide outages and restoration time estimates twice a day to align with reporting requirements at the SOC during activations.  In addition to the SOC, the EMRT will distribute the reports to Texas Health and Human Services Commission (HHSC), DOE, and FEMA.

#### TDEM, EMRT and utilities agree that additional reports will be prepared, if required, to brief the Governor.

### Utility issues/concerns regarding provision of restoration timeline estimates.

#### Acknowledgement between TDEM, EMRT, and utilities that restoration timeline estimates can change during an emergency event but that estimates must be provided to allow state agencies to position needed resources.  The EMRT will include standard verbiage on situation reports provided to the SOC that indicates that the initial restoration timeline estimates are general until assessment is complete.

#### Acknowledgement between TDEM, EMRT, and utilities that until surveys of damaged infrastructure takes place, utilities will provide a range of the estimated restoration time based on the data available and lessons learned from previous severe weather events.

State Operations Center (SOC) Resources Available to Electric Utilities

Resources available to the PUCT’s Emergency Management Response Team (EMRT) and electric utilities when the Emergency Management Council is activated to the SOC include:

- Texas Department of Transportation (TX DOT)

  - Provide current status of road conditions.  Rapidly changing road conditions can quickly make DriveTexas road closure information out of date.

  - Clear roadways essential to restoration efforts.

- Department of Public Safety (DPS) – Subject to DPS staffing constraints, on-duty officer escorts for:

  - Utilities re-entering a disaster area to assess damage and restore power/damaged infrastructure; or

  - Transport of oversize/overweight utility infrastructure like mobile substations.

- Texas Division of Emergency Management’s (TDEM) Fuel Team – Contact information for TDEM’s private fuel contractor when fuel availability is scarce during an emergency; and/or confirmation that the loading racks at the refineries will not exclude utility-contracted 18 wheelers from fuel loading.

- Texas National Guard Air Operations Center (contact through DPS Aviation)

  - Provision of squawk numbers for helicopter flights to assess damage during periods of temporary flight restrictions in place due to Search and Rescue (SAR) operations.

  - Requests for air clearance for utility drones to assess damage during periods of temporary flight restrictions in place due to Search and Rescue (SAR) operations

Electric Utility Process to Assist Texas Division of Emergency Management (TDEM) Initial Re-entry Access Team (IRAT)

Utility Assistance with TDEM/IRAT Re-Entry Process

- Pre-Planning Process for TDEM/IRAT Re-Entry During a Hurricane Event (Emergency Management Council Activation)

  - TDEM/IRAT will supply potential re-entry routes to pre-designated areas, based upon previous hurricanes.

  - Hurricane event where landfall and hurricane path is known:

    - TDEM/IRAT will supply the re-entry route into a given area, approximately 24 hours prior to the departure of the IRAT, or as soon as reasonably possible.

  - Utilities will review the potential re-entry routes or chosen re-entry route and confirm re-entry route(s) where they have facilities.

    - Confirmation can be in written format; a utility-provided map designating areas with facilities along the route that could potentially be in the path; or confirmation of areas with facilities along the potential re-entry routes on TDEM’s map.

- Process for any event where TDEM/IRAT is activated

  - Utilities with facilities along the re-entry route will provide:

    - Confirmation that they have facilities along the re-entry route.

      - Confirmation can be in written format; a utility-provided map designating areas with facilities along the route that could potentially be in the path; or confirmation of areas with facilities along the potential re-entry routes on TDEM’s map.

    - Contact name/number for coordination/discussion of downed power lines in the path.

    - Scouting, within the resource constraints of the utility (particularly those of small utilities) and as soon as it is safe, of the re-entry route in areas where it has facilities that could potentially be in the path.

    - Utility’s assessment of the re-entry route based on the areas it could scout.

    - Estimated time to clear its downed facilities, if applicable.

Following significant weather events, damaged or downed poles and power lines require crews to assess the damage and make the facilities safe. In areas served by multiple utilities, it is not always immediately clear which electric utility owns and operates the damaged facilities. However, for the reasons outlined below, work should only be performed by crews under the direction of the utility which owns the facilities.

The utility owning the facilities must know at all times which crews/individuals are working on their facilities and where they are located. This is essential to protecting those individuals from safety risks such as re-energizing the line while the crew is in contact, or having the crew inadvertently energize a line on which other crews are working. At the same time, crews must be familiar with the owning utility’s procedures and equipment so that they will know how to safely work within the environment. This is a fundamental reason why utilities have adopted procedures designed to specifically direct where work is being performed.

Many utilities employ language to clear a circuit which is similar but not exactly the same across utilities. This presents a significant risk to a foreign (outside) crew (one not currently working under the owning utility’s direction) if they are unfamiliar with the terminology.  When an outside crew comes across an unknown line, it can be difficult to determine ownership. Once ownership is determined, there would still be issues in getting the outside crew inserted into the owning utility’s processes to ensure that facilities could be restored safely.

Distribution facilities frequently have attached communications infrastructure which may also be downed during an event.   Many of these communications circuits support public communications such as schools and wide area city networks that, if damaged, can impair infrastructure needed for emergency communications.  The electrical circuit can be out but the communications could still be functional.  For all crews, care needs to be taken to properly identify downed lines.  Cutting conductor with incased fiber can cause degradation in protection systems required to protect the line.

Most utility employees have a general knowledge of power line ownership within their service area.  When a downed power line that does not belong to the utility is encountered, and the employees know who owns it, they will report the downed wire to their dispatch center employees to contact the appropriate neighboring utility.  Likewise, if the downed wire belongs to a local telephone company or to a cable TV company, utilities will attempt to contact the appropriate person for the area.

Furthermore, most utilities have wire down procedures in place with their local fire/police agencies which is usually initiated by dialing 911. Generally, these procedures are the safest practice for the public, the emergency first responder, and any respective utility crew, and should be followed.  Following a severe weather event, however, first responders or the IRAT may require direct contact with the utility.

During severe weather events, the Public Utility Commission of Texas’ Emergency Management Response Team (EMRT) uses, and has provided to the State Operations Center (SOC), a Geographic Information System (GIS) map that shows the utilities’ approximate service area boundaries.  The PUC’s EMRT uses this map to fulfill a variety of SOC requests such as facilitating quicker contact with the owning utility and dispatching of utility crews to clear downed lines.  This process can work for both transmission and distribution owned circuits and ensures that vital emergency communications will not be interrupted during the restoration process.