# PUC Interoffice Memorandum

To:	Rosemary Hambright, Attorney

Legal Division

# Thru:	Lisa Fuentes, Manager

Water Utilities Division

From	Jolie Mathis, Engineering Specialist

Water Utilities Division

Date:	October 26, 2017

Subject: 	Docket No. 47556: Petition of HMSC, LLC to Amend McCoy Water Supply Corporation’s Water Certificate of Convenience and Necessity in Atascosa County by Expedited Release

On August 29, 2017, HMSC, LLC (“Petitioner”) filed a petition with the Commission for a streamlined expedited release from McCoy Water Supply Corporation’s (“McCoy WSC”) water Certificate of Convenience and Necessity (CCN) No. 10649 in Atascosa County, pursuant to Tex. Water Code Ann. § 13.254(a-5) (West Supp. 2016) (TWC) and 16 Tex. Admin. Code § 24.113(l) (TAC). The Petitioner asserts that the land is at least 25 acres, is not receiving water service, and is located in Atascosa County which is a qualifying county.

The Petitioner submitted an adequate map delineating the requested area for expedited release with enough detail to confirm the accurate positioning of their digital data pursuant to 16 TAC § 24.119.  The map and digital data are sufficient for determining the location of the requested release area within McCoy WSC’s certificated area. Mapping Staff were able to confirm the acreage of the subject property, and determined that the requested area is located within the subject property. Furthermore, the Petitioner provided a warranty deed confirming the Petitioner’s ownership of the tract of land within the subject property. The area being requested for expedited release is approximately 292.16 acres, containing more than 25 contiguous acres of land. A statement was also filed with the petition that a copy of the petition was sent via certified mail to the McCoy WSC, the current holder of CCN No. 10649.

According to the petition, the property subject to this petition may have been receiving service from an entity other than the McCoy WSC, the CCN holder. Although service was not being provided at the time the petition was submitted, the CCN holder claims they constructed a 6” water line immediately adjacent to the subject tract of land after the petition was submitted. It is Staff’s understanding, based upon the affidavit of Mr. Clay Morgan, Manager of HSMC, that there was no service being provided by McCoy WSC to the subject tract of land at the time the petition was submitted.

In addition, Staff recommends that there is no useless or valueless property, in accordance with 16 TAC § 24.113(n)(3). Staff further recommends that a compensation proceeding is not necessary, if the Commission determines that there is no useless or valueless property, pursuant to 16 TAC § 24.113(n)(7).

Staff reviewed McCoy’s response to the petition and is convinced the requested area does meet the requirements of TWC § 13.254(a-5) and 16 TAC § 24.113(l). Therefore, Staff recommends approval of the petition. Enclosed is a final map and certificate for Commission approval.