PUC Interoffice Memorandum

To:	Heath Armstrong, Attorney

Legal Division

From:		Greg Charles, Engineer

Water Utility Engineering

Leila Guerrero, Regulatory Accountant/Auditor

Financial Analysis Team, Rate Regulation

Date:	May 20, 2020

Subject:	Docket No. 47795: Application of the City of Hutto to Amend its Certificate of Convenience and Necessity in Williamson County

On November 21, 2017, the City of Hutto (Applicant or City) filed with the Public Utility Commission of Texas (Commission) an application to amend its sewer Certificate of Convenience and Necessity (CCN) No. 20122 in Williamson County, Texas pursuant to Texas Water Code Ann. (TWC), §§ 13.242 to 13.250 and the 16 Tex. Admin Code (TAC) §§ 24.225 to 24.237.

The City initially requested to amend its sewer CCN with service area containing approximately 15,654 total acres. On March 8, 2019, the City filed a revised application with the Commission, and is now seeking to amend its sewer CCN with service area of approximately 13,427 acres after removal of opt-outs.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

TWC §13.246(c)(1) requires the commission to consider the adequacy of service currently provided to the requested area.

The Applicant currently does not provide wastewater service to the requested area.

TWC §13.246(c)(2) requires the commission to consider the need for service in the requested area.

The need for service is based on various requests for residential, commercial, industrial developments, the Hutto Independent School District, failures of onsite septic systems, and requests to certificate various properties annexed by the City and other properties that the City is planning to annex. The City has development agreements with several landowners, that obligate the City to provide wastewater service. The agreements, under Texas Local Government Code § 43.016 (Agreement), provide that the City will not annex the subject property for a finite number of years unless the landowner decides to develop the property thereby removing the property tax exemption. Item No. 113 within this docket includes an example of the signed Agreement with landowners. Corrected Attachment 1 lists all the tracts that have signed Agreements with the City, including the amount of acreage for each one. The City is requesting area within its corporate boundaries of approximately 1,634 acres. Adding the area encompassed by the Agreements (approximately 6,277 acres), results in a total requested area with a need for service of approximately 7,911 acres.

TWC §13.246(c)(3) requires the commission to consider the effect of granting an amendment on the recipient and on any other retail public utility servicing the proximate area.

There are no other retail public utilities servicing the proximate area.

TWC §13.246(c)(4) requires the commission to consider the ability of the applicant to provide adequate service.

The City has two Texas Commission on Environmental Quality (TCEQ) approved wastewater discharge permits, operated by the Brazos River Authority by contract with the City. The Central wastewater treatment plant permitted under WQ0011324-001, is a 1.7 million gallons per day (MGD) facility, and the other is a 2.0 MGD facility permitted under WQ0011324-002, for a total capacity of 3.7 MGD. The total capacity was rerated to 2.49 MGD due to the strength of the biological oxygen demand of the wastewater. The City currently serves 7,998 connections and plans to add another 2,606 connections from the requested area, for a total of 10,604 connections. Given the total capacity of sewer treatment facilities, the City has adequate capacity (over 11,000 connections) to serve the requested area, assuming an average flow of 225 gallons per day per connection for the combine sewer facilities.

TWC §13.246(c)(5) requires the commission to consider the feasibility of obtaining service from an adjacent retail public utility.

There are no other retail public utilities serving the requested area.

TWC § 13.246(c)(6) requires the commission to consider the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service and the financial stability of the applicant.

16 TAC § 24.11 establishes criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and proposed utility service area.  The following discussion shows that the City meets the required criteria.

Financial Test

The criteria and tests are listed in 16 TAC § 24.11, including leverage tests and an operations test.  The following analysis is taken from the City’s Comprehensive Annual Financial Report (CAFR) available on the City’s website which contain an Independent Auditor’s Report including an unqualified auditor’s opinion from Whitley Penn, LLP, which stated that the financial statements present fairly the financial position of the City, as of September 30, 2018 in accordance in accordance with accounting principles generally accepted in the United States of America.  The City also received a Certificate of Achievement for Excellence in Financial Reporting for the 2017 CAFR issued by the Government Finance Officers Association. The audit and the related opinion indicate the transparency of the City, and along with the Certificate, indicate the City’s management capabilities.

Leverage Test

The City meets two out of the five leverage tests. The City is required to meet only one.  For the fiscal year ended September 30, 2018, the City has cash and cash equivalents of $25,059,793.  The City’s long-term debt payments including interests for two years is equivalent to $10,613,791, or $5,228,894 plus $5,384,897. Lastly, the City of Hutto maintained a bond rating of AA- with a stable outlook by Standard & Poor’s.  Higher bond ratings improve the City’s ability to issue debt and secure a lower interest rate for the term of the bonds.”

Operations Test

The City meets the operations test.  The owner or operator must demonstrate sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations. The City’s CAFR for Fiscal Year ended September 30, 2018, also includes financial data for FY 2009 – 2018.  In response to the Commission Staff’s Second Request for Information (RFI), the City provided a “Financial Forecasting Wastewater Pro Forma Model – Revenues and Expenses”, for the year 2020 up to 2070.  However, Staff reviewed projections only up to ten years. The operations and maintenance costs are projected based on the City’s past financial experience and meet the requirements of 16 TAC § 24.11(e)(3).  Thus, there are no shortages to cover.

TWC §§ 13.246(c)(7) and (9) require the commission to consider the environmental integrity and the effect on the land to be included in the certificate.

The amendment allows the City to provide protected sewer service to the requested areas, which will fulfill the agreements facilitating the development and growth of the City, including many new residential structures, commercial facilities, and industrial businesses.

TWC § 13.246(c)(8) requires the commission to consider the probable improvement in service or lowering of cost to consumers.

It is expected that the services to the requested area will be comparable to the services provided to the City’s existing customers.

The Applicant meets all the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations, and is capable of providing continuous and adequate service, approving this application to amend the CCN is necessary for the service, accommodation, convenience and safety of the public.

The Applicant consented to the attached map and certificates on April 12, 2019.

Based on the above information, and the placement of approved development agreements within the revised requested service area, Staff recommends the Commission approve the application, to include the revised requested area of 13,427 acres, issue an order, and provide the attached map, and certificate to the City of Hutto. Staff recommends that the entirety of the revised requested area be granted despite a need for service acreage of 7,911 acres because, due to the non-contiguous nature of the development agreements, that is the total acreage necessary to create a contiguous service area based on the placement of the development agreements within the revised requested area and the existence of natural or man-made landmarks to act as boundaries. Staff further recommends that the City file certified copies of the CCN map along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257 (r)-(s).

City of Hutto Response to Staffs’ Request for Information Item No. 107, Document ID 1035760, Response No. 2-1, page 3.

City of Hutto Response to Staffs’ Request for Information Item No. 107, Document ID 1035762, City of Hutto Wastewater Master Plan, July 2018, Section 1.3 Analysis of Existing Wastewater System

3 City of Hutto Response to Staffs’ Request for Information Item No. 107, Document ID 1035763, City of Hutto Wastewater Master Plan, July 2018, Section 2.2.3 Flow per Connection Analysis

Comprehensive Annual Financial Report (CAFR) for the Fiscal Year Ended September 30, 2018 (FY2018); see also City of Hutto’s website: https://www.huttotx.gov.

City of Hutto, CAFR FY2018, at 65-66; see also Staff’s workpapers of Cash Available for Loan

City of Hutto, CAFR FY2018, at 65-66; see also Staff’s workpapers of Cash Available for Loan Payments and Schedule of Long-Term Debts.

CAFR FY2018, Notes to Basic Financial Statements, Note 6- Long -Term Debt, at pp. 65 –66; see also Staff’s Schedule of Long-Term Debt Payments.

CAFR FY2018, at Management Discussion and Analysis, p. 30; see also Municipal Advisory Council of Texas, at www.mac.com/City of Hutto.

City of Hutto’s Response to Commission Staff’s Second RFI, pp. 157-161 (September 27, 2019).