TO:	Matthew Arth, Attorney

Legal Division

THRU:	Heidi Graham, Technical Manager

Water Utility Regulation

FROM:	Sean Scaff, Engineering Specialist

Water Utility Regulation

DATE:  	January 17, 2018

SUBJECT:	Tariff Control No. 47883, Application of Undine Texas L.L.C. for Approval of a Pass-Through Rate Change

On December 19, 2017, Undine Texas, L.L.C. (“Undine Texas” or “Applicant”), acting as temporary manager of Suburban Utility Company, water Certificate of Convenience and Necessity (CCN) No. 10835, filed an application for a pass thru rate change for the Beaumont Place water system.

Staff has reviewed the application pursuant to 16 Tex. Admin. Code § 24.21(b)(2)(E) (TAC).  On September 23, 2017, the two wells providing service to Beaumont Place failed.  As such, the Applicant entered into an agreement with Harris County MUD 421 to purchase water at a cost of $4.75/1,000 gallons until the Applicant is able to repair the failed wells.

Based on Staff’s review of the information in the application and the additional information, Staff finds the application complies with the requirements of 16 TAC § 24.21(b)(2)(E).  Therefore, Staff recommends the Commission do the following:

- Deem the application sufficient for filing;

- Approve the pass thru application authorizing the Applicant to collect the following fees:

Beaumont Place, PWS # 1010098  					$4.75/ 1,000 gallons;

- Include language in the final order noting that the Applicant is not authorized to collect more than the total approved amounts stated in paragraphs (b) above; and

- Order the Applicant to provide quarterly progress reports to PUC notifying the Commission of their progress correcting the failed wells.   The Applicant should also notify the Commission and the affected customers when the wells are fixed and when customers have been returned to potable water provided by Beaumont Place’s facilities.