PUC Interoffice Memorandum

To:	Landon Lill, Attorney

Legal Division

Thru:		Tammy Benter, Director

Heidi Graham, Manager

Water Utility Regulation Division

From:		Jolie Mathis, Engineering Specialist

Water Utility Regulation Division

Date:	September 10, 2018

Subject:	 Docket 48200, Application of Aqua Texas, Inc. to Amend its Certificate of Convenience and Necessity (CCN) in Fort Bend County

On March 23, 2018, Aqua Texas, Inc. (Aqua Texas or Applicant) filed with the Public Utility Commission of Texas (Commission) an application to amend its sewer CCN No. 21065 in Fort Bend County, Texas pursuant to Texas Water Code (TWC) §§ 13.242 to 13.250 and the 16 Texas Administrative Code (TAC) §§ 24.101 to 24.107.

Background

The Applicant is seeking to amend a sewer CCN for the service area containing approximately 66 acres and 0 existing customers.

Notice

The comment period ended June 13, 2018, and no protests or opt-out requests were received.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

TWC § 13.246(c)(1) requires the commission to consider the adequacy of service currently provided to the requested area.

There is no service currently provided to the requested area.

TWC § 13.246(c)(2) requires the commission to consider the need for service in the requested area.

KB Home Lone Star Inc., FBCMUD 200, and Aqua Texas entered into a utility agreement for Aqua Texas, Inc. to be the retail water and wastewater utility service provider for a residential development project called Deer Run Meadows.

TWC § 13.246(c)(3) requires the commission to consider the effect of granting an amendment on the recipient and on any other retail public utility servicing the proximate area.

There will be no effect on any retail public utility servicing the proximate area as there are no other sewer providers in the area.

TWC § 13.246(c)(4) requires the commission to consider the ability of the Applicant to provide adequate service.

The Applicant has a Texas Commission on Environmental Quality (TCEQ) approved Wastewater Discharge Permit registered under No. WQ0015642001.

TWC § 13.246(c)(5) requires the commission to consider the feasibility of obtaining service from an adjacent retail public utility.

Service from other providers for the requested area is not presently available, nor is it presently economically feasible for service or facilities to be provided to the requested area by other nearby retail public utilities.

TWC § 13.246(c)(6) requires the commission to consider the financial ability of the Applicant to pay for facilities necessary to provide continuous and adequate service.

16 TAC § 24.11 establishes criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and proposed utility service area.  16 TAC § 24.11(e) lists the financial tests.  The Applicant must meet one of the leverage tests and the operations test. The below information is taken from a copy of audited financial statements for the fiscal year ending December 31, 2015 and December 31, 2016. The following discussion shows that the Applicant meets the required criteria:

- 16 TAC § 24.11(e)(2) refers to the leverage test.

  - The Applicant meets the leverage test based on:

    - Ratio = $1,759,962,000/$1,850,068,000= 0.95

    - Net Position = $1,850,068,000

    - Long-term Notes payable 2016 = $1,759,962,000

  - 16 TAC § 24.11(e)(2)(B) states the owner or operator must have a debt service coverage ratio of more than 1.25 using annual net operating income before depreciation and non-cash expenses divided by annual combined long term debt payments. The Applicant meets the leverage test based on:

    - Annual Net Operating Income before depreciation and non-cash expenses = $514,978,000

    - Annual Long-term debt payments = $150,671,000

    - Ratio = $514,978,000 /$150,671,000 = 3.42

- 16 TAC § 24.11(e)(3) refers to the operations test.  This states that the owner or operator must demonstrate that sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations.  Aqua has not projected any losses and Staff believes that Aqua has enough liquid cash to offset any losses should they occur.

TWC §§ 13.246(7) and (9) require the commission to consider the environmental integrity and the effect on the land to be included in the certificate.

Serving the property with a centralized water system and wastewater system will reduce the need for individual wells and eliminate the need for septic systems within the requested area.  This will represent an environmental benefit to the land in comparison to an alternative development plan that might use individual wells or septic systems to meet water or wastewater needs.

TWC § 13.246(8) requires the commission to consider the probable improvement in service or lowering of cost to consumers.

This is a new system so an improvement in service or lowering of cost is not applicable.

Staff recommends that the Applicant meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service and approving this application to amend a sewer CCN No. 21065 is necessary for the service, accommodation, convenience and safety of the public.

The Applicant consented to the attached map, tariff and certificate on September 7, 2018.

Based on the above information, Staff recommends the Commission approve the application, issue an order and provide the attached map(s), tariff(s) and certificate(s) to Aqua Texas, Inc. Staff further recommends that the Applicant file certified copies of the CCN maps along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257 (r)-(s).