PUC Interoffice Memorandum

To:	Patrick Todd, Attorney

Legal Division

Thru:	Heidi Graham, Manager

Water Utility Regulation Division

From:	Leila Guerrero, Regulatory Accountant/Auditor

Water Utility Regulation Division

Date:	September 10, 2018

Subject:	Docket No. 48246, Application of Nerro Supply Investors, LLC to Amend a Water Certificate of Convenience and Necessity (CCN) in Montgomery County

On April 9, 2018, Nerro Supply Investors, LLC (Applicant) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 10336 in Montgomery County, Texas pursuant to Texas Water Code Ann. (TWC), §§ 13.242-.250 and the 16 Texas Administrative Code (TAC) §§ 24.101-.107.  The requested area includes approximately 55 acres and 0 current customers.

Background

The comment period ended July 2, 2018, and the Commission did not receive any protests or landowner opt outs.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  The following criteria were considered:

- TWC § 13.246(c)(1) require the Commission to consider the adequacy of service currently provided to the requested area.  Staff reviewed TCEQ’s Central Registry and Drinking Water Watch and verified the Applicant has resolved all outstanding violations.

- TWC § 13.246(c)(2) requires the Commission to consider the need for service in the requested area. The Applicant is already providing water and sewer service in the requested areas; therefore, this criterion was not considered.

- TWC § 13.246(c)(3) requires the Commission to consider the effect of granting an amendment on the recipient and on any other retail water and water utility servicing the proximate area. The Applicant’s CCN boundaries will be amended to include the requested areas.  The requested areas are adjacent to area already certificated to the Applicant. The Applicant is already providing water and sewer service in the requested areas; therefore, there is no effect on any other retail providers servicing the proximate area.

- TWC § 13.246(c)(4) require the Commission to consider the ability of the Applicant to provide adequate service, including meeting the standards of the Commission, taking into consideration the current and projected density and land use of the area. The Applicant has four public water systems registered with the Texas Commission on Environmental Quality (TCEQ) under Hazy Hollow East Estates and High Meadows Industrial Park, Public Water System (PWS) ID No. 1700013; Shady Brook Acres, PWS ID No. 1700031; Spring Creek Valley Estates, PWS ID No. 1010213 and White Oaks Valley Estates, PWS ID No. 1700036.  All are capable of providing drinking water that meet the requirements of Texas Health and Safety Code, Chapter 341 and TCEQ rules and has access to an adequate supply of water. These public water systems have no outstanding violations and meet TCEQ current minimum standards in its last annual inspection.

The Applicant currently serves approximately 2,530 connections and required to employ two “Class C” water operators at the facilities.  The Applicant currently employs one “Class B”, two “Class C”, and one “Class D” operators.

- TWC § 13.246(c)(5) requires the Commission to consider the feasibility of obtaining service from an adjacent retail public utility. The Applicant is already operating and providing water and sewer service in the requested areas; therefore, it is not necessary to consider the feasibility of obtaining service from another entity.

- TWC § 13.246(c)(6) requires the Commission to consider the financial ability of the Applicant to pay for facilities necessary to provide continuous and adequate service and the financial stability of the Applicant.

Financial Test

Pursuant to TWC § 13.246(c)(6), the Commission is required to consider the financial ability of an applicant to pay for facilities necessary to provide continuous and adequate service and the financial stability of the applicant. The criteria and tests are listed in 16 TAC § 24.11 including leverage tests and an operations test.

Leverage Test

The Applicant meets three out of the five leverage tests.  The Applicant did not meet the required debt to equity ratio for 2018 and 2020, however, the projected financial statements show a debt to equity ratio of 0.83, 0.89, and 0.70 for the years 2019, 2021, and 2022, respectively, which met the criterion.  The Applicant did not meet the debt service coverage ratio (DSCR) in 2018, however, the DSCR for the years 2019 to 2022, more than meet this criterion.

The Applicant’s projected balance sheets for the years 2018 - 2022 show that the Applicant has sufficient cash to pay the annual principal and interest payments as they become due.

Operations Test

The Applicant meets the operations test. The Applicant has submitted projected financial statements with its application for the years 2018 to 2022.  The owner or operator must demonstrate sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations.  The projected income statements does not show any operations and maintenance shortages for the next five years.  The Applicant is currently operating the existing facilities for the utility subject to this application and no additional investment is required to provide service.  Operations and maintenance costs are projected based on the Applicant’s past financial experience.  Thus, there are no shortages to cover.

- TWC §§ 13.246(7) and (9) require the Commission to consider the environmental integrity and the effect on the land to be included in the certificate.  The land to be included in the requested area has been and will continue to receive water and sewer service from the Applicant. This eliminates the need for land owners to use individual wells and septic tanks and allows protection of the environment in the requested area from potential sources of contamination of both water and sewer service. The Applicant is already operating and providing water and sewer service in the requested areas.

- TWC § 13.246(8) requires the Commission to consider the probable improvement in service or lowering of cost to consumers. Water and sewer service provided by the Applicant will be unchanged by the amendment of the requested area since the Applicant has adequate facilities and capacity to provide service to the requested area.  There will be no change in utility rates subsequent to the amendment of the CCN.

Based on Staff’s review of the application and information provided by the Applicant, the Applicant has demonstrated adequate financial, managerial, and technical capabilities to provide service to the requested areas.

Recommendation:

Staff recommends that the Applicant meets all of the statutory requirements of TWC Chapter 13 and 16 TAC Chapter 24 rules and regulations and is capable of providing continuous and adequate service. Approving this application is necessary for the service, accommodation, convenience and safety of the public.

The Applicant consented to the attached map, certificates, and tariff on September 7, 2018.

Based on the information above, Staff recommends the Commission issue an order approving the application and provide the attached map, certificates and tariff to the Applicant. Staff further recommends that the Applicant file a certified copy of the CCN map along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257(r)-(s).