TO:		Merritt Lander, Attorney

Legal Division

FROM:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

DATE:	July 21, 2021

RE:	Docket No. 48350 – Application of the City of Dayton for Certificates of Convenience and Necessity in Harris County

- Application

The City of Dayton (Dayton) filed with the Public Utility Commission of Texas (Commission) an application to obtain water and sewer certificates of convenience and necessity (CCN) in Liberty and Harris Counties, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Dayton’s application requested a CCN amendment of approximately 80,045 acres and 1,080 connections receiving water and sewer service.  After a reduction to the requested areas due to overlaps and Staff requests, the total acreage being requested is approximately 14,885.5 acres with 1,080 connections receiving water and sewer service.  The revised requested areas are located completely within Dayton’s corporate boundaries in Liberty County.  The revised areas do not extend into Harris County.

The application proposes to approve water and sewer service areas of approximately 14,885.5 acres and to grant CCN Nos. 13297 and 21124 to Dayton if this docket is approved.

- Notice

The deadline to intervene was August 20, 2018.  Dayton received thirty-three landowner opt-out requests during the intervention period.  On April 5, 2021, Dayton filed revised mapping and digital data to accurately remove parcels associated with landowner opt-out requests and remove gaps between and overlaps with existing CCNs. Dayton also provided documentation to explain discrepancies between the acreage included in the landowner opt-out requests and the acreage data that Dayton obtained from various county appraisal districts.

- Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission is required to consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

Dayton has a Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS) registered as City of Dayton, PWS ID No. 1460002 and wastewater treatment plant (WWTP) registered as City of Dayton, Wastewater Discharge Permit No. WQ 10564-004.  Dayton does not have any violations listed in the TCEQ database.  No additional construction is necessary for Dayton to serve the requested area.  Since Dayton is a new utility, there are no complaints on file at the Commission.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there are 1,080 existing water and sewer customer connections and approximately 116 future customers in 3 subdivisions that are being built in the requested areas.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Dayton will be the certificated entity for the requested area and will be required to provide adequate and continuous service to the requested area.

The landowners in the area will have a water and sewer provider available when they need to request water and sewer service.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the CCN amendment requested in this application. All public utilities that were granted intervention subsequently withdrew. In addition, because the requested area was revised to include only area that is within Dayton’s city limits, no other utility could obtain the right to serve the area without Dayton’ s consent.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Dayton has a TCEQ approved PWS registered as City of Dayton, PWS ID No. 1460002 and WWTP registered as City of Dayton, Wastewater Discharge Permit No. WQ 10564- 004.  Dayton does not have any violations listed in the TCEQ database.  No additional construction is necessary for Dayton to serve the requested area.  Since Dayton is a newly certificated utility, there are no complaints on file at the Commission.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

Dayton serves approximately 1,080 connections in the requested areas and does not need to construct a separate water or wastewater system.  Therefore, concerns of regionalization or consolidation do not apply.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

Dayton is currently serving customers in the requested area, has facilities in the requested area to serve any future customers, and has sufficient capacity. Therefore, it is not feasible to obtain service from an adjacent retail public utility.  Because the requested area was revised to include only area that is within Dayton’s city limits, no other utility could obtain the right to serve the area without Dayton’ s consent.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

Leila Guerrero, Financial Analyst in the Rate Regulation Division, provided the following.

Pursuant to Texas Water Code (TWC) § 13.246(c)(6), the Commission is required to consider the financial ability of an applicant to pay for facilities necessary to provide continuous and adequate service and the financial stability of the applicant. The criteria and tests are listed in 16 TAC § 24.11, including leverage tests and an operations test.

Leverage Test

Based on the comprehensive annual report (CAFR) for 2016 and 2017, and the budgets for Fiscal Years (FY) 2018 – 2022, filed with the application, Dayton meets two out of the five leverage tests. Dayton meets the leverage test with a debt to equity ratio of 0.87, which is less than 1.0, and has sufficient unrestricted cash available as a cushion for three years debt service; however, only two years is required.

Operations Test

Dayton meets the operations test.  The owner or operator must demonstrate sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations.

Based on Dayton’s financial projections for FY 2018 – 2023, financial data for FY 2008 – 2016, and the CAFR for Fiscal Year ended September 30, 2017, Dayton has demonstrated that there are no shortages to cover.

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

Ms. Guerrero provided the following.

As explained in the discussion of TWC § 13.246(c)(6) and 16 TAC §§ 24.227(a), (e)(6), and 24.11(e), Dayton meets the financial tests. Therefore, no additional financial assurance is needed.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected as distribution and collection lines are installed to provide service to the requested areas.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Dayton will continue to provide water and sewer service to the existing customers in the area with no change to the cost to customers.

- Recommendation

Based on the mapping review by Tracy Montes, Infrastructure Division, the financial and managerial review by Leila Guerrero, Rate Regulation Division, and my technical and managerial review I recommend that:

- Dayton meets all of the statutory requirements of TWC Chapter 13 and the Commission’s Chapter 24 rules and regulations and is capable of providing continuous and adequate service, and

- Approving this application to obtain water CCN No. 13297 and sewer CCN No. 21124 is necessary for the service, accommodation, convenience, and safety of the public.

Dayton consented to the attached maps and certificates on July 8, 2021.