PUC Interoffice Memorandum

To:	Patrick Todd, Attorney

Legal Division

Thru:		Tammy Benter, Director

Heidi Graham, Manager

Water Utility Regulation Division

From:		Kathryn Eiland, Financial Analyst

Water Utility Regulation Division

Date:	January 11, 2019

Subject:	Docket 48405, Application of Crest Water Company to Amend a Certificate of Convenience and Necessity in Johnson County

On  May 31, 2018, Crest Water Company filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 12037 in Johnson County, Texas pursuant to Texas Water Code Ann. (TWC) §§ 13.242 to 13.250 and the 16 Texas Administrative Code (TAC) §§ 24.225 - 24.237 (formerly §§ 24.101 - 24.107).

Background

The Applicant is seeking to amend a water CCN for the service area containing approximately 195 acres and 0 existing customers.

Notice

The comment period ended October 20, 2018 and no protests or opt-out requests were received.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

TWC § 13.246(c)(1) requires the commission to consider the adequacy of service currently provided to the requested area.

There are no customers currently being served in the requested area.

TWC § 13.246(c)(2) requires the commission to consider the need for service in the requested area.

A developer has requested service from the Applicant. Carnegie Development will consist of 128 lots.

TWC § 13.246(c)(3) requires the commission to consider the effect of granting an amendment on the recipient and on any other retail public utility servicing the proximate area.

The Applicant’s CCN boundaries will be amended to include the requested area.  Therefore, there is no effect on any other retail public utilities in the proximate area.

TWC § 13.246(c)(4) requires the commission to consider the ability of the Applicant to provide adequate service.

The development will be served by Mansfield South, Public Water System ID No. 1260066. The initial phase of Carnegie Development will be approximately 4 single family residences, which is not considered a significant change, since it is less than 10% of the existing system. The Mansfield South public water system has no outstanding TCEQ violations. Additionally, the Applicant has experienced operators that are knowledgeable about operations as well as the requirements for continuous and adequate service.

TWC § 13.246(c)(5) requires the commission to consider the feasibility of obtaining service from an adjacent retail public utility.

No protests or concerns were received from any other adjacent retail public utility.

TWC § 13.246(c)(6) requires the commission to consider the financial ability of the Applicant to pay for facilities necessary to provide continuous and adequate service.

16 TAC § 24.11(e) lists the financial tests.

16 TAC § 24.11(e)(2) refers to the leverage test.  The Applicant meets two out of the five leverage tests with a debt to equity ratio of 0.41, which is less than one and a debt service coverage ratio of 3.78, which is greater than 1.25.

16 TAC § 24.11(e)(3) refers to the operations test, which requires that the owner or operator must demonstrate sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations. Based on the projections submitted in the application, net income from continuing operations is projected to be positive for the next five years.  Additionally, the owner has provided an affidavit affirming that funds are available to install plant and equipment necessary to serve projected customers in the first two years or a new water system or substantial addition to Mansfield South (PWS ID No. 1260066).  Thus, there are no shortages to cover.

TWC §§ 13.246(7) and (9) require the commission to consider the environmental integrity and the effect on the land to be included in the certificate.

The land will be minimally affected by the development of 128 1-acre lots.

TWC § 13.246(8) requires the commission to consider the probable improvement in service or lowering of cost to consumers.

It is expected that the services to the requested area will be comparable to the services provided to the existing customers by the Applicant.

Staff recommends that the Applicant meets all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service and approving this application to amend water CCN No. 12037 is necessary for the service, accommodation, convenience and safety of the public.

The Applicant consented to the attached map, tariff and certificate on January 2, 2019.

Based on the above information, Staff recommends the application be approved, and that Crest Water Company be provided the attached map, tariff and certificate. Staff further recommends that the Applicant file certified copies of the CCN maps along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257 (r)-(s).