PUC Interoffice Memorandum

To:	Justine Tan, Attorney

Legal Division

Thru:		Tammy Benter, Director

Heidi Graham, Manager

Water Utility Regulation Division

From:		Jolie Mathis, Utility Engineering Specialist

Water Utility Regulation Division

Date:	February 27, 2019

Subject:	Docket 48491, Application of MSEC Enterprises, Inc. to Amend its Certificate of Convenience and Necessity (CCN) in Montgomery County

On June 26, 2018, MSEC Enterprises, Inc. filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 12887 in Montgomery County, Texas pursuant to Texas Water Code Ann. (TWC) §§ 13.242 to 13.250 and the 16 Tex. Admin Code (TAC) §§ 24.225 to 24.237 (formerly 24.101 to 24.107).

Background

The Applicant is seeking to amend a water CCN for the service area containing approximately 40 acres and 0 existing customers.

Notice

The comment period ended November 1st, 2018, and no protests or opt-out requests were received.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

TWC § 13.246(c)(1) requires the commission to consider the adequacy of service currently provided to the requested area.

There is currently no water utility service in the requested area.

TWC § 13.246(c)(2) requires the commission to consider the need for service in the requested area.

The property owners intend to develop the property into an industrial/commercial park, and are in need of water utility service.

TWC § 13.246(c)(3) requires the commission to consider the effect of granting an amendment on the recipient and on any other retail public utility servicing the proximate area.

There will be no effect on any retail public utility servicing the proximate area as there are no other water providers in the area.

TWC § 13.246(c)(4) requires the commission to consider the ability of the Applicant to provide adequate service.

The Applicant has a Texas Commission on Environmental Quality (TCEQ) approved Public Water System (PWS) No. 1700638 (Montgomery Trace)  A 14” water transmission line will be constructed off-site to serve the requested area.  The Applicant does not have any violations listed in the TCEQ database.

The MSEC Montgomery Trace water systems that will serve the expanded service area currently has 5,052 connections.  The anticipated number of connections in the expanded CCN service area is 15 connections.  This will not qualify as a significant change under 30 Tex.Admin.Code § 290.39(j)(1)(D), and plans and specifications for the facilities system are not required to be submitted to the TCEQ.

TWC § 13.246(c)(5) requires the commission to consider the feasibility of obtaining service from an adjacent retail public utility.

Currently, there are no other water providers in the area.

TWC § 13.246(c)(6) requires the commission to consider the financial ability of the Applicant to pay for facilities necessary to provide continuous and adequate service.

Pursuant to Texas Water Code § 13.246(c)(6) (TWC) the Public Utility Commission of Texas is required to consider the financial ability of an applicant to pay for facilities necessary to provide continuous and adequate service and the financial stability of the applicant. The criteria and tests are listed in 16 Texas Admin. Code § 24.11 (TAC) including leverage tests and an operations test.

The Applicant meets one out of the five leverage tests with a debt service coverage ratio of 1.54.

The Applicant meets the operations test.  The owner or operator must demonstrate sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations.  The Applicant did not submitted projections in its application; however, based on their 2017 financial statements, the Applicant had a net margin (income) of $1,325,726 and $517,185 in cash.  Additionally, the Applicant will construct a transmission line to serve the proposed industrial/commercial park.  The cost of this line will be shared between the Applicant and the developer.  The Applicant will pay its share of costs from funds on hand.  Thus, there are no shortages to cover.

TWC §§ 13.246(7) and (9) require the commission to consider the environmental integrity and the effect on the land to be included in the certificate.

The environmental integrity of the land will not be negatively impacted or disrupted as a result of granting the CCN as requested.

TWC § 13.246(8) requires the commission to consider the probable improvement in service or lowering of cost to consumers.

Water service will be provided to the requested area.

Staff recommends that the Applicant meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service and approving this application to obtain a water CCN No. 12887 is necessary for the service, accommodation, convenience and safety of the public.

The Applicant consented to the attached map, tariff and certificate on February 25th, 2019.

Based on the above information, Staff recommends the Commission approve the application, issue an order and provide the attached map(s), tariff(s) and certificate(s) to MSEC Enterprises, Inc. Staff further recommends that the Applicant file certified copies of the CCN maps along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257 (r)-(s).