AMENDED

PUC Interoffice Memorandum

To:	Patrick Todd, Attorney

Legal Division

Thru:		Tammy Benter, Director

Heidi Graham, Manager

Water Utilities Regulation Division

From:		Debbie Reyes, Program Specialist

Water Utilities Regulation Division

Date:	May 28, 2019

Subject:	Docket No. 48660: Application of the City of Lucas to Amend a Water Certificate of Convenience and Necessity in Collin County

This Memorandum amends the memorandum filed on May 2, 2019, as part of Commission Staff’s Recommendation on Final Disposition. It corrects the total acreage and a typographical error relating to the existing number of customers.

On September 4, 2018, the City of Lucas (Lucas) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 10193 in Collin County, Texas pursuant to Texas Water Code Ann. (TWC)

§§ 13.242-.250 and the 16 Tex. Admin Code (TAC) §§ 24.225-.237.

Background

Lucas is seeking to amend its water CCN to serve an area containing approximately 2,951 total acres and 2,693 existing customers.

Notice

The comment period ended January 26, 2019, and no protests or opt-out requests were received.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

TWC §13.246(c)(1) requires the commission to consider the adequacy of service currently provided to the requested area.

Lucas is currently providing service to 2,693 existing customers in the requested area.

TWC §13.246(c)(2) requires the commission to consider the need for service in the requested area.

The requested area is within Lucas’s corporate limits, and is a recipient of Lucas’s water services.

TWC §13.246(c)(3) requires the commission to consider the effect of granting an amendment on the recipient and on any other retail public utility servicing the proximate area.

Granting the amendment will enable Lucas to continue providing service to the requested area, and will have no effect on any other retail public utility servicing the approximate area

TWC §13.246(c)(4) requires the commission to consider the ability of the applicant to provide adequate service.

Lucas purchases all its treated water supply from North Texas Municipal Water District (NTMWD). The purchase water contract between NTMWD and Lucas on a take or pay basis, and provides for a maximum demand of 2.5 times Lucas’s average daily usage. According to the Texas Commission on Environmental Quality’s (TCEQ) Drinking Water Watch database, Lucas’s average daily usage is 1.285 million gallons per day (MGD). Per the agreement, Lucas’s maximum demand can be up to 3.21 MGD. Since Lucas has 2,693 connections, using the TCEQ metric of 360 gallons per connection per day, Lucas can serve 8,916 connections, which is more than adequate to provide service.

TWC §13.246(c)(5) requires the commission to consider the feasibility of obtaining service from an adjacent retail public utility.

The requested area is within the corporate limits of Lucas and includes customers receiving service. Therefore, Staff did not consider the receipt of service from an adjacent retail public utility.

TWC § 13.246(c)(6) requires the commission to consider the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service and the financial stability of the applicant.  The following discussion shows that Lucas meets the required criteria:

Financial Test

TWC § 13.246(c)(6) requires the Commission to consider the financial ability of an applicant to pay for facilities necessary to provide continuous and adequate service and the financial stability of the applicant. The criteria and tests are listed in 16 Texas Admin. Code (TAC) § 24.11 including leverage tests and an operations test.

The following analysis is taken from Lucas’s comprehensive annual financial report (CAFR) which contained an unqualified auditor’s opinion from Brookswatson & Co.which stated that the that the financial statements present fairly, in all material respects, the financial position of Lucas as of September 30, 2017. Furthermore, Lucas received a certificate of Achievement for Excellence in Financial Reporting issued by the Government Finance Officers Association. The CAFR, the related opinion, and the certificate indicate the transparency of Lucas, and speak to Lucas’s management capabilities.

Lucas meets one out of the five leverage tests. Lucas is only required to meet one. Lucas meets the debt to equity ratio test calculated as follows: long term bonds payable of $18,252,865 divided by net position (equity) of $49,760,266 equals 0.37 which is less than one.

Lucas meets the operations test.  Lucas has not submitted projections in its application; however, based on Lucas's audited financial statements, Lucas had $2,898,309 change in net position for FY 2017.  Thus, there are no shortages to cover.

TWC §§ 13.246(7) and (9) require the commission to consider the environmental integrity and the effect on the land to be included in the certificate.

There will be no effect on the land, because Lucas has been providing water services to the requested area for the past 15 years.

TWC § 13.246(8) requires the commission to consider the probable improvement in service or lowering of cost to consumers.

Lucas will continue to provide water service to the existing customers in the requested area.

Staff recommends that Lucas meets all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations, and is capable of providing continuous and adequate service and approving this application to amend the CCN No. 10193 is necessary for the service, accommodation, convenience and safety of the public.

Lucas consented to the attached map and certificate on April 22, 2019.

Based on the above information, Staff recommends the Commission approve the application, issue an order and provide the attached map, and certificate to the City of Lucas. Staff further recommends that Lucas file certified copies of the CCN map along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257 (r)-(s).

Application at page 47 of 189.

Id. at page 66 of 189.

Id.

Application at page 68 of 189.