DOCKET NO.  48791

| APPLICATION OF PENDLeTON HARBOR WATER SUPPLY CORPORATION AND G-M WATER SUPPLY CORPORATION FOR SALE, TRANSFER, OR MERGER OF FACILITIES AND CERTIFICATE RIGHTS IN SABINE COUNTY | § § § § § § § | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

SECOND SUPPLEMENTAL JOINT MOTION TO ADMIT EVIDENCE AND

PROPOSED NOTICE OF APPROVAL

#### COMES NOW G-M Water Supply Corporation (G-M WSC) and Pendleton Harbor Water Supply Corporation (Pendleton Harbor WSC) (collectively, Applicants), together with the Staff (Staff) of the Public Utility Commission of Texas (Commission), representing the public interest (collectively, the Parties), and files this Second Supplemental Joint Motion to Admit Evidence and Proposed Notice of Approval.  In support thereof, the Parties show the following:

- BACKGROUND

On October 17, 2018, G-M WSC and Pendleton Harbor WSC filed an application for the sale, transfer, or merger of facilities and certificate rights in Sabine County, Texas, pursuant to Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239. Specifically, G-M WSC seeks to acquire all of Pendleton Harbor WSC’s facilities and service area under water Certificate of Convenience and Necessity (CCN) No. 10737. Further, the parties request to cancel Pendleton WSC's water CCN No. 10737 and amend G-M WSC’s water CCN No. 11393 to include the transferred service area. In addition to the service area acquired from Pendleton Harbor WSC, G-M WSC also seeks to add approximately 306 acres of uncertificated area to its water CCN No. 11393. The total requested area includes approximately 1,024 acres and 234 connections.

On January 29, 2020, the Commission administrative law judge (ALJ) issued Order No. 17, approving the sale and authorizing Applicants to proceed with the proposed transaction. The order required that Applicants submit documents evidencing the transaction was consummated and demonstrate that customer deposits were properly addressed.  On April 9, 2020, Applicants’ closing documents were filed with the Commission.

On April 23, 2020, Staff filed its Recommendation on Sufficiency of Closing Documents, recommending that Applicants’ closing documents were consistent with the applicable Commission rules. On May 5, 2020, the ALJ issued Order No. 18, finding the closing documentation sufficient and establishing a supplemental procedural schedule.

On May 8, 2020, Staff provided a final map and a revised water certificate to G-M WSC, and a final map to Pendleton Harbor WSC, for review and consent. On May 13, 2020, Pendleton Harbor WSC filed a consent form concurring with the final map. On May 18, 2020, G-M WSC filed a consent form concurring with the final map and its revised water certificate.

Order No. 18 also established a deadline of June 9, 2020, for the parties to file joint proposed findings of fact and conclusions of law. Therefore, this pleading is timely filed.

- SECOND SUPPLEMENTAL JOINT MOTION TO ADMIT EVIDENCE

The parties request the entry of the following items into the record of this proceeding:

- Applicants’ closing documentation, filed April 9, 2020 (AIS Item No. 49);

- Staff’s closing documents sufficiency recommendation, filed April 23, 2020 (AIS Item No. 50)

- Pendleton Harbor WSC’s consent form for final map, filed on May 13, 2020 (AIS Item No. 52);

- G-M WSC’s consent form for final map and revised water certificate, filed on May 18, 2020 (AIS Item No. 53); and

- The attached final map and G-M WSC’s revised water certificate.

- JOINT PROPOSED NOTICE OF APPROVAL

Commission Staff, Pendleton Harbor WSC, and G-M WSC have agreed to the attached Joint Proposed Notice of Approval, which would grant Applicants’ application for approval of the transfer of all water facilities and certificated water service area under water CCN No. 10737 to G-M WSC, the cancellation of Pendleton WSC's water CCN No. 10737, the amendment of G-M WSC’s water CCN No. 11393 to include the transferred service area, and the addition of  approximately 306 acres of uncertificated service area to G-M WSC’s water CCN No. 11393. Also attached are the final map and revised water certificate that were provided by Staff to the Applicants on May 8, 2020, and subsequently approved by Applicants via filed consent forms on May 13, 2020 and May 18, 2020.

- CONCLUSION

Applicants have agreed that Staff is authorized to file this pleading on their behalf. Therefore, the Parties respectfully request that the Commission grant the Second Supplemental Motion to Admit Evidence, and adopt the attached Joint Proposed Notice of Approval.

Dated:  June 5, 2020

Respectfully submitted,

PUBLIC UTILITY COMMISSION OF TEXAS

LEGAL DIVISION

Rachelle Nicolette Robles

Division Director

/s/ Richard Nemer

_____________________________

Richard Nemer

State Bar No. 24042829

1701 N. Congress Avenue

P.O. Box 13326

Austin, Texas 78711-3326

(512) 936-7348

(512) 936-7268 (facsimile)

richard.nemer@puc.texas.gov

Docket No. 48791

CERTIFICATE OF SERVICE

I certify that, unless otherwise ordered by the presiding officer, notice of the filing of this document was provided to all parties of record via electronic mail on June 5, 2020, in accordance with the Order Suspending Rules, issued in Project No. 50664.

/s/ Richard Nemer

_____________________________

Richard Nemer

DOCKET NO.  48791

| APPLICATION OF PENDLETON HARBOR WATER SUPPLY CORPORATION AND G-M WATER SUPPLY CORPORATION FOR SALE, TRANSFER, OR MERGER OF FACILITIES AND CERTIFICATE RIGHTS IN SABINE COUNTY | § § § § § § § | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

JOINT PROPOSED NOTICE OF APPROVAL

This Notice of Approval addresses the October 17, 2018, application of Pendleton Harbor Water Supply Corporation (Pendleton Harbor WSC) and G-M Water Supply Corporation (G-M WSC) for approval of a sale, transfer, or merger of facilities and certificate rights in Sabine County.  The Commission approves the transfer of all of Pendleton WSC’s facilities and service area under water certificate of convenience and necessity (CCN) No. 10737 to G-M WSC, the cancellation of Pendleton WSC's water CCN number 10737, and the amendment of G-M WSC’s water CCN number 11393 to include the transferred service area. Further, the Commission approves the addition of approximately 306 acres of uncertificated service area to G-M WSC’s water CCN number 11393.

# Findings of Fact

The Commission makes the following findings of fact.

            - Applicants

Pendleton Harbor WSC is a domestic non-profit corporation registered with the Texas secretary of state on June 26, 2012, under filing number 801617755.

Pendleton Harbor WSC is a retail public utility that operates, maintains, and controls facilities for providing water service in Sabine County under CCN number 10737.

Pendleton Harbor WSC owns a public water system (PWS) registered with the Texas Commission on Environmental Quality (TCEQ) under PWS number 2020020.

G-M WSC is a domestic non-profit corporation registered with the Texas secretary of state on August 2, 1968, under filing number 25002701.

G-M WSC is a retail public utility that operates, maintains, and controls facilities for providing sewer service in Sabine County under CCN number 11393.

            - Application

On October 17, 2018, the applicants filed an application, and supplemented that application on March 6 and April 9, 2019, for approval of: (a) the sale of Pendleton Harbor WSC's PWS number 2020020 and transfer of the service area, consisting of approximately 718 acres and 234 current customers held under water CCN number 10737, to G-M WSC; (b) the cancellation of Pendleton WSC's water CCN number 10737; (c) the amendment of G-M WSC's CCN number 11393 to include the requested area; and (d) the amendment of G-M WSC's CCN number 11393 to add approximately 306 acres in order to connect the requested area to be transferred to G-M WSC's currently certificated area.

The requested area to be transferred and the approximately 306-acre area to be added are located approximately nine miles northeast of downtown Hemphill, Texas, and are generally bounded on the north and east by Toledo Bend Reservoir, on the south by State Highway 21 and Toledo Bend Reservoir, and on the west by the intersection of Cedar Grove Road and Elma Lane.

In Order No. 5 filed on April 16, 2019, the administrative law judge (ALJ) found the application administratively complete.

            - Notice

Notice of the application appeared in the Texas Register on November 2, 2018.

On May 10, 2019, the applicants filed the affidavit of April Prince, attorney for G-M WSC, attesting that notice was provided to all current customers, neighboring utilities, and affected parties on April 24 and 25, 2019.

On May 14, 2019, the applicants filed a publisher's affidavit of Danielle Ebarb Price, attesting that notice appeared in the Sabine County Reporter on May 1 and 8, 2019.

On June 17, 2019, the applicants filed another affidavit of April Prince, attesting that revised notice was provided to all current customers on June 6, 2019, and neighboring utilities and affected parties on June 10, 2019.

In Order No. 7 filed on July 1, 2019, the ALJ deemed the notice sufficient.

            - Evidentiary Record

On September 11, 2019, the parties filed a joint motion to admit evidence

In Order No. 12 filed on September 19, 2019, the ALJ admitted the following evidence into the record: a) the applicants' application, filed on October 17, 2018, as supplemented on March 6 and April 9, 2019; b) the applicants' revised proof of notice and supporting documentation, filed on June 17, 2019; (c) Commission Staff s recommendation on sale to proceed, filed June 27, 2019; and (d) Commission Staff s amended final recommendation for the transaction to proceed, filed on September 11, 2019, including the memorandum dated August 9, 2019, from Kathryn Eiland, recommending approval of the proposed transaction.

On November 15, 2019, the parties filed a supplemental joint motion to admit evidence.

In Order No. 16 filed on November 22, 2019, the ALJ admitted the following evidence into the record: (a) G-M WSC's responses to Commission Staff’s second request for information, filed on November 1, 2019; and (b) Commission Staff’s supplemental TWC § 13.246(c) analysis, attached to the parties' supplemental joint motion to admit evidence.

On June 8, 2020, the parties filed a second supplemental joint motion to admit evidence.

In Order No. 19, filed on ______, 2020, the ALJ admitted the following evidence into the record: (a) Applicants’ closing documentation, filed April 9, 2020; (b) Staff’s closing documents sufficiency recommendation, filed April 23, 2020; (c) Pendleton Harbor WSC’s consent form for final map, filed on May 13, 2020;  (d) G-M WSC’s consent form for final map and revised water certificate, filed on May 18, 2020; and (e) the final map and G-M WSC’s revised water certificate as attached to Commission Staff’s second supplemental motion to admit evidence filed on June 8, 2020.

Sale

In Order No. 17, filed on January 29, 2020, the ALJ approved the sale and transfer to proceed and required the Applicants to file proof that the transaction had closed and that customer deposits had been addressed.

On April 9, 2020, the Applicants filed notice that the sale had closed effective as of April 1, 2020, and that Pendleton Harbor WSC held no customer deposits to transfer as part of the transaction.

In Order No. 18 issued May 5, 2020, the ALJ found the closing documents sufficient.

            - System Compliance—Texas Water Code (TWC) 13.301(e)(3)(A); 16 Texas Administrative Code (TAC) 24.227(a), 24.239(j)(3)(A), (j)(5)(A)

G-M WSC and Pendleton Harbor WSC have not been the subject of any unresolved enforcement action by the Commission, TCEQ, the Texas Department of Health, the Office of the Attorney General of Texas, or the United States Environmental Protection Agency.

G-M WSC and Pendleton Harbor WSC do not have any violations listed in the TCEQ database.

            - Adequacy of Existing Service–TWC § 13.246(c)(1); 16 TAC §§ 24.227(d)(1), 24.239(j)(5)(B)

The PWS to be transferred has been approved by the TCEQ, is capable of providing drinking water that meets the requirements of the Texas Health and Safety Code, Chapter 341 and TCEQ rules, and has access to an adequate supply of water through G-M WSC.

G-M WSC is capable of providing continuous and adequate service through its existing PWS to the approximately 306-acre area to be added to G-M WSC's service area.

The public will be better served through G-M WSC’s ownership of the PWS, the transfer of the requested area, and the addition of the approximately 306-acre area due to improvements in customer service and operations and maintenance.

            - Need for Additional Service–TWC § 13.246(c)(2); 16 TAC §§ 24.227(d)(2), 24.239(j)(5)(C)

The approximately 306-acre area to be added to G-M WSC's service area will eliminate the gap between G-M WSC's current service area and the requested area to be transferred from Pendleton Harbor WSC.

Neither Pendleton Harbor WSC nor G-M WSC have received any new requests for service.

Pendleton Harbor WSC's existing customers in the requested area have an ongoing need for service.

            - Effect of Approving the Transaction and Granting the Amendment–TWC § 13.246(c)(3); 16 TAC §§ 24.227(d)(3), 24.239(j)(5)(D)

Pendleton Harbor WSC and G-M WSC are the only utilities affected by this sale, transfer, and amendment.

Landowners in the area will benefit from the transaction because they will receive an improved level of service.

            - Ability to Serve: Managerial and Technical–TWC §§ 13.241(a), 13.246(c)(4), 13.301(b), (e)(2); 16 TAC §§ 24.227(a), (d)(4), 24.239(g), (j)(5)(E)

G-M WSC has a sufficient number of licensed operators and the managerial and technical capability to provide adequate and continuous service to the requested area and the approximately 306-acre area to be added.

G-M WSC currently sells Pendleton Harbor WSC 100% of its water to serve the requested area.

G-M WSC has sufficient capacity to serve customers of the requested area and any customers in the approximately 306-acre area to be added adequately and continuously.

            - Feasibility of Obtaining Service from Adjacent Retail Public Utility–TWC §13.246(c)(5); 16 TAC § 24.227(d)(5), 24.239(j)(5)(F)

The requested area has existing facilities and is currently being served by Pendleton Harbor WSC.

G-M WSC will be able to provide service to the approximately 306 acres to be added through existing facilities.

It is not feasible for an adjacent utility to provide service to the requested area or the approximately 306-acre area to be added.

            - Ability to Serve: Financial Ability and Stability–TWC §§ 13.241(a), 13.246(c)(6), 13.301(b); 16 TAC §§ 24.11(e), 24.227(a), (d)(6), 24.239(g), (j)(5)(G)

G-M WSC's long term debt, divided by equity, produces a debt-to-equity ratio of less than one, thus meeting the leverage test.

G-M WSC demonstrated that it has the available cash levels to serve the requested service area and the approximately 306-acre area to be added.

G-M WSC has demonstrated the financial capability and stability to provide continuous and adequate service to the requested area and the approximately 306-acre area to be added.

- Financial Assurance—TWC §§ 13.246(d), 13.301(c); 16 TAC §§ 24.227(e), 24.239(11)

There is no need to require G-M WSC to provide a bond or other financial assurance to ensure continuous and adequate service to the requested area and the approximately 306-acre area to be added.

            - Environmental Integrity–TWC § 13.246(c)(7), (c)(9); 16 TAC §§ 24.227(d)(7), (d)(9), 24.239(j)(5)(H)

The proposed transaction will not adversely impact the environmental integrity of the land because the requested area is currently receiving service.

The addition of the approximately 306-acre area will not adversely impact the environmental integrity of the land because no additional construction is needed.

            - Effect on Land–TWC § 13.246(c)(9); 16 TAC § 24.227(d)(9)

The requested area will continue to be served by existing systems and facilities, and no additional construction is needed; therefore, the effect on the land should be minimal.

The addition of the approximately 306-acre area will have a positive effect of the land because the area will be provided with continuous and adequate water service from G-M WSC.

            - Improvement of Service or Lowering Cost to Consumers–TWC § 13.246(c)(8); 16 TAC §§ 24.227(d)(8), 24.239(j)(5)(I)

The proposed transaction will improve service to existing customers because the water system will be integrated into the system of G-M WSC, and G-M WSC plans improvements to infrastructure over time that will improve water pressure to the requested area.

G-M WSC anticipates that the rates for affected customers will decrease to match the rates charged to G-M WSC's current customers.

Any new customers from the approximately 306-acre area to be added will receive the same level of water service received by the current customers of G-M WSC.

            - Regionalization or Consolidation—TWC § 13.241(d); 16 TAC § 24.227(b)

Because G-M WSC does not anticipate building any new facilities to serve the requested area or the approximately 306-acre area to be added, concerns of regionalization or consolidation are not applicable.

            - Map and Certificate

On May 8, 2020, Commission Staff emailed to Pendleton Harbor WSC a proposed final map related to this docket.

On May 8, 2020, Commission Staff emailed to G-M WSC a proposed final map and a revised water certificate related to this docket.

On May 13, 2020, Pendleton Harbor WSC filed a consent form concurring with the proposed final map.

On May 18, 2020, G-M WSC filed a consent form concurring with the proposed final map and its revised water certificate.

On June 8, 2020, the final map and revised water certificate were filed as an attachment to the parties’ second supplemental joint motion to admit evidence and proposed notice of approval.

            - Informal Disposition

More than 15 days have passed since the completion of notice provided in this docket.

No person filed a protest or motion to intervene.

Pendleton Harbor WSC, G-M WSC, and Commission Staff are the only parties to this proceeding.

No party requested a hearing and no hearing is needed.

Commission Staff recommended approval of the application.

This decision is not adverse to any party.

# Conclusions of Law

The Commission makes the following conclusions of law.

The Commission has jurisdiction over this proceeding under TWC §§ 13.041, 13.241, 13.244, 13.246, 13.251, and 13.301.

Pendleton Harbor WSC and G-M WSC are retail public utilities as defined by TWC § 13.002(19) and 16 TAC § 24.3(59).

Public notice of the application was provided as required by TWC § 13.301(a) and 16 TAC § 24.239(a) through (c).

The Commission processed the application as required by the TWC, the Administrative Procedure Act, and Commission Rules.

Pendleton Harbor WSC and G-M WSC completed the sale within the time required by 16 TAC § 24.239(o).

The Applicants complied with the requirements of 16 TAC § 24.239(m) with respect to customer deposits.

After consideration of the factors in TWC § 13.246(c), G-M WSC has demonstrated adequate financial, managerial, and technical capability for providing adequate and continuous service to the requested area.  TWC § 13.301(b)

Pendleton Harbor WSC and G-M WSC have demonstrated that the sale of Pendleton Harbor WSC’s water system, transfer of the water service area held under CCN number 10737, cancellation of Pendleton Harbor WSC’s CCN number 10737, amendment of G-M WSC’s CCN number 11393 to include the transferred service area, and the addition of approximately 306 acres of uncertificated service area to G-M WSC’s water CCN number 11393 will serve the public interest and is necessary for the service, accommodation, convenience, or safety of the public.  TWC §§ 13.301(d), (e).

G-M WSC must record a certified copy of the certificate granted and map approved by this Notice of Approval, along with a boundary description of the service area, in the real property records of Sabine County within 31 days of receiving this Notice of Approval and submit to the Commission evidence of the recording.  TWC § 13.257(r), (s).

The requirements for informal disposition under 16 TAC § 22.35 have been met in this proceeding.

# Ordering Paragraphs

In accordance with these findings of fact and conclusions of law, the Commission issues the following orders:

The Commission approves the application.

The Commission approves G-M WSC’s purchase of Pendleton Harbor WSC’s water system, the transfer of Pendleton Harbor WSC’s water service area under CCN number 10737 to G-M WSC, the cancellation of Pendleton WSC's water CCN number 10737, the amendment of G-M WSC’s water CCN number 11393 to include the transferred service area, and the addition of approximately 306 acres of uncertificated service area to G-M WSC’s water CCN number 11393, to the extent provided in this Notice of Approval.

The Commission grants the attached certificate and approves the attached map.

G-M WSC must serve every customer and applicant for service within the approved area under water CCN number 11393 that requests water service and meets the terms of G-M WSC’s water service, and such service must be continuous and adequate.

G-M WSC must comply with the recording requirements in TWC § 13.257(r) and (s) for the areas in Sabine County affected by the application and submit to the Commission evidence of the recording no later than 31 days after receipt of this Notice of Approval.

Within ten days of the date of this Notice of Approval, Commission Staff must provide a clean copy of the tariff approved by this Notice of Approval to central records to be marked Approved and filed in the Commission’s tariff books.

The Commission denies all other motions and any other requests for general or specific relief, if not expressly granted.

Signed at Austin, Texas the ______ day of ______ 2020.

PUBLIC UTILITY COMMISSION OF TEXAS

HUNTER BURKHALTER CHIEF ADMINISTRATIVE LAW JUDGE

Tex. Gov’t Code ch. 2001.