## INTRO
Automated Water Loss Calculation
This calculation uses the Texas Water Development Board's Water Loss "Audit" Worksheet Format. It is recommended that you use "bottom-up"
methodologies whenever possible to gather the data in order to produce as precise a calculation as possible. Use of the TWDB's "Guidance Matrix for
Assigning Scores to Components of the Water Audit" is also recommended.
Begin by entering data into the Info Tracker spreadsheet in the yellow-highlighted cells in Column E.
Sources and Reports to gather the information from are shown in columns H & I, along with additional information in column J.
The amounts entered will show up in Column A of the spreadsheet.
Average Customer Meter Accuracy (cell A48) comes from the second spreadsheet named "Weighted Avg Customer Meter Accuracy Calculation".
That spreadsheet takes the amounts of water used by "billing type", once they are entered into the Info Tracker spreadsheet, and
calculates a weighted average accuracy figure once the meter accuracy ratings for each meter size (from testing reports) are entered.
The weighted average is automatically transferred into the data collection spreadsheet (cell A48).
Reliability Ratings are entered into the yellow-highlighted cells in Column L.
Use the Guidance Matrix for Assigning Scores to Components of the Water Audit provided by TWDB to determine the Reliability Ratings.
Information and Sources used to determine the ratings are shown in columns M & N for each item.
The Info Tracker spreadsheet prints out on three 11" x 17" sheets (Landscape Format)
The Report Format prints out on two 8-1/2" x 11" sheets (Portrait Format)
The information in the Report Format spreadsheet is automatically entered from the Info Tracker spreadsheet and includes a graph
to show the amounts of water by authorized consumption and water loss categories (the groupings on the graph are different than on
the TWDB report because they are intended to help management better understand where the water is being used.)
The Weighted Average Customer Meter Accuracy Calculation prints on one 8-1/2" x 11" sheet (Landscape Format)
The TWDB's Water Loss Calculation format was automated into a data collection spreadsheet
by Robert Elizondo and Robert Young, Office of the City Auditor, February 2009.
DO NOT USE WITHOUT PRIOR AUTHORIZATION BY OCA

## Info Tracker
January 1, 2018 to December 31, 2018
Assessment table
CALCULATED VALUES | TWDB Report Line Number | TWDB Water Loss Calculation Component Name | AWU Line Item Description | DATA INPUT COLUMN | Units | Source | Document(s) | Additional Information | Reliability Rating (Input into yellow highlighted cells) | Data used for Reliability Matrix judgment | Audit Year when Score Achieved | Source | 0.5 | 1 | 1.5 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5
Austin Water | 1 | Water Utility Name | Same | Austin Water | N/A | Known | N/A
Dan Strub AW Pipeline Operations | 2 | Contact Name & Info | Same | Dan Strub AW Pipeline Operations | N/A | Known | N/A
January 1, 2018 to December 31, 2018 | 3 | Reporting Period | Same | January 1, 2018 to December 31, 2018 | N/A | Known | N/A
100% | 4 | Source Water Utilization | Same | 100% Surface Water |  | Known | N/A
999960 | 5a | Retail Population Served | Same | 999960 | POP | Prachi Patel, Systems Planning | 2018_AW_Population_Estimate.xls spreadsheet | From AW Population Portal on SharePoint, July 1 population, with River Place subtracted
61319 | 5b | Wholesale Population Served | Same | 61319 | POP | Prachi Patel, Systems Planning | 2018_AW_Population_Estimate.xls spreadsheet | From AW Population Portal on SharePoint, July 1 population, with River Place added
3929.78 | 6 | Utility's Length of Main Lines, miles |  | Column A summarizes the following 2 lines. |  |  |  |  | 4.5 | GIS system used to track system length along with components. | FY07 | Steve Hutton & Tracy Busby - AWU Systems Planning / GIS | Poorly assembled and maintained paper as‐built records of existing water main installations makes accurate determination of system pipe length impossible. Length of main is estimated. | Paper records in poor or uncertain condition (no annual tracking of installations & abandonments). Poor procedures to ensure that new water mains installed by developers are accurately documented. |  | Sound written policy and procedures exist for documenting new water main installations, but gaps in management result in a uncertain degree of error in tabulation of mains length. |  | Sound written policy and procedures exist for permitting and commissioning new water mains. Highly accurate paper records with regular field validation; or electronic records and asset management system in good condition. Includes system backup. |  | Sound written policy and procedures exist for permitting and commissioning new water mains. Electronic recordkeeping such as a Geographical Information System (GIS) and asset management system are used to store and manage data. |  | Sound written policy exists for managing water mains extensions and replacements. Geographic Information System (GIS) data and asset management database agree and random field validation proves truth of databases. Records of annual field validation should be available for review.
|  |  | Transmission (16" or greater diameter) | 709.49 | Miles | Cara Cooke, GIS | GIS Water Statistics Report | Use # of miles of transmission lines for December of the reported fiscal year
|  |  | Distribution (less than 16" diameter) | 3220.29 | Miles | Cara Cooke, GIS | GIS Water Statistics Report | Use # of miles of distribution lines for December of the reported fiscal year
49 | 7 | Number of Wholesale Connections Served | Same | 49 | Conn. | Robert Rowan, Finance | email from Robert Rowan | Numbers of customers served kept on monthly basis, used fiscal year average
235382 | 8 | Number of Retail Connections Served | Same | 235382 | Conn. | Darrel Culberson, Finance | email from Robert Rowan or Darrel Culberson | Numbers of customers served kept on monthly basis, used calendar year average | 5 | As per Jonathan Orenstein |  | Jonathan Orenstein, Taps | Vague permitting (of new service connections) policy and poor paper recordkeeping of customer connections/billings result in suspect determination of the number of service connections, which may be 10‐15% in error from actual count. | General permitting policy exists but paper records, procedural gaps, and weak oversight result in questionable total for number of connections,which may vary 5‐10% of actual count. |  | Written account activation policy and procedures exist, but with some gaps in performance and oversight. Computerized information management system is being brought online to replace dated paper recordkeeping system. Reasonably accurate tracking of service connection installations & abandonments; but count can be up to 5% in error from actual total. |  | Written new account activation and overall billing policies and procedures are adequate and reviewed periodically. Computerized information management system is in use with annual installations & abandonments totaled. Very limited field verifications and audits. Error in count of number of service connections is believed to be no more than 3%. |  | Policies and procedures for new account activation and overall billing operations are written, well‐structured and reviewed at least biannually. Well managed computerized information management system exists and routine, periodic field checks and internal system audits are conducted. Counts of connections are no more than 2% in error. |  | Sound written policy and well managed and audited procedures ensure reliable management of service connection population. Computerized information management system, Customer Billing System, and Geographic Information System (GIS) information agree; field validation proves truth of databases. Count of connections recorded as being in error is less than 1% of the entire population.
59.897 | 9 | Service Connection Density |  | Calculated (Line 8 div by Line 6)
77.3 | 10 | Average Yearly System Operating Pressure | Same | 77.3 | PSI | Joe Smith, Systems Planning | email from Joe Smith | GIS based algorithm within the AWU hydraulic model is used to calculate avg pressure throughout the system. | 4.5 | GIS based algorithm is used to calculate avg pressure throughout the system. Preliminary "district" testing done through SCADA system. | FY07 | Joe Smith, Systems Planning | Available records are poorly assembled and maintained paper records of supply pump characteristics and water distribution system operating conditions. Average pressure is estimated based upon this information and ground elevations from crude topographical maps. Widely varying distribution system pressures due to undulating terrain, high system head loss and weak/erratic pressure controls further compromise the validity of the average pressure calculation. | Limited telemetry monitoring of scattered pumping station and water storage tank sites provides some static pressure data, which is recorded in and written logbooks. Pressure data is gathered at individual sites only when low pressure complaints arise. Average pressure is determined by averaging relatively crude data, and is affected by significant variation in ground elevations, system head loss and gaps in pressure controls in the distribution system. |  | Effective pressure controls separate different pressure zones; moderate pressure variation across the system, occasional open boundary valves are discovered that breach pressure zones. Basic telemetry monitoring of the distribution system logs pressure data electronically. Pressure data gathered by gauges or dataloggers at fire hydrants or buildings when low pressure complaints arise, and during fire flow tests and system flushing. Reliable topographical data exists. Average pressure is calculated using this mix of data. |  | Reliable pressure controls separate distinct pressure zones; only very occasional open boundary valves are encountered that breech pressure zones. Well‐covered telemetry monitoring of the distribution system (not just pumping at source treatment plants or wells) logs extensive pressure data electronically. Pressure gathered by gauges/dataloggers at fire hydrants and buildings when low pressure complaints arise, and during fire flow tests and system flushing. Average pressure is determined by using this mix of reliable data. |  | Well‐managed, discrete pressure zones exist with generally predictable pressure fluctuations. A current full‐scale SCADA System or similar realtime monitoring system exists to monitor the water distribution system and collect data, including real time pressure readings at representative sites across the system. The average system pressure is determined from reliable monitoring system data. |  | Well managed presssure districts/jzones, SCADA System and hydraulic model exist to give very rpecise pressure data across the water distribution system. Average system pressure is reliably calculated from extensive, reliable, and cross-checked data. Calculations are reported on an annual basis as a minimum.
Gallons | 11 | Volume Units of Measure | Same | Gallons | N/A | Dan Strub, Pipeline Operations |  | All measurements converted to gallons by OCA
47231243268 | 12 | Water Volume from own Sources | Annual Usage from Distribution System | 47231243268 | Gals | Jaime Pruneda, Pumping and Distribution | Annual pumping and usage data spreadsheet emailed |  | 3.5 | Fully metered; annual testing or electronic calibration - however, 17 of 27 meters are over 15 years old. | FY07 | Pumping and Distribution (Rick Coronado) | Less than 25% of water production sources are metered, remaining sources are estimated. No regular meter accuracy testing or electronic calibration conducted. | 25% ‐ 50% of treated water production sources are metered; other sources estimated. No regular meter accuracy testing or electronic calibration conducted. |  | 50% ‐ 75% of treated water production sources are metered, other sources estimated. Occasional meter accuracy testing or electronic calibration conducted. |  | At least 75% of treated water production sources are metered, or at least 90% of the source flow is derived from metered sources. Meter accuracy testing and/or electronic calibration of related instrumentation is conducted annually. Less than 25% of tested meters are found outside of +/‐ 6% accuracy. |  | 100% of treated water production sources are metered, meter accuracy testing and electronic calibration of related instrumentation is conducted annually, less than 10% of meters are found outside of +/‐ 6% accuracy. |  | 100% of treated water production sources are metered, meter accuracy testing and electronic calibration of related instrumentation is conducted semi‐annually, with less than 10% found outside of +/‐ 3% accuracy. Procedures are reviewed by a third party knowledgeable in the M36 methodology.
0.98416 | 13 | Production Meter Accuracy (enter percentage) | Calculated Production Meter Accuracy | 0.98416 | Percent | Jaime Pruneda - AWU Pumping and Distribution |  | Actual venturi meters are not tested. Using 98% for Ulrich and Davis, 100% for WTP4, and weighting those for the total amounts each plant produced. | 3.5 | Systematic testing of all meters on an annual basis; all meters over standards replaced or repaired and retested. | FY07 | Pumping and Distribution (Rick Coronado) | Inventory information on meters and paper records of measured volumes exist but are incomplete and/or in a very crude condition; data error cannot be determined. | No automatic datalogging of production volumes; daily readings are scribed on paper records without any accountability controls. Flows are not balanced across the water distribution system: tank/storage elevation changes are not employed in calculating the "Volume from own sources" component and archived flow data is adjusted only when grossly evident data error occurs. |  | Production meter data is logged automatically in electronic format and reviewed at least on a monthly basis with necessary corrections implemented. "Volume from own sources" tabulations include estimate of daily changes in tanks/storage facilities. Meter data is adjusted when gross data errors occur, or occasional meter testing deems this necessary. |  | Hourly production meter data logged automatically & reviewed on at least a weekly basis. Data is adjusted to correct gross error when meter/instrumentation equipment malfunction is detected; and/or error is confirmed by meter accuracy testing. tank/storage facility elevation changes are automatically used in calculating a balanced "Volume from own sources" component, and data gaps in the archived data are corrected on at least a weekly basis. |  | Continuous production meter data is logged automatically & reviewed each business day. Data is adjusted to correct gross error from detected meter/instrumentation equipment malfunction and/or results of meter accuracy testing. Tank/storage facility elevation changes are automatically used in "Volume from own sources" tabulations and data gaps in the archived data are corrected on a daily basis. |  | Computerized system (SCADA or similar) automatically balances flows from all sources and storages; results are reviewed each business day. Tight accountability controls ensure that all data gaps that occur in the archived flow data are quickly detected and corrected. A regular calibration between SCADA and source meters ensures minimal data transfer error.
47991465913.9025 | 14 | Corrected Input Volume |  | Calculated (Line 12 div by Line 13)
940000 | 15 | Wholesale Water Imported | Same | 940000 | N/A | Teri Hawkins, Finance | copies of bills from Loop 360 Water Supply | Water purchased from Loop 360 WSC for Austin Country Club restrooms. | 2.5 | As per TWDB instructions | FY12 | Mark Mathis, TWDB | Less than 25% of imported water sources are metered, remaining sources are estimated. No regular meter accuracy testing. | 25% ‐ 50% of imported water sources are metered; other sources estimated. No regular meter accuracy testing. |  | 50% ‐ 75% of imported water sources are metered, other sources estimated. Occasional meter accuracy testing conducted. |  | At least 75% of imported water sources are metered, meter accuracy testing and/or electronic calibration of related instrumentation is conducted annually for all meter installations. Less than 25% of tested meters are found outside of +/‐ 6% accuracy. |  | 100% of imported water sources are metered, meter accuracy testing and electronic calibration of related instrumentation is conducted annually, less |  | 100% of imported water sources are metered, meter accuracy testing and electronic calibration of related instrumentation is conducted semiannually for all meter installations, with less than 10% of accuracy tests found outside of +/‐ 3% accuracy.
100 |  | Treated Purchased Water Meter Accuracy |  | 100 |  |  |  | Three meters measuring consumption from Loop 360 WSC not regularly tested. 100% accuracy assumed. | 0.5 |  | 2015 |  | Inventory information on imported meters and paper records of measured volumes exist but are incomplete and/or in a very crude condition; data error cannot be determined. Written agreement(s) with water Exporter(s) are missing or written in vague language concerning meter management and testing. | No automatic datalogging of imported supply volumes; daily readings are scribed on paper records without any accountability controls to confirm data accuracy and the absence of errors and data gaps in recorded volumes. Written agreement requires meter accuracy testing but is vague on the details of how and who conducts the testing. |  | Imported supply metered flow data is logged automatically in electronic format and reviewed at least on a monthly basis by the Exporter with necessary corrections implemented. Meter data is adjusted by the Exporter when gross data errors are detected. A coherent data trail exists for this process to protect both the selling and the purchasing Utility. Written agreement exists and clearly states requirements and roles for meter accuracy testing and data management. |  | Hourly Imported supply metered data is logged automatically & reviewed on at least a weekly basis by the Exporter. Data is adjusted to correct gross error when meter/instrumentation equipment malfunction is detected; and to correct for error confirmed by meter accuracy testing. Any data gaps in the archived data are detected and corrected during the weekly review. A coherent data trail exists for this process to protect both the selling and the purchasing Utility. |  | Continuous Imported supply metered flow data is logged automatically & reviewed each business day by the Exporter. Data is adjusted to correct gross error from detected meter/instrumentation equipment malfunction and/or results of meter accuracy testing. Any data errors/gaps are detected and corrected on a daily basis. A data trail exists for the process to protect both the selling and the purchasing Utility. |  | Computerized system (SCADA or similar) automatically records data which is reviewed each business day by the Exporter. Tight accountability controls ensure that all error/data gaps that occur in the archived flow data are quickly detected and corrected. A reliable data trail exists and contract provisions for meter testing and data management are reviewed by the selling and purchasing Utility at least once every five years.
2385015400 | 16 | Wholesale Water Exported | Same | 2385015400 | Gals | Financial Management (Darrel Culberson), with adjustments for water exported to River Place (does not show as wholesale water sold) | spreadsheet and emails from Judy Musgrove | Wholesale Water Exported is metered and billed. See Metered Consumption Report from CIS. | 4 | Annual accuracy testing; 100% of connections metered | 2016 |  | Less than 25% of exported water sources are metered, remaining sources are estimated. No regular meter accuracy testing. | 25% ‐ 50% of exported water sources are metered; other sources estimated. No regular meter accuracy testing. |  | 50% ‐ 75% of exported water sources are metered, other sources estimated. Occasional meter accuracy testing conducted. |  | At least 75% of exported water sources are metered, meter accuracy testing and/or electronic calibration conducted annually. Less than 25% of tested meters are found outside of +/‐ 6% accuracy. |  | 100% of exported water sources are metered, meter accuracy testing and electronic calibration of related instrumentation is conducted annually, less than 10% of meters are found outside of +/‐ 6% accuracy. |  | 100% of exported water sources are metered, meter accuracy testing and electronic calibration of related instrumentation is conducted semiannually for all meter installations, with less than 10% of accuracy tests found outside of +/‐ 3% accuracy.
100 |  | Wholesale sales meter accuracy |  | 100 |  |  |  | Each meter tested at least annually, some every 6 months. 100% accuracy assumed. | 0.5 | Meters read monthly | 2015 |  | Inventory information on exported meters and paper records of measured volumes exist but are incomplete and/or in a very crude condition; data error cannot be determined. Written agreement(s) with the utility purchasing the water are missing or written in vague language concerning meter management and testing. | No automatic datalogging of exported supply volumes; daily readings are scribed on paper records without any accountability controls to confirm data accuracy and the absence of errors and data gaps in recorded volumes. Written agreement requires meter accuracy testing but is vague on the details of how and who conducts the testing. |  | Exported metered flow data is logged automatically in electronic format and reviewed at least on a monthly basis, with necessary corrections implemented. Meter data is adjusted by the utility selling (exporting) the water when gross data errors are detected. A coherent data trail exists for this process to protect both the utility exporting the water and the purchasing Utility. Written agreement exists and clearly states requirements and roles for meter accuracy testing and data management. |  | Hourly exported supply metered data is logged automatically & reviewed on at least a weekly basis by the utility selling the water. Data is adjusted to correct gross error when meter/instrumentation equipment malfunction is detected; and to correct for error found by meter accuracy testing. Any data gaps in the archived data are detected and corrected during the weekly review. A coherent data trail exists for this process to protect both the selling exporting) utility and the purchasing Utility. |  | Continuous exported supply metered flow data is logged automatically & reviewed each business day by the utility selling (exporting) the water. Data is adjusted to correct gross error from detected meter/instrumentation equipment malfunction and any error confirmed by meter accuracy testing. Any data errors/gaps are detected and corrected on a daily basis. A data trail exists for the process to protect both the selling (exporting) Utility and the purchasing Utility. |  | Computerized system (SCADA or similar) automatically records data which is reviewed each business day by the utility selling (exporting) the water. Tight accountability controls ensure that all error/data gaps that occur in the archived flow data are quickly detected and corrected. A reliable data trail exists and contract provisions for meter testing and data management are reviewed by the selling Utility and purchasing Utility at least once every five years.
45607390513.9025 | 17 | System Input Volume |  | Calculated (Line 14 + Line 15 - Line 16)
38442953800 | 18 | Billed Metered |  | Column A summarizes the following 6 lines.
|  |  | Billed Consumption - Large Volume | 3642572200 | Gals | " | " | Large Volume Consumption History | 3.5 | Manual meter reads with edit checks of data; automated billing but no automated meter reading; AMI pilotsd in place; no statistically significant accuracy testing rates | FY07 | Austin Energy - Jerry Roberts, CIS Manager | Less than 50% of customers with volume based billings from meter readings; flat or fixed rate billing exist for the majority of the customer population. | At least 50% of customers with volume‐based billing from meter reads; flat rate billing for others. Manual meter reading is conducted, with less than 50% meter read success rate, remaining accounts' consumption is estimated. Limited meter records, no regular meter testing or replacement. Billing data maintained on paper records, with no auditing. |  | At least 75% of customers with volume‐based, billing from meter reads; flat or fixed rate billing for remaining accounts. Manual meter reading is conducted with at least 50% meter read success rate; consumption for accounts with failed reads is estimated. Purchase records verify age of customer meters; only very limited meter accuracy testing is conducted. Customer meters are replaced only upon complete failure. Computerized billing records exist, but only sporadic internal auditing conducted. |  | At least 90% of customers with volume‐based billing from meter reads; consumption for remaining accounts is estimated. Manual customer meter reading gives at least 80% customer meter reading success rate; consumption for accounts with failed reads is estimated. Good customer meter records exist, but only limited meter accuracy testing is conducted. Regular replacement is conducted for the oldest meters. Computerized billing records exist with annual auditing of summary statistics conducting by utility personnel. |  | At least 97% of customers exist with volume‐based billing from meter reads. At least 90% customer meter reading success rate; or at least 80% read success rate with planning and budgeting for trials of Automatic Meter Reading (AMR) or Advanced Metering Infrastructure (AMI) in one or more pilot areas. Good customer meter records. Regular meter accuracy testing guides replacement of statistically significant number of meters each year. Routine auditing of computerized billing records for global and detailed statistics occurs annually by utility personnel, and is verified by third party at least once every five years. |  | At least 99% of customers exist with volume‐based billing from meter reads. At least 95% customer meter reading success rate; or minimum 80% meter reading success rate, with Automatic Meter Reading (AMR) or Advanced Metering Infrastructure (AMI) trials underway. Statistically significant customer meter testing and replacement program in place on a continuous basis. Computerized billing with routine, detailed auditing, including field investigation of representative sample of accounts undertaken annually by utility personnel. Audit is conducted by third party auditors at least once every three years.
|  |  | Billed Consumption - Commercial | 10555933100 | Gals | " | " | Used the Inside City - Retail Commercial and the Outside City - Retail Commercial amounts from the report. |  | " |  | "
|  |  | Billed Consumption - Multifamily | 9514459200 | Gals | " | " | Inside City - Retail MultiFamily +Outside City - Retail MultiFamily |  | " |  | "
|  |  | Billed Consumption - Residential | 14055144000 | Gals | " | " | Inside City - Retail Residential + Outside City - Retail Residential |  | " |  | "
|  |  | Billed Consumption - Municipal | 659516000
|  |  | Billed Consumption - Other | 15329300 | Gals | Dan Pedersen, Distribution Systems Engineering | email from Dan Pedersen | Customers paying reuse water rate for potable water until reuse water is available. |  | " |  | "
2687789 | 19 | Billed Unmetered |  | Column A summarizes the following 4 lines.
|  |  | Billing Adjustments | 0 | Gals | Customer Services (Lora Schneider) | N/A | Backbilled charges for Damaged Meter, Slow/Stop Mtr, Stop Meter Report, Sys. Not Billing Codes. Is not data handling error, were recorded here, but are imputed with usage estimates and are currently included in billed metered totals. Customer Service will be working on recapturing these totals when the BASS tracking system is reinstated. | 5 | Policy to meter all connections. | FY07 |  | Water utility policy does not require customer metering; flat or fixed fee billing is employed. No data is collected on customer consumption. The only estimates of customer population consumption available are derived from data estimation methods using average fixture count multiplied by number of connections, or similar approach. | Water utility policy does not require customer metering; flat or fixed fee billing is employed. Some metered accounts exist in parts of the system (pilot areas or District Metered Areas) with consumption read periodically or recorded on portable dataloggers over one, three, or seven day periods. Data from these sample meters are used to infer consumption for the total customer population. Site specific estimation methods are used for unusual buildings/water uses. |  | Water utility policy does require metering and volume based billing in general. However, a liberal amount of exemptions and a lack of clearly written and communicated procedures result in up to 20% of billed accounts believed to be unmetered by exemption; or the water utility is in transition to becoming fully metered, and a large number of customers remain unmetered. A rough estimate of the annual consumption for all unmetered accounts is included in the annual water audit, with no inspection of individual unmetered accounts. |  | Water utility policy does require metering and volume based billing but established exemptions exist for a portion of accounts such as municipal buildings. As many as 15% of billed accounts are unmetered due to this exemption or meter installation difficulties. Only a group estimate of annual consumption for all unmetered accounts is included in the annual water audit, with no inspection of individual unmetered accounts. |  | Water utility policy does require metering and volume based billing for all customer accounts. However, less than 5% of billed accounts remain unmetered because meter installation is hindered by unusual circumstances. The goal is to minimize the number of unmetered accounts. Reliable estimates of consumption are obtained for these unmetered accounts via site specific estimation methods. |  | Water utility policy does require metering and volume based billing for all customer accounts. Less than 2% of billed accounts are unmetered and exist because meter installation is hindered by unusual circumstances. The goal exists to minimize the number of unmetered accounts to the extent that is economical. Reliable estimates of consumption are obtained at these accounts via site specific estimation methods. OR Select 5 if it is the policy of the water utility to meter all customer connections and it has been confirmed by detailed auditing that all customers do indeed have a water meter; i.e. no intentionally unmetered accounts exist.
|  |  | Special Billings | 58499 |  | Pamela Lindsay-Nichols, Casey Casteneda | emailed spreadsheet from Cognos query | Special billings occur when a third party causes water to escape the distribution system, When the third party responsible is identified and billed for the water, this total moves from unbilled/unmeterd to billed unmetered.
|  |  | AFD - Fire Training | 121255 | Gals | Austin Fire Department (Frank Alvarez) | 2018 AFD unmetered water report | Hydrants at training academy are metered so amount used is captured in Billed Consumption Report - Commercial line. Additional training session usage away from training facilities provided from reports submitted by 94 stations. |  | Training academy has meters for whole complex. | FY07 | Bat. Chief Smith e-mail
|  |  | ARR - Unmetered | 1711374 | Gals | Dara Scott | ARR 2018 Water Billing spreadsheet | Based on reported estimates from SWS per Fall 09 MOU. |  | See above.
|  |  | WPDR - Unmetered | 702846 | Gals | WPDR Field Operations Pete Reyes, Israel Benavides / David Yeakey | WPD 2018 Water Use spreadsheet | Estimate based on number of fill-ups of 1,000 gallon trucks (Vactors) from various fire-hydrants (no truck meters) in accord with March 2010 MOU. |  | See above.
|  |  | PWD - Street Bridge Unmetered | 93815 | Gals | Tyler Steinbarger / David Yeakey | Public Works 2018 Usage Estimate spreadsheets | Estimates based on number of times equipment tanks are refilled in accord with July 2011 MOU. |  | See above.
59572555 | 20 | Unbilled Metered |  | Column A summarizes the following 3 lines.
|  |  | Water used at inactive accounts | 0 | Gals | Customer Services (Lora Schneider) | emails from Lora Schneider | Some inactive accounts still have installed meters. Occasionally, water gets used at these addresses. Although it is theft, it is measured and may be recouped in some instances. AE is not collecting this data. | 5 |  | FY11 | Lora Schneider | Billing practices exempt certain accounts, such as municipal buildings, but written policies do not exist; and a reliable count of unbilled metered accounts is unavailable. Meter upkeep and meter reading on these accounts is rare and not considered a priority. Due to poor recordkeeping and lack of auditing, water consumption for all such accounts is purely estimated | Billing practices exempt certain accounts, such as municipal buildings, but only scattered, dated written directives exist to justify this practice. A reliable count of unbilled metered accounts is unavailable. Sporadic meter replacement and meter reading occurs on an as‐needed basis. The total annual water consumption for all unbilled, metered accounts is estimated based upon approximating the number of accounts and assigning consumption from actively billed accounts of same meter size. |  | Dated written procedures permit billing exemption for specific accounts, such as municipal properties, but are unclear regarding certain other types of accounts. Meter reading is given low priority and is sporadic. Consumption is quantified from meter readings where available. The total number of unbilled, unmetered accounts must be estimated along with consumption volumes. |  | Written policies regarding billing exemptions exist but adherence in practice is questionable. Metering and meter reading for municipal buildings is reliable but sporadic for other unbilled metered accounts. Periodic auditing of such accounts is conducted. Water consumption is quantified directly from meter readings where available, but the majority of the consumption is estimated. |  | Written policy identifies the types of accounts granted a billing exemption. Customer meter management and meter reading are considered secondary priorities, but meter reading is conducted at least annually to obtain consumption volumes for the annual water audit. High level auditing of billing records ensures that a reliable census of such accounts exists. |  | Clearly written policy identifies the types of accounts given a billing exemption, with emphasis on keeping such accounts to a minimum. Customer meter management and meter reading for these accounts is given proper priority and is reliably conducted. Regular auditing confirms this. Total water consumption for these accounts is taken from reliable readings from accurate meters. OR Select 5 if all billing‐exempt consumption is unmetered.
|  |  | Downtown Austin Alliance | 183555 | Gals | Pipeline Operations (Dan Strub) | emails from Bernabe Quinones, DAA | Self reported totals from hydrant meter; water used for sidewalk cleaning downtown
|  |  | Texas A&M Forest Service | 14246 | Gals | Shawn Whitley, TX A&M Forest Service | email from Shawn Whitley | Self reported water used from hydrant at ABIA for fire fighting aircraft
|  |  | Metered Consumption - Utility | 59389000 | Gals | Financial Management (Ron Bedington) | email from Ron Bedington via Helen Gerlach | This is the "Utility" line from consumption report (what AWU uses that is metered but not billed to it) - See note above to split out other City Dept usage similar to this. |  | Almost entirely metered Austin Water accounts. | FY07 | Austin Energy - Jerry Roberts, CIS Manager
45179593.771 | 21 | Unbilled / Unmetered |  | Column A summarizes the following 12 lines
|  |  | AWU - Pumping Maintenance | 11100000 | Gals | Production Losses -Pumping and Distribution (Gregory Sundahl) | Reservoir overflows and maintenance spreadsheet | Includes only water used or drained for reservoir maintenance, not overflows. | 5 | Based on measured reservoir drawdowns. | FY11 | Rick Coronado Interview | Extent of unbilled, unmetered consumption is unknown due to unclear policies and poor recordkeeping. Total consumption is quantified based upon a purely subjective estimate. | Clear extent of unbilled, unmetered consumption is unknown, but a number of events are randomly documented each year, confirming existence of such consumption, but without sufficient documentation to quantify an accurate estimate of the annual volume consumed. |  | Extent of unbilled, unmetered consumption is partially known, and procedures exist to document certain events such as miscellaneous fire hydrant uses. Formulae are used to quantify the consumption from such events (time running multiplied by typical flowrate, multiplied by number of events). |  | Coherent policies exist for some forms of unbilled, unmetered consumption but others await closer evaluation. Reasonable recordkeeping for the managed uses exists and allows for annual volumes to be quantified by inference, but unsupervised uses are estimated. |  | Clear policies and good recordkeeping exist for some uses (ex: water used in periodic testing of unmetered fire connections), but other uses (ex: miscellaneous uses of fire hydrants) have limited oversight. Total consumption is a mix of well quantified use such as from formulae (time running multiplied by typical flow, multiplied by number of events) or temporary meters, and relatively subjective estimates of less regulated use. |  | Clear policies exist to identify permitted use of water in unbilled, unmetered fashion, with the intention of minimizing this type of consumption. Good records document each occurrence and consumption is quantified via formulae (time running multiplied by typical flow, multiplied by number of events) or use of temporary meters.
|  |  | AWU - Distrib System Maintenance |  | Gals | Dan Strub - Water Loss Report (Maintenance) | Water Loss Crystal Report from Hansen | Used the totals for "intentional" use - meaning that water was NOT lost from breaks or leaks, but rather from intentional maintenance of distribution system. |  | Estimates using formulae for known events - no estimates using test data. | FY07 | Donn Lorbieski
|  |  | Intentional - SRs | 3970358.371 |  | Dan Strub | IPS
|  |  | Intentional - WOs | 23571005 |  | Dan Strub | IPS | Includes flushing WOs.
|  |  | Intentional - Inspections | 149123 |  | Dan Strub | IPS | Includes large meter testing
|  |  | Line Flushing | 2362265 |  | Dan Strub | 2018 Flushing Totals spreadsheet | Line flushing from newly constructed lines. Currently no automatic flushing devices are in use.
|  |  | AWU - Private Hydrant Testing | 612031 | Gals | Trebor Brown/Philip Fletcher - Water Protection | Query of WEIRS by Adam Smith | Work is underway to complete WEIRS database to identify owners of private hydrants, remind them of annual inspection/maintenance requirement, and track amount of water used for each inspection. |  | Estimates using formulae for known events - no estimates using test data. | FY07 | A.J. Hamilton, AWU
|  |  | AFD - Fire Suppression | 1189725 | Gals | Austin Fire Department (Frank Alvarez) | 2018 AFD unmetered water report | AFD Water Usage is tracked from reports into database. |  | Estimates using formulae for known events combined with some test data. | FY11 | Bat. Chief Smith Interview
|  |  | AFD - City Hydrant Maint | 1027800 | Gals | " | 2018 AFD unmetered water report | New estimate in 2012 of 60 gals per hydrant, based on field observations and codified in an MOU with AFD. |  | Estimates using formulae for known events - no estimates using test data. | FY07 | Bat. Chief Smith Interview
|  |  | AFD - Hydrant Flow Tests | 188351 | Gals | " | 2018 AFD unmetered water report | New estimate in 2015 of 941 gallons per test, based on field observations and codified in an MOU with AFD. |  | Estimates using formulae for known events - no estimates using test data. | FY07 | Bat. Chief Smith Interview
|  |  | AFD - Standpipe Flow Test | 786350 | Gals | " | 2018 AFD unmetered water report | Estimates based on flow measurements taken during tests
|  |  | Distribution system capacity expansion | 222585.4 | Gals | Cara Cooke, GIS | Spreadsheet from Cara Cooke | As the distribution system grows, water is required to fill the expanded volume. The spreadsheet allows the calculation of the expanded capacity. |  | Not included in reliability matrix
38550393737.771 | 22 | Total Authorized Consumption |  | Calculated (Line 18 + Line 19 + Line 20 + Line 21)
7056996776.1315 | 23 | Water Losses |  | Calculated (Line 17 - Line 22)
0.97947 | 24 | Average Customer Meter Accuracy | Calculated Average Customer Meter Accuracy | Input into Column A (Cell A48) comes from Weighted Average Customer Meter Accuracy calculation spreadsheet. | Percent | Dan Strub, Pipeline Operations, and Darrel Culberson, Finance, | 2012 meter accuracy study | Updated accuracies resulting from meter accuracy study for 5/8", 3/4", 1", 1 1/2", and 2" meters. | 4 | Meter testing program exists thru 3" meters, testing of random samples performed. | FY07 | Nowell Mojica interview | Customer meters exist, but with unorganized paper records on meters; no meter accuracy testing or meter replacement program for any size of retail meter. Metering workflow is driven chaotically with no proactive management. Loss volume due to aggregate meter inaccuracy is estimated. | Poor recordkeeping and meter oversight is recognized by water utility management who has allotted staff and funding resources to organize improved recordkeeping and start meter accuracy testing. Existing paper records gathered and organized to provide cursory disposition of meter population. Customer meters are tested for accuracy only upon customer request. |  | Reliable recordkeeping exists; meter information is improving as meters are replaced. Meter accuracy testing is conducted annually for a small number of meters (more than just customer requests, but less than 1% of inventory). A limited number of the oldest meters are replaced each year. Inaccuracy volume is largely an estimate, but refined based upon limited testing data. |  | A reliable electronic recordkeeping system for meters exists. The meter population includes a mix of new high performing meters and dated meters with suspect accuracy. Routine, but limited, meter accuracy testing and meter replacement occur. Inaccuracy volume is quantified using a mix of reliable and less certain data. |  | Ongoing meter replacement and accuracy testing result in highly accurate customer meter population. Testing is conducted on samples of meters of varying age and accumulated volume of throughput to determine optimum replacement time for various types of meters. | Ongoing meter replacement and accuracy testing result in highly accurate customer meter population. Statistically significant numbers of meters are tested in audit year. This testing is conducted on samples of meters of varying age and accumulated volume of throughput to determine optimum replacement time for these meters. | Good records of all active customer meters exist and include as a minimum: meter number, account number/location, type, size and manufacturer. Ongoing meter replacement occurs according to a targeted and justified basis. Regular meter accuracy testing gives a reliable measure of composite inaccuracy volume for the customer meter population. New metering technology is embraced to keep overall accuracy improving. Procedures are reviewed by a third party knowledgeable in the M36 methodology.
807223502.6708 | 25 | Customer Meter Accuracy Loss |  | Calculated ((Line 18 + Line 20 div by Line 24) - (Line 18 + Line 20))
0 | 26 | Systematic Data Handling Discrepancy | Billing System Data Handling Errors | 0 | Gals | Customer Services (Lora Schneider) | email from Lora Schneider | Data handling corrections are tanslated into water usage totals and included in billed meter usage under CC&B. | 2.5 | Automated system; internally checked on at least an annual basis (meter read edit reports) | FY07 | Lora Schneider | Policies and procedures for activation of new customer water billing accounts are vague and lack accountability. Billing data is maintained on paper records which are not well organized. No auditing is conducted to confirm billing data handling efficiency. An unknown number of customers escape routine billing due to lack of billing process oversight. | Policy and procedures for activation of new customer accounts and oversight of billing records exist but need refinement. Billing data is maintained on paper records or insufficiently capable electronic database. Only periodic unstructured auditing work is conducted to confirm billing data handling efficiency. The volume of unbilled water due to billing lapses is a guess. |  | Policy and procedures for new account activation and oversight of billing operations exist but needs refinement. Computerized billing system exists, but is dated or lacks needed functionality. Periodic, limited internal audits conducted and confirm with approximate accuracy the consumption volumes lost to billing lapses. | Default value of 0.25% of volume of billed and metered water is employed. | Policy and procedures for new account activation and oversight of billing operations is adequate and reviewed periodically. Computerized billing system is in use with basic reporting available. Any effect of billing adjustments on measured consumption volumes is well understood. Internal checks of billing data error conducted annually. Reasonably accurate quantification of consumption volume lost to billing lapses is obtained. |  | New account activation and billing operations policy and procedures are reviewed at least biannually. Computerized billing system includes an array of reports to confirm billing data and system functionality. Checks are conducted routinely to flag and explain zero consumption accounts. Annual internal checks conducted with third party audit conducted at least once every five years. Accountability checks flag billing lapses. Consumption lost to billing lapses is well quantified and reducing year‐by‐year. |  | Sound written policy and procedures exist for new account activation and oversight of customer billing operations. Robust computerized billing system gives high functionality and reporting capabilities which are utilized, analyzed and the results reported each billing cycle. Assessment of policy and data handling errors are conducted internally and audited by third party at least once every three years, ensuring consumption lost to billing lapses is minimized and detected as it occurs.
114018476.2848 | 27 | Unauthorized Consumption |  | Column A summarizes the following 2 lines.
|  | Unauthorized Consumption was figured as the estimate of water loss due to theft (incl hydrants and at customer connections incl tampering with meters, illegal taps, etc.) PLUS actual theft thru meter tampering, etc. | Estimated Theft | 114018476.2848 | Gals | Customer Services (Lora Schneider) | See Note | Theft from hydrants is not calculable due to lack of data - using the default of 0.25% of input volume from plants as allowed by TWDB in addition to theft contained in Admin Water category of billing adjustments spreadsheet. NOT using system input volume from raw water uptake, using calculated system input from plants. | 2.5 | Water theft study completed and monitoring and enforcement program begun. Using default value of 0.25% of input volume. | FY11 | Lora Schneider | Extent of unauthorized consumption is unknown due to unclear policies and poor recordkeeping. Total unauthorized consumption is estimated. | Unauthorized consumption is a known occurrence, but its extent is a mystery. There are no requirements to document observed events, but periodic field reports capture some of these occurrences. Total unauthorized consumption is approximated from this limited data. |  | Procedures exist to document some unauthorized consumption such as observed unauthorized fire hydrant openings. Use formulae to quantify this consumption (time running multiplied typical flowrate, multiplied by number of events). | Default value of 0.25% of volume of water supplied is employed. | Coherent policies exist for some forms of unauthorized consumption (more than simply fire hydrant misuse) but others await closer evaluation. Reasonable surveillance and recordkeeping exist for occurrences that fall under the policy. Volumes quantified by inference from these records. |  | Clear policies and good auditable recordkeeping exist for certain events (ex: tampering with water meters, illegal bypasses of customer meters); but other occurrences have limited oversight. Total consumption is a combination of volumes from formulae (time x typical flow) and subjective estimates of unconfirmed consumption. |  | Clear policies exist to identify all known unauthorized uses of water. Staff and procedures exist to provide enforcement of policies and detect violations. Each occurrence is recorded and quantified via formulae (estimated time running multiplied by typical flow) or similar methods. All records and calculations should exist in a form that can be audited by a third party.
|  |  | Billing Adjustments for Open Meter Bypass & Direct Hookups | 0 | Gals | Customer Services (Lora Schneider) | email from Lora Schneider | Imputed totals for these categories of theft are now included in billed metered water usage. (Open Bypass, Direct Hook-Up, Tampering Codes) |  | Testing is done only where problems suspected. There is no systematic testing of all meters at present. | FY11 | Lora Schneider
921241978.9556 | 28 | Total Apparent Losses |  | Calculated (Line 25 + Line 26 + Line 27)
89113730.14 | 29 | Reported Breaks and Leaks |  | Column A summarizes the following 3 lines.
|  |  | Water Loss from Hansen SRs | 892658.14 | Gals | Dan Strub | Water Loss Report from Hansen | Totals for "non-intentional" use - meaning that water was lost from breaks or leaks, rather than from intentional maintenance of distribution system. | 5 | Visual leaks and breaks reported by customers and city staff; call-to-repair times known (greater than one week average); good records (based on the fact that w/o & s/r calcs are entered using the reported date in calc of amt of water lost) | 2015 | Donn Lorbieski interview | Arbitrary estimates of reported breaks and leaks repaired. Repairs of reported breaks and leaks not documented | Reported breaks and leaks estimated by repair crew is suspect. No written procedures exist for estimating or documenting breaks and leaks. |  | Reported breaks and leaks are estimated by repair crew. Written procedures exist for estimating or documenting breaks and leaks. |  | Breaks and leaks reported by customers and city staff fixed <75% of time. Call‐to‐repair times known, but are greater than one week average. Good records of breaks and leaks exist. |  | Breaks and leaks reported by customers and city staff fixed >75% of time. Call‐to‐repair times average less than one week. Computerized maintenance management system is used to document leak repair trends. |  | Breaks and leaks reported by customers and city staff fixed >90% of time. Call‐to repair times average less than three days. Outstanding computer maintenance records track system deficiencies and repair crew performance.
|  |  | Water Loss from Hansen WOs | 84738002 | Gals | Dan Strub | See above. | See above.
|  |  | Reservoir System Overflows | 3483070 | Gals | Production Losses -Pumping and Distribution (Gregory Sundahl) | reservoir overflows and maintenance spreadsheet |  |  | Estimates using formulae for known events - no estimates using tests data. |  | Rick Coronado Interview
6046641067.0359 | 30 | Unreported Loss |  | Column A "back calculates" this value by deducting Reported Breaks & Leaks (Line 29) and Total Apparent Losses (Line 28) from Water Losses (Line 23) |  |  |  |  | 4 | Limited leak detection using basic sounding performed for a portion of the distribution system; some detailed records/database (Hansen W/Os) | 2014 | Various | Utility does not conduct any leak detection using leak detection equipment. Leak detection only includes visible leak detection (reported breaks and leaks). | Limited leak detection using basic sounding performed for a portion of the distribution system. No records of leak detection exist. |  | Proactive leak detection using basic sounding. Simple leak detection records exist. |  | Proactive leak detection using basic sounding and correlation. Detailed leak detection records exist. Utility has one or more District Metered Areas. |  | Proactive leak detection using basic sounding, correlation, and flow monitoring. Detailed leak detection and asset condition records exist. A detailed real loss component analysis has been conducted. |  | Fully integrated flow monitoring and leak detection program with continuous reporting and analysis of system leakage. Utility has integrated their leak detection program with their asset management and GIS databases. An economic level of leakage assessment has been conducted.
6135754797.1759 | 31 | Total Real Losses |  | Calculated (Line 29 + Line 30)
7056996776.1315 | 32 | Water Losses (Apparent + Real) |  | Calculated (Line 28 + Line 31) = Line 23
7161748924.9025 | 33 | Non-revenue Water (Water Losses + Unbilled Authorized Consumption |  | Calculated (Line 32 + Line 20 + Line 21)
10.7228 | 34 | Apparent Losses Normalized (Apparent Loss Volume / # of Retail Service Connections / 365) |  | Calculated (Line 28 / Line 8 / 365)
6135754797.1759 | 35 | Real Loss Volume |  | Same as Line 31 | Gals
4373228.9325 | 36 | Unavoidable Annual Real Losses (UARL) |  | Calculated from Table 3-2 | GPD
3.8439 | 37 | Infrastructure Leakage Index |  | Calculated (Line 35 / Line 36)
71.4022 | 38 | Real Losses Normalized (Real Loss Volume / # of Service Connections / 365) |  | IF LINE 9 > 32, then Calculated (Line 35 / (Line 7 + Line 8) / 365) |  |  |  | Equal to [(5.41 x length of main lines in miles) + (0.15 x number of service connections)] x average pressure in system
4277.6662 | 39 | Real Losses Normalized (Real Loss Volume / Miles of Main Lines / 365) |  | THIS DOES NOT APPLY TO AUSTIN IF LINE 9 < 32, then Calculated (Line 35 / Line 6 / 365)
921241978.9556 | 40 | Total Apparent Losses |  | Same as Line 28
5.58 | 41 | Retail Price of Water | Calculated Average Retail Price | 5.58 | Per 1000 Gals | Ron Bedinghaus, Finance | email from Ron, based on COS model | From Volume & Revenue worksheet in FY 2011 COS Model, System wide Volumetric Rate | 4.5 | Weighted average residential rate using volumes in each rate block, reviewed regularly by 3rd party not versed in M36 methodology | 2014 | Ron Bedinghaus - AWU Finance | Antiquated, cumbersome water rate structure is used, with periodic historic amendments that were poorly documented and implemented; resulting in classes of customers being billed inconsistent charges. The actual composite billing rate likely differs significantly from the published water rate structure, but a lack of auditing leaves the degree of error indeterminate. | Dated, cumbersome water rate structure, not always employed consistently in actual billing operations. The actual composite billing rate is known to differ from the published water rate structure, and a reasonably accurate estimate of the degree of error is determined, allowing a composite billing rate to be quantified. |  | Straight‐forward water rate structure in use, but not updated in several years. Billing operations reliably employ the rate structure. The composite billing rate is derived from a single customer class such as residential customer accounts, neglecting the effect of different rates from varying customer classes |  | Clearly written, up‐to date water rate structure is in force and is applied reliably in billing operations. Composite customer rate is determined using a weighted average residential rate using volumes of water in each rate block. |  | Effective water rate structure is in force and is applied reliably in billing operations. Composite customer rate is determined using a weighted average composite consumption rate, which includes residential, commercial, industrial, institutional (CII), and any other distinct customer classes within the water rate structure. |  | Current, effective water rate structure is in force and applied reliably in billing operations. The rate structure and calculations of composite rate ‐ which includes residential, commercial, industrial, institutional (CII), and other distinct customer classes ‐ are reviewed by a third party knowledgeable in the M36 methodology at least once every five years.
5140530.2426 | 42 | Cost of Apparent Losses
6135754797.1759 | 43 | Total Real Losses |  | Same as Line 31
0.386 | 44 | Variable Production Cost of Water | Calculated Production Costs | 0.386 | Per 1000 Gals | Li Yang and Songli Floyd, Budget and Accounting | Variable cost of water 2018 spreadsheet | Compiled along guidelines set by AW audit team | 2.5 | Internally audited wholesale, electric, and chemical costs on periodical basis | 2016 | Li Yang - AWU Finance | Incomplete paper records and lack of documentation on primary operating functions (electric power and treatment costs most importantly) makes calculation of variable production costs a pure estimated. | Reasonably maintained, but incomplete, paper or electronic accounting provides data to roughly estimate the basic operations costs (pumping power costs and treatment costs) and calculate a unit variable production cost. |  | Electronic, industry standard cost accounting system in place. Electric power and treatment costs are reliably tracked and allow accurate weighted calculation of unit variable production costs based on these two inputs and water imported purchase costs (if applicable). All costs are audited internally on a periodic basis. |  | Reliable electronic, industry‐standard cost accounting system in place, with all pertinent water system operating costs tracked. Pertinent additional costs beyond power, treatment and water imported purchase costs (if applicable) such as liability, residuals management, wear and tear on equipment, impending expansion of supply, are included in the unit variable production cost, as applicable. The data is audited at least annually by utility personnel. |  | Reliable electronic, industry‐standard cost accounting system in place, with all pertinent primary and secondary variable production and water imported purchase (if applicable) costs tracked. The data is audited at least annually by utility personnel, and at least once every three years by a third‐party knowledgeable in the M36 methodology. |  | Either of two conditions can be met to obtain a grading of 10: 1) Third party CPA audit of all pertinent primary and secondary variable production and water imported purchase (if applicable) costs on an annual basis. or: 2) Water supply is entirely purchased as bulk water imported, and the unit purchase cost ‐ including all applicable marginal supply costs ‐ serves as the variable production cost. If all applicable marginal supply costs are not included in this figure, a grade of 10 should not be selected.
2368401.3517 | 45 | Cost of Real Losses |  | Calculated (Line 43 x Line 44)
72 | 46 | Total Assessment Score |  | Calculated (Adds Assessment Scale Scores at right)
7508931.5943 | 47 | Total Cost Impact of Apparent and Real Losses |  | Calculated (Line 42 + Line 45)
[9 empty] | 72 | TOTAL POINTS
TOTALS BELOW COME FROM THE CALCULATION ABOVE AND FEED THE GRAPH SHOWN AT THE BOTTOM OF THE REPORT FORMAT (on last spreadsheet)
45607390513.9025 |  | Total Pumpage
Broken down as follows
38445641589 | 84.3% | Total Billed
59572555 | 0.1306% | Utility Use - Buildings
41003628.371 | 0.08991% | Utility Use - Maintenance | 38550244614.771 | Authorized Usage
1189725 | 0.002609% | Fire Suppression
2614532 | 0.005733% | Fire Hydrant/System Testing & Maint
222585.4 | 0.000579% | System Expansion
3483070 | 0.007637% | Loss - Overflows
807223502.6708 | 1.77% | Loss - Customer Meter Inaccuracy
0 | 0% | Loss - Data Handling Errors | 7056996776.1315 | Water Loss
114018476.2848 | 0.25% | Loss - Theft
85630660.14 | 0.1878% | Loss - Reported Breaks & Leaks
6046641067.0359 | 13.26% | Loss - Unreported Breaks & Leaks
45607241390.9025 | 100% | Total | 45607241390.9025 | Total
|  |  | 0 | Diff from Column A Totals
0

## Wghtd Avg Cust Mtr Accrcy Calc
WEIGHTED AVERAGE CUSTOMER METER ACCURACY CALCULATION | [6 empty] | For: | January 1, 2018 to December 31, 2018
(Input from Tests)
|  | Totals from Info Tracker |  | % of total | Meter Sizes | Meter Accuracy |  | Weighted Avg Meter Accuracy
| Wholesale | 2385015400 | Gals | 5.464% | 10" - 8" | 98% |  | 5.354%
| Industrial | 3642572200 | Gals | 8.345% | 8" - 6" | 98% |  | 8.178%
| Commercial | 9514459200 | Gals | 21.8% | 6" - 3" | 98% |  | 21.36%
| Multifamily | 14055144000 | Gals | 32.2% | 3" - 1" | 98% |  | 31.55%
| Residential | 14055144000 | Gals | 32.2% | 1" - 5/8" | 97.7% | ** | 31.46%
|  | 43652334800 | TOTAL |  |  |  |  | 97.9% | Average Customer
Meter Accuracy
[5 empty] | ** | This rate estimated
based on best info
| Meter size | gallons |  | % of total |  | meter accuracy |  | Weighted Avg Meter Accuracy
| 5/8" | 13342171600 |  | 35.49% |  | 97.66% |  | 34.66%
| 3/4" | 2948411800 |  | 7.843% |  | 98.9% |  | 7.757%
| 1" | 1745073300 |  | 4.642% |  | 97.37% |  | 4.52%
| 1 1/4" | 244800 |  | 0.0006512% |  | 98% |  | 0.0006382%
| 1 1/2" | 2114195700 |  | 5.624% |  | 98.27% |  | 5.527%
| 2" | 4954739200 |  | 13.18% |  | 98.09% |  | 12.93%
| 3" | 2353425100 |  | 6.26% |  | 98% |  | 6.135%
| 4" | 2790238600 |  | 7.422% |  | 98% |  | 7.274%
| 6" | 2475272300 |  | 6.585% |  | 98% |  | 6.453%
| 8" | 2044111700 |  | 5.438% |  | 98% |  | 5.329%
| 10" | 2824182600 |  | 7.513% |  | 98% |  | 7.362%
| 12" | 0 |  | 0% |  | 98% |  | 0%
|  | 37592066700 |  | 100% |  |  |  | 97.95% | Average Customer
Meter Accuracy
There is a difference between total gallons by meter size and total gallons by customer class because customer class has had billing adjustments subtracted from it.
-2396769094.5
38147326129

## Report Format
AW Water Loss Calculation
for: | January 1, 2018 to December 31, 2018 | [5 empty] | Assessment Values
| Line # |  | Field Description (from TWDB Water Audit Reporting Form) | Value |  |  | Score | Contact | Notes | Max Points
A. | WATER UTILITY GENERAL INFORMATION
| 1 |  | Water Utility Name: | Austin Water
| 2 |  | Contact:
|  |  | Name | Dan Strub AW Pipeline Operations
|  |  | Telephone # | (512) 972-0349
|  |  | Email Address | dan.strub@austintexas.gov
| 3 |  | Reporting Period: | January 1, 2018 to December 31, 2018
| 4 |  | Source Water Utilization, percentage:
|  |  | Surface Water % | 100%
|  |  | Groundwater % | 0%
| 5 |  | Population Served:
|  |  | a. Retail Population Served | 999960 |  |  |  | Randy Alexis | via Teresa Lutes Randy provided a spreadsheet
|  |  | b. Wholesale Population Served | 61319 |  |  |  | Randy Alexis | via Teresa Lutes Randy provided a spreadsheet | System Data Points
| 6 |  | Utility’s Length of Main Lines, miles | 3929.78 |  |  | 4.5 | Tracy Busby | based on Sept 08 numbers reported | 5
| 7 |  | Number of Wholesale Connections Served | 49 |  |  |  | Denise McDonald | via Darrel Culberson / as of September 08
| 8 |  | Number of Retail Service Connections Served | 235382 |  |  | 5 | Denise McDonald | via Darrel Culberson / as of September 08 | 5
| 9 |  | Service Connection Density (Number of retail service connections/Miles of main lines) | 59.897 | conn/mile
| 10 |  | Average Yearly System Operating Pressure (psi) | 77.3 | psi |  | 4.5 |  |  | 5
| 11 |  | Volume Units of Measure (check one): acre-ft million gallons thousand gallons gallons | Gallons
B. | SYSTEM INPUT VOLUME | [8 empty] | Water Supplied Points
| 12 |  | Water Volume from own Sources | 47231243268 | gals |  | 3.5 | Rick Coronado | Email sent 4/16 | 5
| 13 |  | Production Meter Accuracy (%) | 98.42% | pct. |  | 3.5 |  |  | 5
| 14 |  | Corrected Input Volume | 47991465913.9025 | gals
| 15 |  | Wholesale Water Imported | 940000 | gals |  | 2.5 |  |  | 5
|  |  | Wholesale Water Purchased Meter Accuracy |  |  |  | 0.5 |  |  | 5
| 16 |  | Wholesale Water Exported | 2385015400 | gals | 4.97% | 4 | Drema Gross | "keep # 0" | 5
|  |  | Wholesale Water Exported Meter Accuracy |  |  |  | 0.5 |  |  | 5
| 17 |  | System Input Volume | 45607390513.9025 | gals | 100%
C. | AUTHORIZED CONSUMPTION | [8 empty] | Authorized Consumption Points
| 18 |  | Billed Metered | 38442953800 | gals | 84.29% | 3.5 | Drema Gross | Consumption per Capita Spreadsheet | 5
| 19 |  | Billed Unmetered | 2687789 | gals | 0.005893% | 5 |  |  | 5
| 20 |  | Unbilled Metered (amount used at AWU buildings/facilities) | 59572555 | gals | 0.1306% | 5 |  |  | 5
| 21 |  | Unbilled Unmetered (amount used by other city Departments) ** | 45179593.771 | gals | 0.09906% | 5 |  |  | 5
| 22 |  | Total Authorized Consumption | 38550393737.771 | gals | 84.53%
NOTES:
|  | ** | Most of the water used by other City Departments is included in line 18.
D. | WATER LOSSES
| 23 |  | Water Losses (Line 17 minus Line 22) | 7056996776.1315 | gals | 15.47%
E. | APPARENT LOSSES | [8 empty] | Apparent Losses Points
| 24 |  | Average Customer Meter Accuracy % | 97.95% | pct. |  | 4 |  |  | 5
| 25 |  | Customer Meter Accuracy Loss | 807223502.6708 | gals | 1.77%
| 26 |  | Systematic Data Handling Discrepancy | 0 | gals | 0% | 2.5 |  |  | 5
| 27 |  | Unauthorized Consumption | 114018476.2848 | gals | 0.25% | 2.5 |  |  | 5
| 28 |  | Total Apparent Losses | 921241978.9556 | gals | 2.02%
F. | REAL LOSSES | [8 empty] | Real Losses Points
| 29 |  | Reported Breaks and Leaks (Estimated volume of leaks and breaks repaired during the audit period) | 89113730.14 | gals | 0.1954% | 5 |  |  | 5
| 30 |  | Unreported Loss (Includes all unknown water loss) (Calculated as Water Losses - Total Apparent Losses - Reported Breaks & Leaks) | 6046641067.0359 | gals | 13.26% | 4 | (calculated) |  | 5
| 31 |  | Total Real Losses (Line 29, plus Line 30) | 6135754797.1759 | gals | 13.45%
| 32 |  | Water Losses (Apparent + Real) (Line 28 plus Line 31) should = Line 23 | 7056996776.1315 | gals | 15.47%
| 33 |  | Non-revenue Water (Water Losses + Unbilled Authorized Consumption) (Line 32, plus Line 20, plus Line 21) | 7161748924.9025 | gals | 15.7%
G. | TECHNICAL PERFORMANCE INDICATOR FOR APPARENT LOSS
| 34 |  | Apparent Losses Normalized (Apparent Loss Volume/# of Retail Service Connections/365) | 10.7228 | gals/conn/day
H. | TECHNICAL PERFORMANCE INDICATORS FOR REAL LOSS
| 35 |  | Real Loss Volume (Line 31) (shown as total gallons/year) | 6135754797.1759 | gals | 13.45%
| 36 |  | Unavoidable Annual Real Losses, volume (calculated) in MGD | 4373228.9325 | MGD | 3.5%
| 37 |  | Infrastructure Leakage Index (calculated) (Equals real loss volume (div by 365) divided by unavoidable annual real losses) | 3.8439
| 38 |  | Real Losses Normalized (Real Loss Volume/# of Service Connections/365) (This indicator applies if service connection density is greater than 32/mile) | 71.4022 | gals/conn/day |  |  |  |  | Austin's Serv Conn Density > 32/mile so this calc is used
| 39 |  | Real Losses Normalized (Real Loss Volume/Miles of Main Lines/365) (This indicator applies if service connection density is less than 32/mile) | 4277.6662 | gals/mile/day |  |  |  |  | This one not used
I. | FINANCIAL PERFORMANCE INDICATORS
| 40 |  | Total Apparent Losses (Line 28) | 921241978.9556 | gals |  |  |  |  | Cost Data Points
| 41 |  | Retail Price of Water | 5.58 | Per 1,000 Gals |  | 4.5 |  |  | 5
| 42 |  | Cost of Apparent Losses (Apparent loss volume multiplied by retail cost of water - Line 40/1000 x Line 41) | 5140530.2426
| 43 |  | Total Real Losses (Line 31) | 6135754797.1759 | gals
| 44 |  | Variable Production Cost of Water* (*Note: In case of water shortage, real losses might be valued at the retail price of water instead of the variable production cost.) | 0.386 | Per 1,000 Gals |  | 2.5 |  |  | 5
| 45 |  | Cost of Real Losses (Real loss multiplied by variable production cost of water - Line 43/1000 x Line 44) | 2368401.3517
| 46 |  | Total Assessment Score |  |  |  | 72 |  |  | 100
| 47 |  | Total Cost Impact of Apparent and Real Losses | 7508931.5943
72%
|  | LEGEND: | [7 empty] | Percentage of points
|  |  | = calculated item | [6 empty] | available
= reliability assessment required
= Update Needed
Legend:
* Category
* Total Gallons This Year
* % of Corrected System Input Value