SOAH DOCKET NO. 473-19-6297.WS

PUC DOCKET NO. 49189

APPLICATION OF THE CITY OF AUSTIN DBA AUSTIN WATER FOR AUTHORITY TO CHANGE WATER AND WASTEWATER RATES

§

§

§

§

§

BEFORE THE STATE OFFICE

OF

ADMINISTRATIVE HEARINGS

DIRECT TESTIMONY OF

GREG CHARLES

INFRASTRUCTURE DIVISION

PUBLIC UTLITY COMMISSION OF TEXAS

November 15, 2019

TABLE OF CONTENTS

- PROFESSIONAL QUALIFICATIONS	3

- PURPOSE AND SCOPE OF TESTIMONY	4

- RECOMMENDATION	5

- CONCLUSION	10

ATTACHMENTS

Attachment GC-1	Resume of Greg Charles

Attachment GC-2	List of Pre-filed Testimony

Attachment GC-3	Govalle Wastewater Treatment Plant

Attachment GC-4	Copies of Agreements Between City of Austin and the Districts

I. 	PROFESSIONAL QUALIFICATIONS

Q.	Please state your name and business address.

A. 	Greg Charles, Public Utility Commission of Texas, 1701 N. Congress Avenue, Austin, Texas 78711-3326.

Q.	By whom are you currently employed and in what capacity?

A.	I have been employed by the Public Utility Commission of Texas (Commission) since September 1, 2016, as an Engineer currently in the Infrastructure Division.

Q.	What are your principal responsibilities at the Commission?

A.	My responsibilities include reviewing rate filings for water and sewer tariff changes and Certificate of Convenience and Necessity applications. I also participate in negotiation of settlements and prepare testimony and exhibits for contested case matters involving investor-owned, non-profit and governmental water and sewer utilities.

Q.	Please state your educational background and professional experience.

A.	I provided a summary of my educational background and professional regulatory experience in Attachment GC-1.

Q.	Have you testified as a regulatory technical expert before the Commission or the State Office of Administrative Hearings (SOAH)?

A.	Yes. I have testified before SOAH.

Q.	Have you previously pre-filed testimony before the Commission or SOAH?

A.	Yes. A list of the dockets I have previously testified in is included in Attachment GC-2.

Q.	On whose behalf are you testifying?

A.	I am testifying on behalf of the Staff of the Public Utility Commission (Staff).

II. 	PURPOSE AND SCOPE OF TESTIMONY

Q. 	What is the purpose of your testimony in this proceeding?

A. 	I am presenting Staff’s recommendation on the City of Austin dba Austin Water’s (Austin Water) operation and maintenance expenses and the used and useful portion of the assets associated with providing water and wastewater service to the North Austin Municipal Utility District No. 1, Northtown Municipal Utility District, Travis County Water Control and Improvement District No. 10, and Wells Branch Municipal Utility District (Districts).

Q.	What is the scope of your participation in this proceeding?

A.	I reviewed the rate application filed by Austin Water, as well as the pre-filed direct testimonies and discovery responses. I also reviewed the operation and maintenance expenses of both the water and wastewater facilities presented in the application and the used and usefulness of the water and wastewater plant assets.

Q.	What test year did you consider while preparing your testimony?

A.	The test year of October 1, 2017 to September 30, 2018.

Q.	What issues identified by the Commission in the Preliminary Order issued on August 8, 2019 will you address?

A.	I will partially address the following issues identified in the Preliminary Order:

2.	Does the Austin Water’s proposed revenue requirement include any category of cost that in Docket No. 42857 the City agreed should not have been allocated to wholesale customers?

  - If so, what are those categories?

b.	As to each category identified in issue 2a, are the cost categories included in the City’s proposed revenue requirement precluded under any doctrine of estoppel?

- Does Austin Water’s proposed revenue requirement in this docket include any category of cost that in Docket No. 42857 the Commission disallowed because it was not a reasonable and necessary cost of providing water and wastewater services to the districts?

  - If so, what are those categories?

  - As to each category identified in issue 3a, are the cost categories included in Austin Water’s proposed revenue requirement precluded under any doctrine of estoppel?

6.	What is Austin Water’s reasonable and necessary cost to procure the water it supplies to the districts?

11.	Are there established priority of rights to water supplied by Austin Water? If so, what priority do the districts have for water supplied by Austin Water?

18.	What facilities and systems, if any, are dedicated exclusively to the provision of water or wastewater services to the districts?

Q.	If you do not address an issue or position in your testimony, should that be interpreted 	as Staff supporting Austin Water’s position on that issue?

A.	No.  The fact that I do not address an issue or position in my testimony should not 	be construed as agreeing with, endorsing, or consenting to any position taken by Austin 	Water.

III.	RECOMMENDATION

Q.	Does Austin Water’s proposed revenue requirement in this docket include any category of cost that the Commission disallowed in Docket No. 42857 because it should not have been allocated to wholesale customers?

A.	Yes. I address two expense categories Austin Water included in its revenue requirement—operations and maintenance (O&M) expenses for reclaimed water and O&M and capital costs for the Govalle Wastewater Treatment Plant (Govalle).

A.	Reclaimed O&M Expenses

Q.	What is reclaimed water?

A.	Reclaimed water is treated effluent produced by a wastewater treatment plant (WWTP). There are two types of municipal reclaimed water use, which require different levels of treatment. For example, a higher level of treatment is required for use of reclaimed water for fire protection or use of reclaimed water for residential irrigation. A reclaimed water system must meet special design criteria related to the storage and distribution of the reclaimed water. However, the reclaimed water is treated using the same WWTP that treats wastewater for discharge. In other words, you cannot treat effluent to a level that is suitable for use as reclaimed water without a reclaim water authorization and a discharge permit.

Q.	How much reclaimed water did Austin Water produce during the test year?

A.	Austin Water produced 4,465 acre-feet (1,454,926,622 gallons) of reclaimed water.

Q.	Why did the Commission disallow the O&M expenses related to the reclaimed water system that were allocated to the Districts?

A.	The Commission adopted the finding in the Proposal for Decision that O&M expenses related to reclaimed water and included in the cost of service should not be allocated to the Districts because they are not necessary to provide service to the Districts.

Q.	Does the testimony provided by Austin Water in this case change that conclusion?

A.	No. According to Stephen Coonan’s testimony, wholesale customers, including the Districts, do not have access to reclaimed water. Austin Water allocated O&M expenses associated with reclaimed water to the Districts. The amount of expenses allocated to the Districts cannot be identified, because it is embedded in Austin Water’s total cost. Therefore, I support the allocation adjustment recommended by Staff witness William Abbott and calculated by Staff witness Brian Murphy.

B.	Govalle Capital and O&M Costs

Q.	Why did the Commission disallow the O&M expenses and capital costs related to Govalle in Docket No. 42857?

A.	The Commission adopted the finding in the Proposal for Decision that O&M expenses and capital costs related to Govalle should not be included in the cost of service because the plant is not used and useful in providing wastewater service.

Q.	Was any new information provided by Austin Water in this case regarding the Govalle capital and O&M costs?

A.	No. The direct testimonies of David Anders and Joseph Gonzales address the training that takes place at Govalle. The rebuttal testimony of David Anders from Docket No. 42857 also stated that several of the buildings at the Govalle plant are still used to train staff.

Q.	Do you agree that Govalle is not used and useful in providing wastewater service?

A.	Yes. Govalle was decommissioned in October 2006, and therefore, no longer functions as part of the system delivering wastewater service to customers. Austin Water has repurposed the facility for training as well as emergency storage for wastewater influent to the South Austin Wastewater Treatment Plant. Because no wastewater treatment has taken place at the facility since October 2006, it is no longer used and useful in the provision of wastewater service to Austin Water’s customers. Furthermore, the debt that Austin Water incurred for Govalle was for the purpose of wastewater treatment, and not for training.

Q.	What about Austin Water’s use of Govalle for treatment support functions and emergency flow diversion?

A.	It is my opinion that the treatment support functions and emergency wastewater flow diversion, should be provided at one of Austin Water’s active wastewater treatment facilities. Austin Water has not provided any information as to why this cannot happen. In addition, the wastewater discharge permit for this facility expired several years ago, and Austin Water cannot operate Govalle without one.

Q. 	What is your recommendation regarding the O&M and capital costs for Govalle?

A.	According to the list of assets from Austin Water’s Fixed Assets Pivot Table, Govalle carries a remaining net book value of $77,600,452.   Excluding assets added post 2006, the facility has a book value of approximately $18,792,074. In other words, Austin Water has added $58,808,378 in value to a facility that is not used/useful for wastewater treatment.  Also, operational expenses of $409,997 ($357,710 + 37,069 + 15,218) for Govalle Training Facility should be an additional adjustment to the cost of service because it is not providing wastewater treatment.  It is Staff’s recommendation that Austin Water’s net plant in service be reduced by $77,600,452 for allocation purposes and the determination of debt service and debt service coverage, and the operations and maintenance expenses in the cost of service be adjusted by $409,997.  The calculation of the recommended disallowance related to debt service and debt service coverage is discussed by Staff witness Emily Sears.

C.	Other Issues

Q.	Are there established priority of rights to water supplied by Austin Water? If so, what priority do the Districts have for water supplied by Austin Water?

A.	A review of the separate agreements filed by the districts in Docket No. 42857 does not establish any priority of rights to the water supplied by Austin Water. In the agreements Austin Water agrees to sell water to the Districts, and the Districts agree to purchase water from Austin Water required for the operation of the Districts’ systems.

Q.	What facilities and systems, if any, are dedicated exclusively to the provision of water or wastewater services to the Districts?

A.	Staff is unable to determine the specific facilities and systems that are dedicated to the districts, because Austin Water’s facilities operate as an integrated water system.

Q.	What is your recommendation for the adjustment of operation and maintenance expenses?

A.	My recommendation, as previously stated, is that Austin Water’s net plant in service be reduced by $77,600,452 for allocation purposes and the determination of debt service and debt service coverage, and the operations and maintenance expenses in the cost of service be adjusted by $409,997. I also support the operations and maintenance allocation adjustments recommended by Staff witness William Abbott for reclaimed water.

IV.	CONCLUSION

Q.	Does this conclude your direct, pre-filed testimony?

A.	Yes, but I reserve the right to supplement this testimony during the course of the proceeding as new evidence is presented.

| Greg Charles P.E. 1701 N. Congress Ave. PO Box 13326 Austin, Texas 78711-3326 512-936-7014 gregory.charles@puc.texas.gov | # Work Experience |
| --- | --- |
|  | ## Engineer IV 9/1/2016 - Present Public Utility Commission, Austin, TX Process Certificates of Convenience and Necessity (CCN) applications. Perform depreciation studies, quality of service evaluations, design rates for rate applications and testify in hearings. ## Engineer III – Project Manager 1/1/2012 – 9/1/2016 Municipal Solid Waste, Waste Permits Division, Texas Commission on Environmental Quality, Austin, TX - Reviewed registration authorizations for landfills and transfer stations applications. - Reviewed authorizations for the scrap tire program, compost and recycling facilities |
|  | ## Engineer V - Project Manager 6/1/2005 – 1/1/2012 Districts Review Team, Water Supply Division, Texas Commission on Environmental Quality, Austin, TX - Conducted technical reviews and evaluations of municipal district applications: district creations, district bond applications, purchase of facilities, fire plans, surplus funds requests, and district board appointments. - Conducted on the spot district inspections for district bond issues. - Provided expertise for contested cases before the Commission. |
|  | ## Owner/Managing Partner 3/2002 - 4/2004 Trig Inc. dba Golden Chick, Austin, TX |
|  | ## Technical Staff Product/Test Engineer 7/1981 - 3/2002 Product/Test Engineering - Product/Test Engineering at various technology companies including Motorola Inc., Advanced Micro Devices, Ross Technology Inc., Intel Corp, Agere Inc. (Lucent Technology). |
|  | # Education |
|  | 5/1980 Howard University, Washington, D.C. - Bachelor's Degree in Electrical Engineering - 6/1981 Cornell University, Ithaca, NY - Master of Engineering |

List of Pre-filed Testimony

| Docket | Case |
| --- | --- |
| SOAH 473-17-0529.WS | Complaint of Playa Vista Conroe, a Condominium Association, Inc. Against C & R Water Supply, Inc. |
| SOAH 473-17-0067.WS | Application of Double Diamond Properties Construction for Water Rate/Tariff Change |
| SOAH 473-16-4745.WS | Complaint of Yanney Gurrusquieta Against Southern Utilities |
| SOAH 473-18-1093.WS | Application of The Commons Water Supply, Inc |
| SOAH 473-18-3008.WS | Application of Forest Glen Utility Company for Authority to Change Rates |
| SOAH 473-18-3008.WS | Application of Cypress Gardens Mobile Home Subdivision for Authority to Change Rates |
| SOAH 473-18-1226.WS | Petition of Fort Belknap Water Supply Corporation, Graham East Water Supply Corporation, The City of Bryson, and the City of Newcastle Appealing the Decision by the City of Graham to Change Wholesale Water Rates |
| SOAH 473-19-2804.WS | Complaint of the City of Waco Against Prairie Hill Water Supply Corporation |

30 TAC § 210.32.

30 TAC 210.32(1)(A), (C).

30 TAC § 210.25.

North Austin Municipal Utility District No. 1, Northtown Municipal Utility District, Travis County Water Control and Improvement District No. 10, and Wells Branch Municipal Utility District Appealing the Wholesale Water and Wastewater Rates Imposed by the City of Austin, Docket No. 42857, Proposal for Decision at 37-38, 41 (Jul. 10, 2015) (PFD); Order on Rehearing at Finding of Fact No. 52e.

Direct Testimony of Stephen J. Coonan at 352, (Apr. 15, 2019).  All citations to the application and direct testimony are to bates page numbers.

Id.

Docket No. 42857, PFD at 45; Order on Rehearing at Finding of Fact No. 52k.

Direct Testimony of David A. Anders at 50-51 (Apr. 15, 2019) (Anders Direct); Direct Testimony of Joseph H. Gonzales at 90 (Apr. 15, 2019) (Gonzales Direct).

Id.

Anders Direct at 51.

TCEQ Permit No. WQ00110543003.

Application of City of Austin d/b/a Austin Water and Wastewater Rates (April 15, 2019), 2018 Fixed Assets pivot Table, Sewer tab.

Attachment GC-3.

COS Model O&M Input Tables – Wastewater, Tab O&M Budget, Line 32-Govalle Operations – Govalle Training Facility.

Attachment GC-4 contains copies of the agreements.

Direct Testimony of Joseph H. Gonzales at 90 (Apr. 15, 2019).