## V-1
Austin Water
Docket No. 49189
Test Year Ending 9/30/2018
Schedule V-1 Audit Reports
Witness: Joseph Gonzales
Deloitte & Touche LLP, the City's independent external auditor, has issued Independent Auditor's Report (Single Audit Report) on the City of Austin's Financial Statements for FY17. Although, the City's Comprehensive Annual Financial Report (CAFR) for FY18 was completed in March 2019, the Indendent Auditors Report for FY18 will not be finalized until the completion of the City's annual Single Audit Report. Austin Water has provided a copy of the FY17 Single Audit Report and will provide the FY18 Single Audit Report upon completion of the report. In addition to the the Independent Auditor's Report, the Office of the City Auditor and the Austin Water Internal Auditor issued various audit reports relating to Austin Water during FY17 and FY18. Austin Water has provided copies of all City Auditor and Internal Auditor reports pertaining to Austin Water. Any exceptions or recommendations for Austin Water will be noted in the attached audit reports.
AW has provided the following audit reports:
Report Date | Source | Report Name
2019-02-28 | Deloitte & Touche-External Auditor | City of Austin CAFR 2018
2018-03-01 | Deloitte & Touche-External Auditor | FY17 City of Austin Single Audit Report
2018-03-31 | Office of the City Auditor | Water Meter Reading and Billing Accuracy
2017-03-31 | Office of the City Auditor | City Utility Street Cut Repairs
2018-09-04 | AW Internal Auditor | FY18 Follow-up on Open Audit Recommendations
2018-03-12 | AW Internal Auditor | FY17 Follow-up on Open Audit Recommendations
2018-02-20 | AW Internal Auditor | FY17 Annual Ethics Report
2018-01-12 | AW Internal Auditor | Quality Assurance Review
2017-11-02 | AW Internal Auditor | Allegation of Gift Policy Violation
2017-04-24 | AW Internal Auditor | Variable Production Cost of Water Audit
2017-02-21 | AW Internal Auditor | FY16 Annual Ethics Report
2016-12-07 | AW Internal Auditor | FY15 Annual Ethics Report

## V-2
Austin Water
Docket No. 49189
Test Year Ending 9/30/2018
Schedule V-2 Variance Reports
Witness: Joseph Gonzales
Austin Water publishes monthly Financial Status Reports as shown on V-2 for the months of November 2017 through September 2018. Austin Water did not publish an October 2017 Financial Status Report as October was never issued in prior years due to the extended closing year-end period.

## V-3
Austin Water
Docket No. 49189
Test Year Ending 9/30/2018
Schedule V-3 Budgets
Witness: Joseph Gonzales
The City of Austin publishes the annual budget in a 800+ page document. Attached are excerpts of the FY 2019 Approved Budget pages related to Austin Water.

## V-4
Austin Water
Docket No. 49189
Test Year Ending 9/30/2018
Schedule V-4 Unaccounted for Water
Witness: Joseph Gonzales
| (a) | (b) | (c) | (d)
Line No
|  | CY 2015 | CY 2016 | CY 2017
1 | Total gallons produced | 42191680040 | 43120955690 | 45525408861
2 | Total authorized consumption | 35478755849 | 37147534153 | 38061499414
3 | Total Water Loss | 6712924191 | 5973421537 | 7463909447
4 | Infrastructure Leakage Index (ILI) | 3.88 | 3.31 | 4.21
5 | Percentage Loss* | 15.91% | 13.85% | 16.4%
6
7 | *Austin Water has chosen to provide the ILI in addition to percentage losses. Percentage losses is a poor performance measurement, as it is driven by total consumption more than losses, and therefore can provide trends that are misleading when considering water loss. The Infrastructure Leakage Index is calculated according to TWDB methodology and accounts for length of mains, number of connections, and system operating pressure and is considered a superior performance measure by the AWWA M36 Water Loss Control manual.
8
9
10
11
12
13
14 | Water loss calculations for CY 2018 will be finalized by the May 1, 2019 TWDB reporting deadline.
15
Austin Water provides water services to a variety of retail and wholesale customers spanning over 540 square miles to a service population of over one million customers. AW draws water from the Colorado River into three regional water treatment plants that have a combined maximum capacity of 335 million gallons per day. Drinking water is pumped from the plants into Austin’s water distribution system, which has a total reservoir storage capacity of approximately 170 million gallons. Austin Water performs a system water loss audit annually, using the Texas Water Development Board methodology. Non-revenue water is calculated, and quantified as real losses, apparent losses, and unbilled consumed water. Austin Water has comprehensive and aggressive programs to reduce non-revenue water, including active leak detection on both transmission and distribution mains, a meter replacement program and a meter accuracy study, the Renewing Austin initiative to replace and upgrade aging water lines, and multiple agreements to track unmetered water use for water withdrawn by City departments through hydrants. All customer connections supplied by Austin Water are metered. Water used for flushing and distribution system maintenance by Austin Water crews is calculated using flow durations, aperture size, and pressure, and is reported through the work order system. Water flushed by third parties for construction of new water mains is reported through meter reads required to close out construction permits. Theft is estimated according to TWDB methodology, and as a component of apparent losses is not used to reduce non-revenue water estimates. The Austin Water water loss audits from 2011-2017 have been reviewed for accuracy and validity by third party professionals under the AWWA Water Audit Data Initiative. The annual water loss report and water loss audit submissions to the TWDB are prepared by a Project Manager II at Austin Water. The Project Manager II is primarily responsible for collecting data for the audit, ensuring that all uses of water are properly and accurately tracked, performing data validity reviews, and compiling the water loss audit according to TWDB standards.

## V-4 (1)
Austin Water
Docket No. 49189
Test Year Ending 9/30/2018
Schedule V-4 (1) Unaccounted for Water - Narrative
Witness: Joseph Gonzales
Unaccounted for Water - Narrative
Austin Water provides water services to a variety of retail and wholesale customers spanning over 540 square miles to a service population of over one million customers. AW draws water from the Colorado River into three regional water treatment plants that have a combined maximum capacity of 335 million gallons per day. Drinking water is pumped from the plants into Austin’s water distribution system, which has a total reservoir storage capacity of approximately 170 million gallons. Austin Water performs a system water loss audit annually, using the Texas Water Development Board methodology. Non-revenue water is calculated, and quantified as real losses, apparent losses, and unbilled consumed water. Austin Water has comprehensive and aggressive programs to reduce non-revenue water, including active leak detection on both transmission and distribution mains, a meter replacement program and a meter accuracy study, the Renewing Austin initiative to replace and upgrade aging water lines, and multiple agreements to track unmetered water use for water withdrawn by City departments through hydrants. All customer connections supplied by Austin Water are metered. Water used for flushing and distribution system maintenance by Austin Water crews is calculated using flow durations, aperture size, and pressure, and is reported through the work order system. Water flushed by third parties for construction of new water mains is reported through meter reads required to close out construction permits. Theft is estimated according to TWDB methodology, and as a component of apparent losses is not used to reduce non-revenue water estimates. The Austin Water water loss audits from 2011-2017 have been reviewed for accuracy and validity by third party professionals under the AWWA Water Audit Data Initiative. The annual water loss report and water loss audit submissions to the TWDB are prepared by a Project Manager II at Austin Water. The Project Manager II is primarily responsible for collecting data for the audit, ensuring that all uses of water are properly and accurately tracked, performing data validity reviews, and compiling the water loss audit according to TWDB standards.

## V-5
Austin Water
Docket No. 49189
Test Year Ending 9/30/2018
Schedule V-5 Corporate History
Witness: David Anders
Austin Water History
For over 100 years, Austin Water has been committed to providing safe, reliable, high-quality and affordable water services to our customers. Many additions and improvements have been made over the years to keep Austin Water in step with technology and Austin's growing population.
Austin’s first organized water system began in 1871 when a private company, under a franchise granted by the City, began pumping water from the Colorado River. In 1893, the 60-foot high Austin Dam was completed in the hopes that cheap hydroelectricity would lure business. After a catastrophic failure of the dam on April 7, 1900, parts of the city were flooded and destroyed. Shortly after that the City of Austin bought out the private water company and formed what is now Austin Water.
Austin Water has three water treatment plants: Water Treatment Plant 4, Davis, and Ullrich. These water treatment plants draw water from the Colorado River, filter and treat it, to provide safe drinking water for the community.
Austin Water’s first wastewater treatment facility was built in 1919. In 1923, Dr. E.P. Schoch, a chemical engineering professor at the University of Texas at Austin, created a simple chemical treatment that used lime to treat river water. The first water treatment plant was built in 1925 to use this treatment method. In 1937, Austin Water built a new wastewater treatment plant that used activated sludge, an innovative treatment process at the time.
Austin Water has two wastewater treatment plants: Walnut Creek and South Austin Regional. These wastewater treatment plants can receive up to 150 million gallons per day of sewage to treat before it is returned to the Colorado River.