## VI-1.a
Austin Water
Docket No. 49189
Test Year Ending 9/30/2018
Schedule VI-1.a Compliance with TCEQ Rules - Violations
Witness: David Anders
Austin Water is currently not in violation of any provision of the Texas Commission on Environmental Quality rules, regulations, orders or any condition of a permit. Previous violations are detailed below. Attached to this schedule is the latest public water and wastewater system inspection and violation reports.
October 2018 Flood Conditions
Austin Water had surface water treatment technique violations at our three water plants arising from the October 2018 flood conditions. Specifically, those violations occurred during the week of October 21-28, 2018. By the end of that week, Austin Water was in full compliance with Texas Commission on Environmental Quality standards (TCEQ). Austin Water issued a boil water notice during that week and then met TCEQ conditions for lifting the notice by showing a return to full compliance with water quality standards. Additionally, Austin water issued the required public notices to our customers.
TCEQ Notice of Violation
On March 16, 2015, TCEQ issued a notice of violation regarding trees on the pond berms at the Hornsby Bend Biosolids Management Plant and required AW to submit a tree management plan. In response, a tree assessment was conducted by the City of Austin Arborist. Following the tree assessment, AW hired a consultant to develop:
1. Tree Removal Plan,
2. Vegetation Management Plan, and
3. Migratory Bird Treaty Act Compliance Document
which were presented to a diverse group of stakeholders at a public meeting and subsequently submitted to TCEQ. TCEQ has approved the plans and work on tree removal and vegetation management has commenced and is continuing.
An Agreed Order was finalized with TCEQ for the following four incidents:
i. For drinking water discharge from a 20-inch diameter cast iron main break in Shoal Creek on August 5, 2015 resulting in a fish kill.
ii. For drinking water discharge from a 12-inch diameter asbestos cement main break near Bull Creek on August 29, 2105 resulting in a fish kill.
iii. For a sanitary sewer overflow from an 8-inch diameter pipe near East Bouldin Creek on August 22, 2015 resulting in a fish kill.
iv. Reported the unauthorized discharge that occurred on August 29, 2015 to TCEQ at Site No. 2.
In settlement of the Agreed Order for the above four incidents, Austin Water contributed $29,312 to the Austin Parks Foundation for a Supplemental Environmental Project towards Barton Creek Greenbelt Restoration.
TCEQ Agreed Order with an Administrative Penalty of $7,351
An administrative penalty in the amount of $7,351 was assessed by TCEQ for issues related to the Lost Creek Water Reclamation Plant operation and maintenance. Austin Water is completing two maintenance items required by the Agreed Order at the Lost Creek Plant. In lieu of the penalty, Austin Water will contribute $7,351 to the Austin Parks Foundation for a Supplemental Environmental Project towards Barton Creek Greenbelt Restoration. TCEQ is currently completing the approval process for this Agreed Order.
TCEQ Agreed Order with an Administrative Penalty of $11,625
An administrative penalty in the amount of $11,625 was assessed by TCEQ for wastewater overflow at the Southland Oaks Lift Station in July 2017 that resulted in 15 fish kills. Austin Water mobilized significant resources and cleaned up the overflow. In lieu of the penalty, Austin Water will contribute $11,625 to the Austin Parks Foundation for a Supplemental Environmental Project towards Barton Creek Greenbelt Restoration. TCEQ is currently completing the approval process for this Agreed Order.

## VI-1.b
Austin Water
Docket No. 49189
Test Year Ending 9/30/2018
Schedule VI-1.b Consumer Confidence Reports
Witness: David Anders
Austin Water has not issued any Consumer Confidence Reports within the last 5 years which reflect a violation.
The most recent CCR is attached.

## VI-1.c
Austin Water
Docket No. 49189
Test Year Ending 9/30/2018
Schedule VI-1.c Water Pressure Problems
Witness: David Anders
Austin Water has experienced no water pressure problems, lasting longer than 5 days, since the last rate proceeding in 2013.

## VI-1.d
Austin Water
Docket No. 49189
Test Year Ending 9/30/2018
Schedule VI-1.d Discharge Violations
Witness: David Anders
Austin Water is currently not in violation of any provision of the Texas Commission on Environmental Quality rules, regulations, orders or any condition of a permit. Previous violations are detailed below.
An Agreed Order was finalized with TCEQ for the following four incidents:
i. For drinking water discharge from a 20-inch diameter cast iron main break in Shoal Creek on August 5, 2015 resulting in a fish kill.
ii. For drinking water discharge from a 12-inch diameter asbestos cement main break near Bull Creek on August 29, 2105 resulting in a fish kill.
iii. For a sanitary sewer overflow from an 8-inch diameter pipe near East Bouldin Creek on August 22, 2015 resulting in a fish kill.
iv. Reported the unauthorized discharge that occurred on August 29, 2015 to TCEQ at Site No. 2.
In settlement of the Agreed Order for the above four incidents, Austin Water contributed $29,312 to the Austin Parks Foundation for a Supplemental Environmental Project towards Barton Creek Greenbelt Restoration.
TCEQ Agreed Order with an Administrative Penalty of $11,625
An administrative penalty in the amount of $11,625 was assessed by TCEQ for wastewater overflow at the Southland Oaks Lift Station in July 2017 that resulted in 15 fish kills. Austin Water mobilized significant resources and cleaned up the overflow. In lieu of the penalty, Austin Water will contribute $11,625 to the Austin Parks Foundation for a Supplemental Environmental Project towards Barton Creek Greenbelt Restoration. TCEQ is currently completing the approval process for this Agreed Order.

## VI-2
Austin Water
Docket No. 49189
Test Year Ending 9/30/2018
Schedule VI-2 Customer Complaint Policy
Witness: David Anders
Austin Water's customer complaint policies are contained in City Code Chapter 15-9 Utility Service Regulations and Article 12 Administrative Review and Hearing. These documents are attached.

## VI-3
Austin Water
Docket No. 49189
Test Year Ending 9/30/2018
Schedule VI-3 Customer Complaint Records
Witness: David Anders
Austin Water had no customer complaint records for the wholesale customers related to this case.

## VI-4
Austin Water
Docket No. 49189
Test Year Ending 9/30/2018
Schedule VI-4 Water Conservation
Witness: David Anders
See VI-4 for the 2014 Water Conservation Plan adopted by City Council. The Water Conservation plan is updated every 5 years according to TCEQ requirements under Title 30 Texas Administrative Code §288.30 or more frequently as needed to reflect changes in water conservation policy. Wholesale customers are provided any updates of the City's water conservation ordinance(s). The next revision of the plan is expected not later than May 1, 2019.

## VI-5
Austin Water
Docket No. 49189
Test Year Ending 9/30/2018
Schedule VI-5 Meter Replacement Policy
Witness: David Anders
Austin Water's current meter replacement policy for 3" and larger and wholesale meters.
AW meter shop has an established wholesale/industrial meter asset group. 2” wholesale meters that comprise this asset group are accuracy tested annually. These meters are not field testable. An annual exchange is required in order to test old meter at AW meter shop.
AW meter shop has an established wholesale/industrial meter asset group. 3” and larger/wholesale meters that comprise this asset group are accuracy tested annually. These meters are field testable. An annual meter exchange is not required.
AW meter shop will perform a repair/exchange if accuracy testing determines meter has failed AWWA flow requirements.