PUC Interoffice Memorandum

To:	John Harrison, Attorney

Legal Division

From:		Greg Charles, Engineer

Infrastructure Division

Date:	April 20, 2020

Subject:	Docket No. 49260, Application of Texas Water Systems, Inc. and Undine Texas, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Gregg, Henderson, Limestone, Smith, and Upshur Counties and to Amend Their Water Certificates of Convenience and Necessity

On February 25, 2019, Undine Texas, LLC (Undine or Purchaser) and Texas Water Systems, Inc., (Texas Water Systems or Seller), (collectively, Applicants), filed an application for Sale, Transfer, or Merger (STM) of facilities and certificate rights in Gregg, Henderson, Limestone, Smith and Upshur Counties, Texas, pursuant to Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.  Specifically, Undine seeks approval to acquire facilities and to transfer a portion of the water service area from Texas Water Systems under Certificate of Convenience and Necessity (CCN) No. 12473 to CCN No. 13260, which is held by Undine. In addition, Undine is requesting a CCN amendment for uncertificated areas that includes 5,076 acres and 186 customers, to decertify 12 acres of CCN No.12473, and to obtain dual certification with a portion of Crystal Systems Texas, Inc’s water CCN No. 10804, and a portion of Pritchett Water Supply Corporation’s (WSC) water CCN No. 10478. The total requested area includes approximately 10,731 acres and 1,005 connections.

Notice

The comment period ended March 31, 2020, and no protests or opt-out requests were received.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

TWC § 13.246(c)(1) requires the Commission to consider the adequacy of service currently provided to the requested area.

The Seller currently has 8 Texas Commission on Environmental Quality (TCEQ) approved public water systems (PWS). The PWSs being transferred are listed below:

| PWS NAME |  | PWS ID | PWS Source of Water |
| --- | --- | --- | --- |
| Cape Tranquility System |  | TX1070176 | 2 Water wells |
| Country Club Estates |  | TX2300021 | 1 Water well |
| Friendship Water System |  | TX2300020 | 1 Water well |
| Garden Acres System |  | TX0920031 | 2 Water wells |
| Garden Valley Resort |  | TX2120081 | 1 Water well |
| Mount Sylvan Water System |  | TX2120034 | 4 Water wells |
| Rosewood Water system |  | TX2300026 | 3 Water wells |
| Stallion Lake Ranch |  | TX2120104 | 3 Water wells |

For the 8 systems, the Seller does not have any violations or is on the path to compliance according to the TCEQ database.

TWC § 13.246(c)(2) requires the Commission to consider the need for additional service in the requested area.

There will be no new customers or services that will be added to the requested area. All of the current customers in the requested area will be transferred to the Purchaser. The area to be transferred originally consisted of only facility lines. The Purchaser requests a bounded area encompassing 5,638 acres of facilities lines serving 811 customers and 5,076 acres of uncertificated area serving 186 customers. Undine additionally requests 8 acres of dual certification with Pritchett WSC, CCN No. 10478, serving 2 customers, and 21 acres of dual certification with Crystal Systems, CCN No. 10804, serving 6 customers. Undine also requested 12 acres to be decertified to clean up CCN boundaries. There is no need for additional service at this time.

TWC § 13.246(c)(3) requires the Commission to consider the effect of granting an amendment on the recipient and on any other retail public utility of the same kind already servicing the proximate area.

This transaction will transfer ownership of a portion of the Seller’s assets and service area. The Purchaser possesses the financial, managerial, and technical resources to maintain the regulatory standards required to serve the requested area. Therefore, the transfer will not affect any other retail public utility of the same kind servicing the proximate area.

The CCN amendment will result in the dual certification of 8 acres with Pritchett Water Supply Corporation and 21 acres with Crystal System.  These areas include 2 current customers and 6 current customers, respectively.

TWC § 13.246(c)(4) requires the Commission to consider the ability of the Applicant to provide adequate service.

The Purchaser has existing public water systems registered with the TCEQ in Harris, Brazoria, Matagorda, and Fort Bend counties.  According to a status update filed on July 12, 2019, the Purchaser does not have any TCEQ outstanding violations. The Seller’s water supply is sufficient to serve the current 997 connections within the Seller’s service area. Therefore, no additional construction is necessary to serve the requested area.

TWC § 13.246(c)(5) requires the Commission to consider the feasibility of obtaining service from an adjacent retail public utility.

The existing customers in the requested area are adequately served by the existing water system. Therefore, the feasibility of obtaining service from another adjacent retail public utility was not considered.

TWC § 13.246(c)(6) requires the Commission to consider the financial ability of the Applicant to pay for facilities necessary to provide continuous and adequate service.

16 TAC § 24.11 establishes the criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service area include a leverage test and operations test. The Applicant provided an unaudited consolidated balance sheet to represent their financial position as of December 31, 2018.

The Commission rules identify five leverage tests, of which the Applicant must demonstrate that it meets one. The Applicant meets two of the leverage tests. The first test is met with a debt to equity ratio less than one calculated as follows: long term debt of $0.00 divided by equity of $342,761.00 equals 0 which is less than one. The Applicant also meets the second test with net operating income of $65,903.00 and annual debt service of $0.00.

The Commission rules also identifies an operations test which requires that the owner or operator must demonstrate sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations. The Applicant submitted projected financial statements in its application and there are no operational shortages to cover. No improvements are needed to provide continuous and adequate service to the requested area. Therefore, the Applicant meets the operations test.

TWC §§ 13.246(c)(7) and (9) require the Commission to consider the environmental integrity and the effect on the land to be included in the certificate.

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

TWC § 13.246(c)(8) requires the Commission to consider the probable improvement in service or lowering of cost to consumers.

The Purchaser will continue to provide water service to the existing customers in the requested area.

The Applicants meet all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations. Approving this application to transfer a portion of the facilities and water service area of water CCN No. 12473 to Undine Texas, LLC, and amend CCN No. 13260 held by Undine Texas, LLC, decertify a portion of CCN No.12473, obtain dual certification with a portion of Crystal Systems Texas, Inc’s water CCN No. 10804, and obtain dual certification with a portion of Pritchett Water Supply Corporation’s water CCN No. 10478 is necessary for the service, accommodation, convenience and safety of the public.

Recommendation on approval of sale

Staff recommends that the Commission find that the transaction will serve the public interest and allow the Applicants to proceed with the proposed transaction. Staff notes that are deposits are held by the Seller for the customers being served by Texas Water Systems. Staff further recommends that a public hearing is not necessary.

Confidential – Attachment G – Financial Information at 81.

Id at 81 and 82.

Id at 84.