PUC Interoffice Memorandum

To:	Taylor Denison, Attorney

Legal Division

From:		Spencer English, Financial Analyst

Rate Regulation Division

Roshan Pokhrel, Engineering Specialist

Infrastructure Division

Date:	July 16, 2020

Subject:	Docket No. 49262, Application of the City of Floresville to Amend a Sewer Certificate of Convenience and Necessity in Wilson County

On February 26, 2019, the City of Floresville (Applicant) filed with the Public Utility Commission of Texas (Commission) an application to amend its sewer Certificate of Convenience and Necessity (CCN) No. 20279 in Wilson County, Texas pursuant to Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Background

The Applicant is seeking to amend its sewer CCN for the service area containing approximately 4,201 acres and 171 existing customers.

Notice

The comment period ended March 4, 2020, and no protests or opt-out requests were received from customers within the service area.

Criteria Considered

TWC Chapter 13 and 16 TAC Chapter 24 require the Commission to consider nine criteria when granting or amending a water or sewer CCN. Therefore, the following criteria were considered:

TWC § 13.246(c)(1) and 16 TAC § 24.227(e)(1) require the Commission to consider the adequacy of service currently provided to the requested area.

The Applicant is already serving all of the requested area with its existing sewer facilities under water quality discharge permit, WQ 10085001, which is registered with the Texas Commission on Environmental Quality (TCEQ).

TWC § 13.246(c)(2) and 16 TAC § 24.227(e)(2) require the Commission to consider the need for additional service in the requested area.

There is a need for service as the Applicant is already serving 171 customers in the requested area.

TWC § 13.246(c)(3) and 16 TAC § 24.227(e)(3) require the Commission to consider the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area.

The Applicant will incorporate the 171 outlying customers into their CCN. The landowners will benefit because they will not have to construct individual septic tanks. There are no other retail public utilities in the vicinity of the requested area.

TWC § 13.246(c)(4) and 16 TAC § 24.227(e)(4) require the Commission to consider the ability of the Applicant to provide adequate service.

The Applicant has an existing water quality discharge permit registered with the TCEQ under City of Floresville, WQ 10085001, and has adequate capacity. The Applicant does not have any violations listed in the TCEQ database.

TWC § 13.241(d) requires the applicant to demonstrate to the Commission that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area.

This criterion is not applicable because no additional construction is required to serve the requested area.

TWC § 13.246(c)(5) and 16 TAC § 24.227(e)(5) require the Commission to consider the feasibility of obtaining service from an adjacent retail public utility.

This criterion is not applicable because the requested area already receives sewer services from the Applicant.

TWC § 13.246(c)(6) and 16 TAC § 24.227(e)(6) require the Commission to consider the financial ability of the Applicant to pay for facilities necessary to provide continuous and adequate service.

16 TAC § 24.11 establishes criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service area. 16 TAC § 24.11(e) lists the financial tests. The following shows that the Applicant meets one out of four leverage tests for which the Applicant is only required to meet one.

16 TAC § 24.11(e)(2) refers to the leverage test. Below is a summary of the leverage tests met by the Applicant:

  - 16 TAC § 24.11(e)(2)(D) states the owner or operator must have an investment-grade credit rating from Standard & Poor’s Financial Services LLC, Moody’s Investors Service, or Fitch Ratings Inc. The Applicant currently has a BBB- credit rating from Standard & Poor’s Financial Services LLC, so they do meet the leverage test.

16 TAC § 24.11(e)(3) refers to the operations test, which requires that the owner or operator must demonstrate sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations. The Applicant already serves 171 existing connections in the requested area. No improvements are needed to provide continuous and adequate service to the requested area and no cash shortages are projected for the future.

TWC § 13.246(d) and 16 TAC § 24.227(f) allow the Commission to require an Applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided.

Staff does not recommend that the Applicant be required to provide a bond or other financial assurance to ensure continuous and adequate service.

TWC §§ 13.246(7) and (9) and 16 TAC §§ 24.227(e)(7) and (9) require the Commission to consider the environmental integrity and the effect on the land to be included in the requested area.

The environmental integrity of the land will not be impacted or disrupted because no additional construction is required.

TWC § 13.246(8) and 16 TAC § 24.227(e)(8) require the Commission to consider the probable improvement in service or lowering of cost to consumers.

There will be no impact or change to the quality of utility services as the Applicant already provides sewer services to all of the requested area. The Applicant mentioned in its application cover letter that upon entering the Applicant’s CCN, the outlying customers’ rates will be lowered by approximately 50 percent.

Staff recommends that the Applicant meets all of the statutory requirements of TWC Chapter 13 and the Commission’s Chapter 24 rules and regulations, is capable of providing continuous and adequate service, and approving this application to amend sewer CCN No. 20279 is necessary for the service, accommodation, convenience, and safety of the public. The Applicant consented to the attached map and certificate on July 1, 2020. Staff recommends the Commission approve the application and provide the attached map and certificate to the City of Floresville. Staff further recommends that the Applicant file certified copies of the CCN map along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257 (r)-(s).