PUC Interoffice Memorandum

To:	Rashmin Asher, Attorney

Legal Division

From:		Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

Spencer English, Financial Analyst

Rate Regulation Division

Date:	June 3, 2020

Subject:	Docket No. 49272, Application of Yancey Water Supply Corporation to Amend its Certificate of Convenience and Necessity (CCN) in Medina and Frio Counties

On February 28, 2019, Yancey Water Supply Corporation (Yancey WSC) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 11463 in Medina and Frio Counties, Texas pursuant to Texas Water Code (TWC) §§ 13.242 to 13.250 and the 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Background

The Applicant is seeking to amend its current water facility line CCN to include areas adjacent to its existing CCN, that are not within any other utility’s service area. The originally requested service area contained approximately 224,359 acres and 1,764 existing customers. However, due to requests for opt-outs, the total requested area to amend is 209,526 acres.

Notice

The comment period ended August 2, 2019 and no protests or opt-out requests were received.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

TWC § 13.246(c)(1) requires the commission to consider the adequacy of service currently provided to the requested area.

The Applicant has a Texas Commission on Environmental Quality (TCEQ) approved Public Water System (PWS) Identification No. 1630021. The Applicant does not have any violations listed in the TCEQ database. No additional construction is necessary for the Applicant to serve the requested area.

TWC § 13.246(c)(2) requires the commission to consider the need for service in the requested area.

There is a need for service as there are 2,888 existing customers and potential new customers in the requested areas.

TWC § 13.246(c)(3) requires the commission to consider the effect of granting an amendment on the recipient and on any other retail public utility servicing the proximate area.

There will be no effect on any retail public utility servicing the proximate area as there are no other water providers in the area.

TWC §§ 13.241(b) and 13.246(c)(4) requires the commission to consider the ability of the Applicant to provide adequate service.

The Applicant has a TCEQ approved PWS ID No. 1630021. The Applicant does not have any violations listed in the TCEQ database. No additional construction is necessary for the Applicant to serve the requested area.

TWC § 13.246(c)(5) requires the commission to consider the feasibility of obtaining service from an adjacent retail public utility.

The Applicant has been providing service in the requested area via facility lines.

TWC § 13.246(c)(6) requires the commission to consider the financial ability of the Applicant to pay for facilities necessary to provide continuous and adequate service.

16 TAC § 24.11 establishes criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service area. 16 TAC § 24.11(e) lists the financial tests. The following shows that the Applicant meets three out of four leverage tests for which the Applicant is only required to meet one.

Financial Test

Pursuant to TWC § 13.246(c)(6) the Public Utility Commission of Texas is required to consider the financial ability of an applicant to pay for facilities necessary to provide continuous and adequate service and the financial stability of the applicant. The criteria and tests are listed in 16 TAC § 24.11 including leverage tests and an operations test.

The following analysis is taken from the Applicant’s audited financial statements which contained an unqualified auditor’s opinion from Ede & Company, LLC which stated that the that the financial statements present fairly, in all material respects, the financial position of the Applicant as of April, 2018. The audit and the related opinion indicate the transparency of the Applicant, and speak to the Applicant’s management capabilities.

The Applicant meets two out of the five leverage tests. The Applicant is only required to meet one. The first test is met with a debt to equity ratio calculated as follows: long term debt of $2,872,409 divided by equity/net assets of $12,231,473. equals 0.23 which is less than one. The Applicant also has a sufficient unrestricted cash for two years of debt service by a coverage factor of 9.91. The amount of unrestricted cash for two years of debt service is calculated as follows: debt service of $265,944, calculated by summation of 2017 and 2018 annual debt service amounts of $132,972. Unrestricted cash of $2,635,708 divided by $265,944 equals 9.91.

The Applicant meets the operations test. The Applicant has not submitted projections in its application; however, based on the financial statements the Applicant had $451,817 in operating income. No new infrastructure is required for the Applicant to provide service. Thus, there are no shortages to cover.

TWC § 13.246(d) allows the Commission to require an applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided.

Staff does not recommend that the Applicant be required to provide a bond or other financial assurance to ensure continuous and adequate service.

TWC §§ 13.246(7) and (9) require the commission to consider the environmental integrity and the effect on the land to be included in the certificate.

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

TWC § 13.246(8) requires the commission to consider the probable improvement in service or lowering of cost to consumers.

The Applicant will continue to provide water service to the existing customers in the area. By amending its current facility line CCN to include areas adjacent to its existing CCN, that are not within any other utility’s service area, there will be no changes in the quality of retail service or cost to the customers for the requested area.

Staff recommends that the Applicant meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service, and approving this application to amend a water  CCN No. 11463 is necessary for the service, accommodation, convenience and safety of the public.

The Applicant consented to the attached map and certificate on May 21, 2020.

Based on the above information, Staff recommends the Commission approve the application, issue an order and provide the attached map and certificate to Yancey Water Supply Corporation. Staff further recommends that the Applicant file certified copies of the CCN maps along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257 (r)-(s).

Application at 138.

See id. at 140.

See id. at 140.

See id. at 144.

See id. at 140.

Application at 139.