## Fixed Assets and Depr
PARK WATER COMPANY - Fixed Assets and Depreciation | [5 empty] | Balance Sheet Account | Life (Yrs) | Annual Depreciation
Engineering Fees for Wastewater Treatment Total of $350,000
Item No. | Description | Quantity | Unit | Unit Cost | Total
1 | Design of Wastewater Facilities | 1 | LS | 320000 | 320000 | 371 | 25 | 12800
2 | TCEQ Report and Inspections | 2 | LS per unit | 15000 | 30000 | 371 | 25 | 1200
1st and 2nd Membrane Bioreactor Unit
|  |  |  | Subtotal | 350000 |  |  | 14000
Wastewater Treatment Facility Total of $1,839,000.00
Item No. | Description | Quantity | Unit | Unit Cost | Total
3 | Smith & Loveless Membrane Bioreactor (Phase I-0.065 MGD) | 2 | EA | 617000 | 1234000 | 371 | 25 | 49360
4 | Oncor Electric Extension & Drop | 1 | Job | 50000 | 50000 | 371 | 25 | 2000
5 | Electrical Disconnect & Panel (sized for all phases) | 1 | LS | 25000 | 25000 | 371 | 25 | 1000
6 | Fencing | 3000 | FT | 15 | 45000 | 334 | 15 | 3000
7 | Flow Meters (influent and effluent) | 1 | EA | 22500 | 22500 | 363 | 10 | 2250
8 | Wet Well 12-foot Diameter Fiberglass | 1 | LS | 50000 | 50000 | 364 | 25 | 2000
9 | Main Lift Station | 1 | LS | 48000 | 48000 | 364 | 25 | 1920
(Smith &Loveless -revised 2 pump)
10 | UV Disinfection In-Line | 1 | LS | 30000 | 30000 | 373 | 5 | 6000
11 | 150K GST Reuse | 150000 | Gal. | 1.5 | 225000 | 371 | 25 | 9000
(Polytank Temporary)
12 | Wet Well Reuse Packaged Pumps Gicon (for movement to pressure tank for irrigation) | 1 | LS | 50000 | 50000 | 364 | 25 | 2000
13 | In Plant Lift Station Force Main 6-Inch PVC (Lift Station to Inlet of Treatment Unit) | 1500 | FT | 15 | 22500 | 364 | 25 | 900
14 | Sludge Pump & Piping for Disposal | 1 | LS | 15000 | 15000 | 368 | 10 | 1500
15 | 10-Inch Piping to Discharge Point @ Draw | 1100 | FT | 22 | 22000 | 380 | 50 | 440
|  |  |  | Subtotal | 1839000 |  |  | 81370
| Total Wastewater |  |  |  | 2189000 |  | 22.9527 | 95370
The asset classes may be adjusted further based on accountant's analysis. Depreciation lives may increase up to an average of 33 years.
Engineering Fees for Water Treatment Total of $90,000
Item No. | Description | Quantity | Unit | Unit Cost | Total
1 | Phasing Design | 1 | LS | 25000 | 25000 | 307 | 30 | 833.3333
Obtain TCEQ Approval
2 | Design of Water Facilities | 1 | LS | 35000 | 35000 | 307 | 30 | 1166.6667
3 | Inspections and TCEQ Reverse Osmosis Checklist Report | 1 | LS | 30000 | 30000 | 307 | 30 | 1000
|  |  |  | Subtotal | 90000 |  |  | 3000
Cost for Well Development Total of $511,600
Item No. | Description | Quantity | Unit | Unit Cost | Total
4 | Well Drilling | 2 | EA | 100000 | 200000 | 307 | 30 | 6666.6667
(16-in bore, 10-in casing, stainless steel screen)
5 | Well Pumps (submersible) | 2 | EA | 17500 | 35000 | 310 | 10 | 3500
6 | Discharge Ductile Iron Flange Fittings, Piping, Valves | 2 | EA | 14100 | 28200 | 307 | 30 | 940
7 | Flow Meter | 2 | EA | 10000 | 20000 | 328 | 10 | 2000
8 | 6-inch Well Discharge Piping to Header Line | 600 | FT | 22 | 13200 | 307 | 30 | 440
9 | Well Fencing (chain link) | 1500 | FT | 15 | 22500 | 334 | 15 | 1500
10 | Access Road to Wells | - | - | - | -
(Strip-Paved Double Seal Coat)
11 | Access Road to Wells | 1000 | CY | 75 | 75000 | 308 | 50 | 1500
(Caliche Base)
12 | Oncor Electrical | 2 | EA | 25000 | 50000 | 307 | 30 | 1666.6667
Drops from Power Company
13 | Electrical- Well Panels | 2 | EA | 16000 | 32000 | 310 | 10 | 3200
14 | Chlorinated Gravel Pack | 14 | CY | 550 | 7700 | 308 | 50 | 154
15 | Concrete Foundation Pad | 2 | LS | 14000 | 28000 | 308 | 50 | 560
|  |  |  | Subtotal | 511600 |  |  | 22127.3333
Water Treatment Facility Total of $1,180,000
Item No. | Description | Quantity | Unit | Unit Cost | Total
16 | 75k Ground Storage Tank (GST) – Black Poly NSF61 Raw Water Dosing Tank | 75000 | Gal. | 1.25 | 93750 | 322 | 50 | 1875
17 | 250k GST – Treated Water Tank (welded steel) | 250000 | Gal. | 1.25 | 312500 | 322 | 50 | 6250
18 | 75K GST – Concentrate Water Tank (welded steel) | 75000 | Gal. | 1.25 | 93750 | 322 | 50 | 1875
19 | 10k Hydropneumatics Pressure Tank & Air Compressor Controls | 1 | LS | 35300 | 35300 | 320 | 30 | 1176.6667
20 | Duplex Booster Pumps w/ Variable Frequency Drives (VFD) (feeding Hydro tank) | 1 | LS | 32000 | 32000 | 314 | 30 | 1066.6667
21 | Sch 80 PVC Reverse Osmosis piping, fittings, valves, static mixers, etc. | 1 | Job | 22000 | 22000 | 318 | 20 | 1100
22 | Uni-Strut Frame Piping Support & Brackets | 1 | Job | 2500 | 2500 | 318 | 20 | 125
23 | pH Inline Probe for Caustic Adjustment | 1 | LS | 3500 | 3500 | 318 | 20 | 175
24 | Flow Meter | 2 | EA | 6500 | 13000 | 307 | 30 | 433.3333
25 | Oncor Electrical Extension & Drop | 1 | Job | 50000 | 50000 | 314 | 30 | 1666.6667
26 | Electrical Wiring | 1 | LS | 30000 | 30000 | 314 | 30 | 1000
27 | Pump Control Valves | 2 | EA | 3500 | 7000 | 314 | 30 | 233.3333
28 | Booster Pump Piping | 1 | LS | 20000 | 20000 | 314 | 30 | 666.6667
29 | Building for Booster Station & Reverse Osmosis Treatment | 1200 | SF | 36 | 43200 | 304 | 30 | 1440
30 | Tank Controls | 2 | EA | 9000 | 18000 | 307 | 30 | 600
31 | Standby Generator w/ Auto Switch | 1 | LS | 30000 | 30000 | 307 | 30 | 1000
32 | Chlorine Cylinders | 3 | EA | 1000 | 3000 | 315 | 5 | 600
(150lb bottles)
33 | Chlorine Gas System (Leak Detector, Pump, Switchover, Ejector Set-up) | 1 | LS | 5000 | 5000 | 316 | 20 | 250
34 | Fiberglass Chlorine Building | 1 | LS | 16000 | 16000 | 304 | 30 | 533.3333
35 | JM Eagle Containment Pallet | 3 | EA | 100 | 300 | 315 | 5 | 60
36 | Grundfos Chemical Pump (Antiscalant & Caustic) | 2 | EA | 3500 | 7000 | 318 | 20 | 350
37 | 55-Gallon Drum of Treatment Chemical (Antiscalant and Caustic) | 2 | EA | 1600 | 3200 | 315 | 5 | 640
38 | 8-Inch Water Header Line into Treatment | 1500 | FT | 16 | 24000 | 307 | 30 | 800
39 | Treatment Facility Concrete Foundation Pad (Included in Bldg. Cost) | - | LS | - | -
40 | SCADA Control System | 1 | LS | 25000 | 25000 | 307 | 30 | 833.3333
41 | Reverse Osmosis Water Treatment Unit (200gpm) – Toray Membranes | 2 | EA | 130000 | 260000 | 307 | 30 | 8666.6667
42 | Plant Piping | 1 | Job | 30000 | 30000 | 307 | 30 | 1000
|  |  |  | Subtotal | 1180000 |  |  | 34416.6667
| Total Water |  |  |  | 1781600 |  | 29.9207 | 59544
The asset classes may be adjusted further based on accountant's analysis. Depreciation lives may increase up to an average of 33 years.