# PUC Interoffice Memorandum

To:	Patrick Todd, Attorney

Legal Division

# Thru:	Heidi Graham, Manager

Water Utility Regulation Division

From	Greg Charles, Engineer

Water Utility Regulation Division

Date:	July 8, 2019

Subject: 	Docket No. 49366: Petition of Frost Bank National Bank, as Trustee of The Freeman Educational Foundation to Amend the City of San Marcos’ Water Certificate of Convenience and Necessity in Hays County by Expedited Release

On March 22, 2019, Frost Bank National Bank, as Trustee of Freeman Educational Foundation, (Frost Bank, Petitioner) filed a petition with the Commission for expedited release from the City of San Marcos’ (City) water Certificate of Convenience and Necessity (CCN) No. 10298 in Hays County, under Texas Water Code (TWC) § 13.254(a-5) and 16 Texas Administrative Code (TAC) § 24.245(l). The Petitioner asserts that the land is at least 25 acres, is not receiving water service, and is located in Hays County, which is a qualifying county.

The Petitioner included a statement indicating a copy of the petition was sent via certified mail to the City, the current holder of CCN No. 10298, on the date the petition was filed with the Commission. On April 22, 2019, the City filed a Motion to Intervene, which was granted by the Administrative Law Judge (ALJ) on April 29, 2019.

The Petitioner submitted an adequate map delineating the requested area for expedited release with enough detail to confirm the accurate positioning of their digital data pursuant to 16 TAC § 24.245(m).  The map and digital data are sufficient for determining the location of the requested release area within the City’s certificated area. Mapping Staff was able to confirm the acreage of the subject properties, and determined that the requested area is located within the City’s water CCN. Furthermore, the Petitioners provided a warranty deed confirming the Petitioner’s ownership of the tract of land within the City’s certificated service area. In addition, the Petitioner submitted a notarized affidavit attesting that the property is not receiving water services from the CCN holder. The area requested for expedited release is approximately 525 acres.

Staff recommends that there is no useless or valueless property, in accordance with 16 TAC § 24.245(n)(3). Staff further recommends that a compensation proceeding is not necessary, if the Commission determines that there is no useless or valueless property, pursuant to 16 TAC § 24.245(n)(7).

In accordance with Chapter 13 of the TWC and 16 TAC § 24.245, the Petitioner has met the Commission’s requirements to allow for the release of the requested area from the City’s CCN No. 10298.  Therefore, Staff recommends approval of the petition.  Enclosed is a final map and certificate for Commission approval.