SOAH DOCKET NO. 473-19-3864

PUC DOCKET NO. 49421

| APPLICATION OF CENTERPOINT ENERGY HOUSTON ELECTRIC, LLC FOR AUTHORITY TO CHANGE RATES | § § § | BEFORE THE STATE OFFICE OF ADMINISTRATIVE HEARINGS |
| --- | --- | --- |

##### DIRECT TESTIMONY OF

##### BLAKE P. IANNI

INFRASTRUCTURE AND RELIABILITY DIVISION

PUBLIC UTILITY COMMISSION OF TEXAS

JUNE 12, 2019
TABLE OF CONTENTS

I.	 STATEMENT OF QUALIFICATIONS	3

II. PURPOSE OF TESTIMONY	3

III. TRANSMISSION INVESTED CAPITAL	6

IV. DISTRIBUTION INVESTED CAPITAL	7

V. OPERATIONS & MAINTENANCE EXPENSES	8

VEGETATION MANAGEMENT	8

LINE CLEARANCE PROJECT	12

VI. SUMMARY & CONCLUSION	14

ATTACHMENTS

BPI-1 Qualifications of Blake P. Ianni

BPI-2 List of Dockets Containing Testimony of Blake P. Ianni

BPI-3 16 Texas Administrative Code § 25.231(c)(2)(A)

BPI-4 CenterPoint’s Response to Staff’s 5-01 & 5-09

BPI-5 Tree Trimming Spending Table (from WP RMP-1)

BPI-6 CNPT’s Response to Staff RFI 6-22

I.	 STATEMENT OF QUALIFICATIONS

Q. 	Please state your name, occupation, and business address.

A. 	My name is Blake P. Ianni. I am employed by the Public Utility Commission of Texas (Commission) as an Engineering Specialist in the Infrastructure and Reliability Division. My business address is 1701 North Congress Avenue, Austin, Texas 78701.

Q. 	Please briefly outline your educational and professional background.

A. 	I have a Bachelor of Science degree in Petroleum Engineering and a Master of Business

Administration degree with a concentration in Engineering and Technology. Prior to graduate school, I worked as an engineer for an energy service company. I have been employed by the Commission since December 2016. A more detailed summary of my experience is provided in Attachment BPI-1.

Q. 	Are you a registered professional engineer?

A. 	No, I am an Engineer in Training (EIT), and my Texas EIT certification number is 59094.

Q. 	Have you previously filed testimony before the Commission?

A.	Yes. A list of the dockets in which I have testified is provided as Attachment BPI-2.

II. PURPOSE OF TESTIMONY

Q. 	Please briefly describe the application in this docket.

A.	In this docket (“the Application”) CenterPoint Energy Houston Electric, LLC (CEHE) is seeking approval from the Commission to change its utility base rates for its service area. CEHE will be referred to as the “Company” in this testimony.

Q. 	What is the purpose of your testimony in this proceeding?

A. 	The purpose of my testimony is to present recommendations concerning several land costs CEHE has requested to capitalize as well as certain tree trimming costs it is seeking to recover. Additionally, I provide a recommendation on a particular line clearance project the Company seeks to capitalize. Staff witness Mr. Tom Sweatman outlines several other transmission invested capital recommendations in his testimony.

Q. 	What regulations have you referred to in making your evaluation and arriving at your conclusions and recommendations?

A.	I have referred to 16 Texas Administrative Code (TAC) § 25.231(c)(2)(A), which I have included here as Attachment BPI-3 and PURA §53.054(a).

Q. 	What else did you rely upon to reach your conclusions?

A. 	I have relied upon the Application, intervenor testimony, and the Company’s responses to requests for information (RFIs).

Q. 	What issues identified by the Commission in the Preliminary Order of this docket will you address?

A.	In my testimony, I partially address the following issues which the Commission identified in the Preliminary Order:

4. What revenue requirement will give CenterPoint a reasonable opportunity to earn a reasonable return on its invested capital used and useful in providing service to the public in excess of its reasonable and necessary operating expenses?

8. What is the appropriate overall rate of return, return on equity, and cost of debt for CenterPoint? When answering this issue, please address how the factors specified in PURA § 36.052 and 16 TAC § 25.231(c)(1) should affect CenterPoint's rate of return.

10. What are the reasonable and necessary components of CenterPoint's rate base?

11. What is the original cost of CenterPoint's property used and useful in providing service to the public at the time the property was dedicated to public use? What is the amount, if any, of accumulated depreciation on that property?

14. Is CenterPoint seeking the inclusion of construction work in progress? If so,

a. what is the amount sought and for what facilities; and

b. has CenterPoint proven that the inclusion is necessary to the financial integrity of the electric utility and that major projects under construction have been efficiently and prudently planned and managed; or

c. for transmission investment required by the Commission under PURA § 39.203(e), do conditions warrant the inclusion of construction work in progress for such transmission investment?

21. What are CenterPoint's reasonable and necessary operations and maintenance expenses?

39. What post-test-year adjustments for known and measurable changes to historical test-year data for expenses, if any, should be made? For any such adjustments, have all the attendant impacts on all aspects of CenterPoint's operations (including, but not limited to, revenue, expenses, and invested capital) been identified with reasonable certainty, quantified and matched?

Q.	How is your testimony organized?

A. 	My testimony begins in Section I with a statement of my qualifications. In Section II, I discuss the purpose of my testimony, and in Section III, I discuss one expense the Company incorrectly classified as transmission invested capital. Section IV addresses several distribution invested capital projects, and Section V contains my additional recommendations, including a reduction in the Company’s annual vegetation management request and a capital disallowance of a multi-year line clearance project. My conclusions are summarized in Section VI.

Q. 	Have you prepared any attachments related to your testimony?

A. 	Yes, Attachments BPI-1, BPI-2, BPI-3, BPI-4, BPI-5 and BPI-6.  These include my qualifications, a list of dockets in which I have previously testified, a copy of 16 TAC § 25.231(c)(2)(A), CEHE’s response to Staff RFI 5-01 and 5-09, CEHE’s tree trimming spending from 2011-2018, and CEHE’s response to Staff RFI 6-22.

III. TRANSMISSION INVESTED CAPITAL

Q. 	What is the total amount of transmission capital that CEHE is requesting to include in rate base in this proceeding?

A. 	CEHE seeks to include $2,976,932,000 of transmission invested capital in rate base in this proceeding.

Q. 	Based on your analysis, are there any costs that you recommend be disallowed from CEHE’s proposed transmission invested capital?

A.	Yes, I recommend the disallowance of $8,160 from transmission invested capital. CEHE, in response to Staff’s RFI 5-9, stated that it erroneously classified this project, known as ‘GRP 855 LAND RIGHTS,’ as a 2010 capital cost when it should have been classified as an expense in that year.

Q.	From which FERC accounts should this cost be removed?

A.	This project cost of $8,160 should be removed from FERC 350: Land and Land Rights. Since this project was outside of the 2018 test year, I am recommending full disallowance of the amount, not merely reclassifying it to another FERC account.

Q.	Do you have any other recommendations regarding transmission invested capital?

A.	No. Staff witness Mr. Sweatman provides additional recommendations concerning transmission invested capital in his testimony.

IV. DISTRIBUTION INVESTED CAPITAL

Q. 	What is the total amount of distribution invested capital that CEHE is requesting to include in rate base in this proceeding?

A. 	CEHE seeks to include $6,530,071,000 of distribution invested capital in rate base in this proceeding.

Q.	Based on your analysis, are there any costs that you recommend be disallowed from CEHE’s proposed distribution invested capital? Please explain.

A.	Yes, I recommend the disallowance of a total of $6,795,685.47, spread across several projects, because they were for land costs of properties that do not yet contain energized electric facilities. In its response to Staff RFI No. 5-9, CEHE outlines three land costs for three separate substation projects currently under construction. CEHE states that the expected completion dates for these three projects are in late 2019 or early 2020. I have outlined these projects in Table 1 below, along with which Application workpaper they can be located.

Table 1. Distribution Invested Capital Recommendations.

| Application Workpaper | Asset Description | Cost- based on Plant in Service Column |
| --- | --- | --- |
| WP RMP-2 2018 Capital Project List Detail | GRP 340 LAND OWNED IN FEE | $1,192,280.29 |
| WP RMP-2 2017 Capital Project List Detail | GRP 868 LAND OWNED IN FEE | $2,000,953.89 |
| WP RMP-2 2018 Capital Project List Detail | GRP 823 LAND OWNED IN FEE | $3,602,451.29 |
|  | Total Disallowance (remove from FERC 360.01) | $ 6,795,685.47 |

Pursuant to 16 TAC § 25.231(c)(2), “The rate base, sometimes referred to as invested capital, includes as a major component the original cost of plant, property, and equipment, less accumulated depreciation, used and useful in rendering service to the public.” Due to the fact that these projects include only land, without energized facilities, they are not considered used and useful. Therefore, I recommend that the $6,795,685.47 be removed from FERC 360: Land and Land Rights.

V. OPERATIONS & MAINTENANCE EXPENSES

## VEGETATION MANAGEMENT

Q.	What is “vegetation management”?

A.	Vegetation management (VM) are those activities associated with the trimming, removal, and control of plant vegetation on electric utility right-of-way (ROW) to establish and maintain appropriate clearances between vegetation and electric facilities. VM is very important for the safety of utility personnel, customers, and the general public and is necessary to maintain reliable electric service.

Q. 	What was CEHE’s total expenditure for tree trimming during the 2018 test year?

A.	CEHE spent approximately of $35.02M on tree trimming operations and maintenance (O&M) during the test year.

Q.	How do the tree trimming costs for the test year compare to the Company’s historical tree trimming costs since its last rate case?

A.	From 2011 to 2017, the Company’s annual tree trimming costs ranged from approximately $22.94M to a maximum of $29.45M in 2016. The chart below highlights the test year costs in comparison to CEHE’s spending in prior years since its last rate case.

Median=$27.47M

As shown, the 2018 costs were $5.57M more (18.9% higher) than the Company’s previous highest spending, which occurred in 2016. The median cost that the Company spent on tree trimming from 2011-2018 was approximately $27.47M, and the average spent during this same timeframe was $27.81M.

Q. 	Did CEHE attempt to explain why its 2018 distribution tree trimming costs were so much higher than 2017 and prior years?

A.	Yes. In WP RMP-1, one of the reasons CEHE stated its expenses increased was due to a 50% increase in contractor bid prices from 2014 to 2017. Additionally, CEHE stated that it has built on average 171 miles of distribution every year for the past 8 years, thus increasing the miles of line needing to be maintained. From 2017 to 2018, CEHE placed 167 miles of overhead distribution line into service. Additionally, the Company, in response to Staff RFI 5-1, stated that “In 2017, proactive trimming, reactive trimming and hazard tree removal was halted for a significant time period due to Hurricane Harvey,” which attributed in part to the higher $35.02M tree trimming expense for 2018.

Q:	Do you believe that CEHE’s 2018 tree trimming expenses are representative of the annual level of tree trimming expenses it will require going forward?

A:	No, I do not believe that CEHE’s 2018 tree trimming costs are a reasonable representation of the annual tree trimming costs it will require going forward. While the Company is requesting the $35.02M for tree trimming O&M to be approved in its annual revenue requirement, it has acknowledged that many of the tree trimming practices had to be placed on hold in 2017 due to Hurricane Harvey. This partially explains the large difference between the $27.90M spent in 2017 versus the roughly $7.12M more it spent in 2018 on tree trimming. As the table provided in WP RMP-1 highlights, the majority of this increase was due to CEHE increasing its proactive tree trimming from $21.73M to $28.02M for these two years. Based on the evidence, it is clear that much of the 2017 proactive trimming was postponed until 2018. Thus, I conclude that the proactive tree trimming Company spent in 2018 is unusual and not reasonable to use to set rates in this docket.

Q: 	What is your recommendation on CEHE’s annual revenue requirement for vegetation management?

A.	I recommend that the CEHE’s tree trimming annual budget be set at $31,640,000, which represents a $3.38M reduction from their original request in this Application. For the aforementioned reasons, I am recommending that a more reasonable annual revenue requirement for proactive tree trimming be used by taking the average of what the Company spent in this category for the past 3 years (2016-2018). Using this average reduces the proactive tree trimming allowance from the proposed $28.02M to $24.64M annually. Due to the fact that CEHE’s test year spending for Hazard Tree Removal and Reactive Tree Trimming ($620,000 and $6.38M, respectively) generally align with amounts from prior years, I have not recommended any adjustments to these figures. Adding these 2018 hazard and reactive costs to the three year proactive average, I arrived at my recommended total distribution tree trimming cost of $31.64M.

Q.	Are you arguing that CEHE’s 2018 expenses on tree trimming were unreasonable?

A.	No. However, as outlined above, I am arguing that it is unreasonable to utilize the total 2018 tree trimming expenses as a basis for the Company’s annual revenue requirement. It is important to note that, in the event that Staff’s proposed $31.64M annual budget is approved, it will still represent a net increase of $2.19M in tree trimming spending over the previous highest annual spending during years 2011-2017.

## LINE CLEARANCE PROJECT

Q.	Do you have any additional disallowances?

A.	Yes. CEHE is seeking to capitalize a project listed as “Project Number HLP/00/1055,” and described in the WP RMP-2 Capital Project List Summaries (years 2014-2017) as follows: “'Distribution line clearance corrections between transmission and distribution facilities to meet National Electrical Safety Code (NESC) requirements.” In response to Staff RFI 6-22, CEHE clarified that this project represents its Lidar transmission clearance program, in which approximately 20% of its transmission lines are surveyed annually for clearance issues. These project costs should have been categorized as O&M expenses instead of capitalized items.

Q. 	Why do you conclude that these Project 1055 expenses are O&M expenses?

A.	In its response to Staff RFI 6-22, the Company stated that these expenses were incurred for work on existing transmission and distribution lines, but that it was unable to provide specific in-service dates for when the various lines were originally built. Due to the fact that these expenses represent an on-going project for work on existing lines to maintain compliance with NESC clearance standards, they are more appropriately categorized as O&M. In my assessment, capitalizing this project would incorrectly enable the Company to earn a rate of return on foreseeable, recurring O&M expenses, and as mentioned above, these costs are incurred as a result of work CEHE does on a certain percent of its system each year.

Q.	What are the costs of this project, and to what FERC accounts are these costs currently assigned?

A.	The total $19,376,931 amount for this project was incurred over the three-year period from 2014-2017, as previously noted. This lump sum is comprised of hundreds of itemized work orders which CEHE has provided broken down annually, and further, biannually, in detailed project lists for those years. However, due to the sheer scope of the master project label, I was unable to determine from the voluminous spreadsheets: 1) the exact amounts of the approximately $19.4M project that were assigned to distribution as opposed to  transmission, and 2) more specifically, the exact amounts that were charged to specific distribution and transmission FERC accounts. The information was not provided in the response to Staff RFI 6-22, and I am therefore recommending the total project costs be split 50/50 between distribution and transmission. Further, I recommend that a total of roughly $9.7M be removed from the distribution FERC accounts 364 and 365, in equal parts, and the remaining approximately $9.7M be removed from transmission FERC accounts 355 and 356, in equal parts.

Q.	Explain why you concluded that these four FERC accounts were the appropriate accounts to remove the project costs from.

A.	I selected these four accounts based on the description of the project in the RFI 6-22 response and because the evidence in the voluminous workpapers indicates that the company charged a number of the hundreds of work orders associated with this “Project 1055” to these accounts. For the transmission aspect, FERC 355 is for poles and fixtures and FERC 356 is for overhead conductors and devices. Similarly, for the distribution aspect, FERC 364 is reserved for poles, towers, and fixtures, while FERC 365 is for overhead conductors and devices.  I equally divided my recommended disallowance among these four transmission and distribution accounts and am recommending a total of         $4,844,232.75 be removed from each account. Since the costs were all incurred prior to the 2018 test year, I am recommending they be disallowed instead of being reclassified to an O&M FERC account.

VI. SUMMARY & CONCLUSION

Q. 	Please summarize the conclusions that you have reached as a result of your analysis.

A. 	Based on my analysis, I am recommending the following:

- that $6,795,685.47 be removed from Distribution Invested Capital, because these costs represent land costs for facilities not yet in service;

- that $8,160 be removed from Transmission Invested Capital, because the Company stated this was miscategorized and should have been classified as an expense during a prior, non-test year;

- that CEHE’s $35.02M annual tree trimming request be reduced by $3.38M to $31.64M, because this is a more reasonable assessment of its requirement based on historical data; and

- that an approximately $19.4M project be removed from transmission and distribution invested capital, because the project represents on-going corrections to line clearances, which are more appropriately treated as O&M.

Q. 	What are the total amounts of your recommended disallowances by FERC account?

A. 	The FERC accounts associated with my recommended disallowances are summarized in Table 2 below.

Table 2. Summary of Recommendations.

| Disallowance | Project | Remove from FERC Account | Explanation |
| --- | --- | --- | --- |
| $4,844,232.75 | Transmission Part of HLP/00/1055 | FERC 355 | Incorrectly capitalized since O&M expense |
| $4,844,232.75 | Transmission Part of HLP/00/1055 | FERC 356 | Incorrectly capitalized since O&M expense |
| $4,844,232.75 | Distribution Part of HLP/00/1055 | FERC 364 | Incorrectly capitalized since O&M expense |
| $4,844,232.75 | Distribution Part of HLP/00/1055 | FERC 365 | Incorrectly capitalized since O&M expense |
| $8,160.00 | GRP 855 LAND RIGHTS-2010 | FERC 350 | CEHE acknowledged it incorrectly capitalized this expense |
| $6,795,685.47 | 3 Land Owned in Fee projects 2017-2108 | FERC 360 | Land without energized facilities |
| $3,380,000.00 | Reduction in Annual VM Request | FERC 593 | Reducing tree trimming annual request from $35.02M to $31.64 |

Q. 	How were your recommended disallowances used by other Staff witnesses?

A. 	Staff witness Mark Filarowicz used my disallowances to adjust the total plant in service amounts for transmission and distribution and to adjust the annual revenue requirement.

Q. 	Does this conclude your testimony?

A. 	Yes.

# ATTACHMENT BPI-1

# Qualifications of

# Blake P. Ianni

BPI-1 Qualifications of Blake P. Ianni

In December 2012, I graduated from the University of Texas at Austin with a Bachelor of Science in Petroleum Engineering as well as a Certificate in Business Foundations. In May 2016, I earned a Master in Business Administration with a concentration in Engineering & Technology from Texas State University.

Upon completing my undergraduate degree, I worked for Halliburton, an oilfield service company, as a cement engineer in West Texas. In this position, I worked as part of a rapid response team, resolving critical issues to achieve field objectives. My primary duties included creating and managing lab testing requests based on technical specifications and customers’ contractual requirements. I was responsible for analyzing and validating lab results and altering the product mix as needed to meet Texas Railroad Commission requirements and Company standards. Additionally, I provided engineering support to the field team, making technical judgement calls and clarifying and investigating any issues related to the pumping job.

In 2014, after a year of working as an associate level engineer (Associate Technical Professional), I was promoted to Technical Professional within the Cement Engineering Department.

In August 2014, I began attending Texas State University. My graduate business coursework emphasized statistical analysis as part of the Engineering & Technology concentration, and I completed my MBA in 2016. I began working in my current role as an Engineering Specialist at the Commission in December 2016.

# ATTACHMENT BPI-2

# List of Dockets Containing Testimony of Blake P. Ianni

Docket No. 45414

SOAH 473-16-4051

Review of the Rates of Sharyland Utilities, LP, Establishment of Rates for Sharyland Distribution and Transmission Services, LLC, and Request for Grant of a Certificate of Convenience and Necessity and Transfer of Certificate Rights

Docket No. 46449

SOAH 473-17-1764

Application of Southwestern Electric Power Company for Authority to Change Rates

Docket No. 46726

SOAH 473-17-3245

Application of Sharyland Utilities LP to Amend a Certificate of Convenience and Necessity for the Stiles to Coates 138-kV Transmission Line in Reagan

Docket No. 46929

SOAH 473-17-4390

Application of Rayburn County Electric Cooperative, Inc. to Amend its Certificate of Convenience and Necessity for the Dent Road Expansion to Wieland Switch 138-kV Transmission Line in Hunt County, Texas

Docket No. 47003

SOAH 473-17-4267

Application of Entergy Texas, Inc. to Amend its Certificate of Convenience and Necessity for a Proposed 230-kV Transmission Line in Jefferson County

Docket No. 47192

SOAH 473-17-5286

Application of Pedernales Electric Cooperative, Inc. to Amend a Certificate of Convenience and Necessity for the Highway 32 to Wimberley Transmission Line Rebuild and Upgrade Project in Hays County

Docket No. 47462

SOAH 473-18-0626

Application of Entergy Texas, Inc. to Amend its Certificate of Convenience and Necessity for a 230-kV Transmission Line in Montgomery and Walker Counties

Docket No. 47808

SOAH 473-18-1930

Joint Application of Oncor Electric Delivery Company LLC and Brazos Electric Power Cooperative, Inc. to Amend Certificates of Convenience and Necessity for the Cogdell to Clairemont 138-kV Transmission Line in Kent and Scurry Counties

Docket No. 48231

SOAH 473-18-3078

Application of Oncor Electric Delivery Company LLC for a Distribution Cost Recovery Factor

Docket No. 48401

SOAH 473-18-3981

Application of Texas-New Mexico Power Company for Authority to Change Rates

Docket No. 48358

SOAH 473-18-5064

Application of LCRA Transmission Services Corporation to Amend its Certificate of Convenience and Necessity for the Proposed Cooks Point 138-kV Transmission Line Project in Burleson County, Texas

Docket No. 48785

SOAH 473-19-1265

Joint Application of Oncor Electric Delivery Company LLC, AEP Texas, Inc., and LCRA Transmission Services Corp. to Amend their Certificates of Convenience and Necessity for 345 kV Transmission Lines in Pecos, Reeves and Ward Counties, Texas (Sand Lake to Solstice and Bakersfield to Solstice), Consolidated Docket Number 48785

Docket No. 48625

SOAH 473-19-1445

Joint Application of Sharyland Utilities, L.P., and the City of Lubbock, acting by and through Lubbock Power & Light, for Certificate of Convenience and Necessity for the Ogallala to Abernathy 345 kV Transmission Line in Castro, Hale, and Swisher Counties

Docket No. 48929

Joint Report and Application of Oncor Electric Delivery Company LLC, Sharyland Distribution and Transmission Services LLC, Sharyland Utilities LP, and Sempra Energy for Regulatory Approvals under PURA §§ 14.101, 37.154, 39.262 and 39.915

ATTACHMENT BPI-3

16 TAC § 25.231(c)(2)(A)

16 Texas Administrative Code § 25.231(c)(2)(A)

ATTACHMENT BPI-4

CNTP’s Response to Staff RFI 5-01 and 5-09

ATTACHMENT BPI-5

Tree Trimming Spending Table (from WP RMP-1)

* Proactive Tree Trimming includes circuit trim, beneficial removals in easement and hazard tree removals that are found in the course of the proactive circuit trim.

** Hazard Tree Removal includes proactive hazard tree removal and unplanned hazard tree removals not associated with circuit trim.

*** 2011 required amounts for target, based on additional annual expenditures, are prorated beginning Oct 2011 and added to baseline expenditures.

ATTACHMENT BPI-6

CNPT’s Response to Staff RFI 6-22

Application of CenterPoint Energy Houston Electric, LLC for Authority to Change Rates, Preliminary Order (May 19, 2019).

Application Schedule II-B-1, Row 21, col. 8, subtotal Transmission Plant—Gross.

CenterPoint’s Response to Staff RFI 5-9; (May 13, 2019) (Attachment BPI-4).

Application, Schedule II-B-1, Row 41, col. 9, subtotal Distribution Plant—Gross.

CEHE’s Response to Staff 5-9 (May 13, 2019, Attachment BPI-4).

Id.

Application, WP RMP-1(April 5, 2019).

Id. and Attachment BPI-5.

Application, WP RMP-1 at 3.

Id.

CEHE’s Response to Staff RFI 5-1 (May 13, 2019) (Attachment BPI-4).

See Att. BPI-5 for full annual tree trimming spending table.

Application, WP RMP-1.

($24.64M + $0.62M + $6.38M) = $31.64M

Also see ‘WP RMP-2 Capital Project List Detail’ spreadsheets for these years.

See Att. BPI-6.

Id.

Application, WP RMP-2 2014, WP RMP-2 2015, WP RMP-2 2016, and WP RMP-2 2017 (April 5, 2019).

Project Number HLP/00/1055 or “Project 1055”