## Error Chart (RFP)
PFD Number Running Errors (See CenterPoint Houston Electric, LLC's Exceptions to Proposal for Decision, Section XI) (dollars in thousands)
Schedule | CCOSS Cell (s) | Rev Requirement | PFD | CEHE Corrected PFD | Difference | Explanation | CEHE Schedules/WP (Cell Ref)
O&M
II-D-1 | Multiple | O&M | -15012 | -6286 | 8726 | Capitalized STI amount should not be included in the O&M adjustment and book test year difference, see ALJ file O&M tab, columns (1) | See STI Support file
II-D-2 | Multiple | O&M A&G | -9535 | -9129 | 406 | Capitalized STI amount should not be included in the O&M adjustment and book test year difference, see ALJ file O&M tab, columns (1) | See STI Support file
II-D-1 | N/A | O&M | 0 | -352.7517 | -352.7517 | Bad Debt amortization should be shown in FERC 9040 | II-D-1, (G91)
II-D-1 |  | O&M |  | -1203 | -1203 | Wholesale FERC 565 | II-D-1, (G26)
|  | Wholesale difference | 0 | 1855 | 1855 | Wholesale not updated for changes to O&M
Total |  |  | -24547 | -15115.7517 | 9431.2483
Depreciation and Amortization
II-E-1 | F890 | Depreciation on Adj to Remove Capital Project S/101318/CG/Tools | -67 | -118.2612 | -51.2612 | 1. PFD Adjustments not in proper FCA of 3950. Depreciation rate per corrected FCA to be applied. 2. Functionalization Factor should be E39501 instead of DIST | II-E-1, (F66)
II-E-1 | F891 | Depreciation on Adj for Changes to Capitalization Policy | -1609 | -2884.4028 | -1275.4028 | 1. PFD Adjustments not in proper FCAs. CLEP disallowance of ($41,215) in FCA 367.01 and depreciation rate per FCA to be applied. 2. Functionalization Factor should be E36701 instead of TRTBSE 3. Remaining Capital Policy adjustment of ($10,203) - apply composite depreciation rate (3.13%). | II-E-1, (F44)
II-E-1 | F835-836; F847-848 | Line Clearing | -618 | -617.9552 | 0.0448
II-E-1 | F834 | Substations | -30 | -30 | 0
II-E-1 | F892-893 | Depreciation on Adj for Incentive & Non-Qualified Benefits | -314 | 0 | 314
II-E-1 | F849-850 | Depreciation Adj 35% for Major Underground; and Depreciation Adj 10% for CLEP Prudence | -714 | 0 | 714
II-E-4.1 | F882 | Amortization - Expedited Switches | -400 | 0 | 400 | Number Run model applied Texas Margin Tax and Hurricane Harvey adjustments across all regulatory assets | No Adj needed
II-E-4.1 | F883 | Amortization - Hurricane Harvey | -22270 | -2947 | 19323 | Number Run model applied Texas Margin Tax and Hurricane Harvey adjustments across all regulatory assets | II-E-4.1.1, (E14)
II-E-4.1 | F884 | Amortization - Ike Residual | 1394 | 0 | -1394 | Number Run model applied Texas Margin Tax and Hurricane Harvey adjustments across all regulatory assets | No Adj needed
II-E-4.1 | F885 | Amortization - PURA | 20968 | 0 | -20968 | Number Run model applied Texas Margin Tax and Hurricane Harvey adjustments across all regulatory assets | No Adj needed
II-E-4.1 | F886 | Amortization - Smart Meter Texas | -2399 | 0 | 2399 | Number Run model applied Texas Margin Tax and Hurricane Harvey adjustments across all regulatory assets | No Adj needed
II-E-4.1 | F887 | Amortization - Texas Margin Texas | -6787 | -6542.6667 | 244.3333 | Number Run model applied Texas Margin Tax and Hurricane Harvey adjustments across all regulatory assets | II-E-4.1.1, (E18)
|  | Wholesale difference | 0 | -2767 | -2767 | Flow through impact
Total |  |  | -12846 | -15907.2859 | -3061.2859
Schedule | CCOSS Cell (s) | Rev Requirement | PFD | CEHE Corrected PFD | Difference | Explanation | CEHE Schedules/WP (Cell Ref)
TOTI
II-E-2 | F919 | Ad Valorem | -954.5618 | -956.402 | -1.8402 | Errata 1 amount not used | WP II-E-2 Adj 3, (B15)
II-E-2 | F914 | Payroll Related FICA | -2655 | -1957 | 698 | FICA associated with Capitalized and book test year difference STI amount should not be included in the adjustment | WP II-E-2, (D9)
II-E-2 | F914 | Payroll Related FICA | -118 | -118 | 0 | Reduction in workforce
II-E-2 | F928 | Texas Gross Margin | -1228.733 | -400 | 828.733 | Follows revenue; Functionalization needs to be updated with revenue changes.
|  | Wholesale difference | 0 | 19.2279 | 19.2279 | Flow through impact
Total |  |  | -4956.2948 | -3412.1741 | 1544.1207
Income Taxes
II-E-3 |  | Income Taxes | 64439.4312 | 66428.6999 | 1989.2687 | Flow through impact | II-E-3, III-E-3
Other Revenues
II-E-5 | F1028-1033 | Other Revenues | 0 | -815.8981 | -815.8981 | 1. Company requested amounts for each FERC listed is different from Errata-1 2. FERC 4500 - FF changed from DA to FF#74 (FORFEIT_450) 3. FERC 4510 - FF changed from DA to FF#75(MISC_REV_451) 4. FERC 4540 - FF changed from DA to FF#76 (RENT_454) 5. FERC 4560 - FF changed from DA to FF#2 (TRAN) 6. FERC 4561 - FF changed from DA to FF#14 (PLTXGNL-N) 7. Errata 1 number not used | II-E-5, (H15-H19)
Return on Rate Base
II-B |  | Return | 553432.4865 | 561775.1139 | 8342.6274 | Flow through impact | II-B, III-B
Total Revenue Requirement Difference |  |  |  |  | 17430.0812
|  |  |  | Check | -0.31725
(1) sum of the amounts on II-D-1 and II-D-2 ties to O&M tab columns F $22,220 and H $2,327 on Number Run total $24,547
Schedule | CCOSS Cell (s) | Functionalization | PFD | CEHE Corrected PFD | Difference | Explanation
II-B-1 |  | FF # 20 - TRTBSE | TRTBSE | DIST |  | Cable assessment disallowance is distribution (DIST) and should apply FF# 3
II-B-7 |  | DIT Account 283 | DIT_283 | DA |  | Newly created factor did not apply Number Run adjustments
II-D-2 |  | FF # 67 Injuries & Damages | INJ_DAM_925 | DA |  | Newly created factor did not apply Number Run adjustments
II-D-2 |  | FF # 68 Pension & Benefits | PEN_BEN_926 | DA |  | Newly created factor did not apply Number Run adjustments
II-D-3 |  | FERC 586 and 597 | MET | MET |  | Updated to change from DIST to MET function
II-E-2 |  | TMT | TOTREV_PFD | TOTREV_TMT |  | Created FF #66 for Texas Margin Tax functionalization; ALJ new factor used original filing instead of Number Run adjustments.
II-E-2 |  | FF # 72 - Ad Valorem | AD_VALOREM | DA |  | Factors used original filing instead of Number Run adjustments
II-E-4.1 |  | FF # 73 Harvey Regulatory Asset | HARVEY | DA |  | Number Run applied Regulatory Asset to 100% DIST. Correction should follow functionalization on II-B-12 Regulatory Assets as agreed to in Errata 3 filed June 14, Item #549. CCOSS model applied FF # 3 and not newly created #73
II-F |  | FF # 6 - TOTREV | TOTREV | TOTREV |  | Factors used original filing instead of Number Run adjustments
II-F |  | FF # 18 - DPLNT362 | DPLNT362 |  |  | Calculation linked to II-B-5 Accumulated Depreciation instead of II-B-1 Rate Base Accounts - Plant in CCOSS model
II-F |  | Miscellaneous General Expense FERC 930.2 | PFD_9302 | CEHE9302 |  | Number Run Factors are hardcoded percentages and do not account for Number Run Adjustments to this FERC. Created new FF # 79 to apply agreed upon percentages
Schedule | CCOSS Cell (s) | Rate Base | PFD | CEHE Corrected PFD | Difference | Explanation
II-B-3 | F181 | Gross Plant | -2127 | -2127 | 0 | PFD Adjustments not in proper FCA. Tools should be in FERC Account 3940.
II-B-3 | F182 | Gross Plant | -51417.754 | -41215 | -10202.754 | Should be applied to FCA 36701. The Underground Cable Life Extension of $41.2M already included in ALJ adjustment I.A.1. FF# 20 (TRTBSE) used instead of FF # 42 (E36701)
|  |  | 0 | -10203 | 10203 | AP, Property Accounting, Call Center, Microprocessor, Luminaires
II-B-5 | N/A | Accumulated Depreciation | 0 | 9271 | -9271 | Accumulated Depreciation change needs to be calculated on disallowed plant
II-B-6 | E318 | Plant Held For Future Use | 200 | 49 | 151 | Errata-1 Company request not used
II-B-6 | E320 | Plant Held For Future Use | 729 | 880 | -151 | Errata-1 Company request not used
II-B-7 | E341-344 E348-350 | Accumulated Deferred Taxes | 0 | 72365 | -72365 | ADIT on disallowanced plant and regulatory assets. Company requested balance for each FERC is different from Errata - 1
II-B-9 |  | Cash Working Capital | -1980.8168 | -89 | -1891.8168 | Flow through impact; D49421 original filing used instead of Errata - 1
II-B-11 | E451 | Regulatory Liabilities | -60109 | -60642 | 533 | Errata-1 Company request not used
II-B-11 | E452 | Regulatory Liabilities | -6848 | 0 | -6848 | Errata-1 Company request not used
II-B-11 | E456 | Regulatory Liabilities | -712173 | -718489 | 6316 | Errata-1 Company request not used
II-B-12 | F482 | Regulatory Assets | -8855.639 | -8839.837 | -15.802 | Hurricane Harvey Known & Measurable adjustment in original filing removed along with carrying costs. Disallowance should include carrying cost ($8,742) and audit exception ($96)
Total |  |  | -842582.2098 | -759039.837 | -83542.3728

## Error Chart (HIJ CA)
PFD Number Running Errors (See CenterPoint Houston Electric, LLC's Exceptions to Proposal for Decision, Section XI) (dollars in thousands)
Schedule | CCOSS Cell (s) | Allocator | PFD | CEHE Corrected PFD | Difference | Explanation
II-I-2 TRAN | J926 | D2 Actual Allocator - RES | 31137 | 33040 | -1903 | PFD used information from the ERCOT Peak @ Meter instead of the Source
| K926 | D2 Actual Allocator - Sec < 10 | 546 | 579 | -33 | PFD used information from the ERCOT Peak @ Meter instead of the Source
| L926 | D2 Actual Allocator - Sec > 10 | 22686 | 24071 | -1385 | PFD used information from the ERCOT Peak @ Meter instead of the Source
| M926 | D2 Actual Allocator - Primary | 2276 | 2366 | -90 | PFD used information from the ERCOT Peak @ Meter instead of the Source
| N926 | D2 Actual Allocator - Transmission | 9173 | 9341 | -167 | PFD used information from the ERCOT Peak @ Meter instead of the Source
Schedule | Class | Adjustments to IV-J-5 | CEHE Corrected PFD - Adjustment to Billing Determinants | PFD | Difference | Explanation | CEHE PFD Total Billing Units | PFD Total Billing Units | Difference | Unit
IV-J-5 Billing Determinants | Residential kWh | Customer Changes | 214250936 | 0 | 214250936 | Did not update customer change due to weather and EEP. | 29642887054 | 29428636118 | 214250936 | kWh
| SVS (Non-IDR) kWh | Customer Changes | 6737830 | 0 | 6737830 | Did not update customer change due to weather and EEP. | 924195404.948 | 917454733.948 | 6740671 | kWh
| SVL (Non-IDR) | Abnormal Weather
|  | Billing kVa | -678438 | 0 | -678438 | Did not update for abnormal weather.
|  | NCP kVa | -994749 | 0 | -994749 | Did not update for abnormal weather.
Customer Changes
|  | Billing kVa | 880095 | 0 | 880095 | Did not update for customer change.
|  | NCP kVa | 800871 | 0 | 800871 | Did not update for customer change.
|  | EEP | 0 |  |  | Did not update for energy efficiency.
| SVL (IDR) | Abnormal Weather
|  | Billing kVa | -434450 | 0 | -434450 | Did not update for abnormal weather.
|  | NCP kVa | -55905.3757 | 0 | -55905.3757 | Did not update for abnormal weather.
Customer Changes
|  | Billing kVa | 945222 | 0 | 945222 | Did not update for customer change.
|  | NCP kVa | 724189.6622 | 0 | 724189.6622 | Did not update for customer change.
|  | EEP | 0 |  |  | Did not update for energy efficiency.
| PVS (Non-IDR) | Abnormal Weather
|  | Billing kVa | -15880 | 0 | -15880 | Did not update for abnormal weather.
|  | NCP kVa | -15980 | 0 | -15980 | Did not update for abnormal weather.
Customer Changes
|  | Billing kVa | 22608 | 0 | 22608 | Did not update for customer change.
|  | NCP kVa | 19887 | 0 | 19887 | Did not update for customer change.
|  | EEP | 0 |  |  | Did not update for energy efficiency.
| PVS (IDR) | Abnormal Weather
|  | Billing kVa | -74880 | 0 | -74880 | Did not update for abnormal weather.
|  | NCP kVa | -13191.8878 | 0 | -13191.8878 | Did not update for abnormal weather.
Customer Changes
|  | Billing kVa | 276834 | 0 | 276834 | Did not update for customer change.
|  | NCP kVa | 172101.5828 | 0 | 172101.5828 | Did not update for customer change.
|  | EEP | 0 |  |  | Did not update for energy efficiency.
| TVS | CEHE 4CP kVa | 31358775.8125 | 0 | 31358775.8125 | Did not update for CEHE 4CP kVa.
Schedule | Class | Item | CEHE PFD Total Billing Units | PFD Total Billing Units | Difference | Unit
IV-J-7 | Residential | TRANSMISSION and DISTRIBUTION SYSTEM CHARGE | 29642887054 | 29428636118 | 214250936 | kWh
| SVS | TRANSMISSION and DISTRIBUTION SYSTEM CHARGE | 924195404.948 | 917454733.948 | 6740671 | kWh
| SVL | TRANSMISSION SYSTEM CHARGE
|  | IDR METERED | 31267564.65 | 31267564.65 | 0 | 4CP Kva
|  | NON-IDR METERED | 72100984 | 71625494.1602 | 475489.8398 | NCP Kva
DISTRIBUTION SYSTEM CHARGE
Does not include Ratchet for Billing Kva
|  | IDR METERED | 29513330 | 29725495 | -212165 | Billing Kva
|  | NON-IDR METERED | 52591084 | 52307808 | 283276 | Billing Kva
| PVS | TRANSMISSION SYSTEM CHARGE
|  | IDR METERED | 7602788.7951 | 7615992.6602 | -13203.8651 | 4CP Kva
|  | NON-IDR METERED | 1044827 | 1035935.8923 | 8891.1077 | NCP Kva
DISTRIBUTION SYSTEM CHARGE
Includes Ratchet for Billing Kva
|  | IDR METERED | 12247170 | 12278206.153 | -31036.153 | Billing Kva
|  | NON-IDR METERED | 1185678 | 1182768.5514 | 2909.4486 | Billing Kva
| TVS | TRANSMISSION SYSTEM CHARGE | 29796611.8368 | 29796611.8368 | 0 | 4CP Kva
|  | DISTRIBUTION SYSTEM CHARGE | 31358775.8125 | 29796611.8368 | 1562163.9757 | CEHE 4CP Kva

## Base Revenue Summary
PUBLIC UTILITY COMMISSION OF TEXAS
DOCKET NO 49421 (CEHE base-rate case)
TEST YEAR ENDING 12/31/2018 | Errata 1 |  | CEHE Corr Number Run | PFD issued 9/16/19
Proposal for Decision Number Run
BASE REVENUE REQUIREMENTS SUMMARY | CEHE | PFD | Corrected | CEHE | PFD | PFD
(amounts in dollars) | Requested | Adjustment | Adjusted | Requested | Adjustment | Adjusted
Retail Delivery Present Base Revenues | 2095241703 | 1111067 | 2096352770 | 2095600469 | 12175028.9694 | 2107775497.9694
Retail Delivery Proposed Base Revenues | 2284108581 | -107652266 | 2176456315 | 2282203678 | -121544757.1048 | 2160658920.8952
Retail Delivery Increase - $s | 188866878 | na | 80103545 | 186603209 | na | 52883422.9258
Retail Delivery Increase - % | 9.014% | na | 3.821% | 8.905% | na | 2.509%
Wholesale Transmission Present Base Revenues | 388968021 | 0 | 388968021 | 388968021 | 0 | 388968021
Wholesale Transmission Proposed Base Revenues | 392549119 | -52189529 | 340359590 | 395796573 | -57067782.3114 | 338728790.6886
Wholesale Transmission Increase - $s | 3581098 | na | -48608431 | 6828552 | na | -50239230.3114
Wholesale Transmission Increase - % | 0.9207% | na | -12.5% | 1.756% | na | -12.92%
CEHE Total Present Base Revenues | 2484209724 | 1111067 | 2485320791 | 2484568490 | 12175028.9694 | 2496743518.9694
CEHE Total Proposed Base Revenues | 2676657700 | -159841795 | 2516815905 | 2678000251 | -178612539.4161 | 2499387711.5839
CEHE Total Base Revenue Increase - $s | 192447976 | na | 31495114 | 193431761 | na | 2644192.6144
CEHE Total Base Revenue Increase - % | 7.747% | na | 1.267% | 7.785% | na | 0.1059%