## Exhibit_TMC-2_Final
Project Category | Project ID | Project Description | Addition
Asset Improvement | 000007592 | 000007592 - TCC-UG Cable Repl Failure - Reactive replacement of failed underground conductor. | 603912.64
| 000007607 | 000007607 - TCC-Failed Equip No Outage - Reactive replacement of failed overhead or underground equipment in situations where the failure of the unit does not result in an outage. | 9166573.15
| A12102524 | A12102524 Skid StationTC-02 - Purchase a Skid Substation to provide service to new load during the construction of a permanent substation. | 1316380.58
| A12102552 | A12102552 D/TC/ResrvCorpusChristie - Purchase major equipment for the ERCOT Region Major Eq/Spare Program | 303762.17
| A13007152 | A13007152 D/TCC/SantoNino - Replace the 12kV Switch Gear #1 at Santo Nino Substation as part of the asset replacement/refurbishment program to support load growth and enhance reliability. | 934576.82
| A13217599 | A13217599 George West (TX) - This project was undertaken to add new telecommunication infrastructure to convert the existing equipment from analog to digital to improve communications in the George West, Texas area. | 534747.24
| A13217600 | A13217600 Mathis (TX) - This project was undertaken to add new telecommunication infrastructure to convert the existing equipment from analog to digital to improve communications in the Mathis, Texas area. | 592200.73
| A13217603 | A13217603 Pearsall (TX) - Telecom Legacy Project to upgrade from the existing analog lease line for communications purposes. A new router and new telephone MPLS (multi-protocol layer switching) circuit were added. | 552191
| A13217616 | A13217616 Brookhollow Telecom Legacy Project this site is on Verizon Permanent Cellular. This project was undertaken to upgrade the existing equipment from analog to digital to improve communications. | 626463.44
| A13217617 | A13217617 Chase Field Telecom Legacy Project to upgrade from the existing analog lease line for communications purposes. A new router and new telephone MPLS (multi-protocol layer switching) circuit were added. | 444367.57
| A13217618 | A13217618 Live Oak Telecom Legacy Project to upgrade from the existing analog lease line for communications purposes. A new router and new telephone MPLS (multi-protocol layer switching) circuit were added. | 494638.93
| A13217622 | A13217622 Seadrift Coke Telecom Legacy Project - This project was undertaken to add new telecommunication infrastructure to convert the existing equipment from analog to digital to improve communications in the Seadrift Coke area. | 527135.67
| A13217625 | A13217625 Buena Vista - Telecom Legacy Project to upgrade from the existing analog lease line for communications purposes. A new router and new telephone MPLS (multi-protocol layer switching) circuit were added. | 635648.08
| A15707111 | A15707111 Southeast Edinburg - Install Phasor Measurement Unit infrastructure for gathering precise outage data. | 311025.14
| A15707113 | A15707113 South Santa Rosa - Install Phasor Measurement Unit infrastructure for gathering precise outage data. | 116705.89
| A15707117 | A15707117 Replace five 12kV Circuit Breakers at Morris Street Substation. | 367182.59
| A16921003 | A16921003 D/TCC - Purchase a Mobile Substation rated for 69kV and 10 MVA. | 1674174.17
| A18907006 | A18907006 Asphalt Mines - Purchase a Skid Substation to provide service during reconstruction of a failed substation. | 302397.33
| B211TXSRE | B211TXSRE D/TX/Non Specific Station Work - Project primarily used for the replacement of whole battery banks and battery chargers at various distribution substations. | 2829456.11
| DN15X02F0 | DN15X02F0 - Corpus Christi Network Remed - Proactive replacement of downtown electrical network primary and secondary conductor - Corpus Christi Downtown Electrical Network. | 6716484.33
| DN15X02F1 | DN15X02F1 - Victoria Network Remediation - Proactive replacement of downtown electrical network primary and secondary conductor - Victoria Downtown Electrical Network. | 108746.74
| DN15X02F2 | DN15X02F2 - Laredo Network Remediation - Proactive replacement of downtown electrical network primary and secondary conductor - Laredo Downtown Electrical Network. | 5710144.93
| DP13X21A0 | DP13X21A0 - TCC/Nixon-D Line - Substation and distribution work to add four feeders and replace power transformer at Nixon substation to support load growth and reliability. | 376268.26
| DP17X19A0 | DP17X19A0 Project to upgrade and reconductor multiple distribution lines served from the Mesquite Substation. | 205823.89
| DR15X05XX | DR15X05B0 Replace substation switchgear with open air type substation facilities including multiple 12 kV circuit breakers at the distribution Southside Substation to support load growth and enhance reliability. | 3621796
| EDN100067 | EDN100067 - Ds-TCC-Ai Pole Replacement - Replacement of AEP Texas owned poles resulting from inspections for ground rotting - Identification of units to be replaced is a result of the groundline inspection program. | 11074324.11
| EDN100277 | EDN100277 - Ds-TCC-URD Inspect/Remediation - Planned routine capital replacement of the underground distribution system associated with reliability improvement. This includes target 300% SAIFI and SAIDI circuits. Identification of units to be replaced is a result of the ongoing annual inspection program. | 855446.41
| EDN100583 | EDN100583 - Ds-TCC-Ai Ckt Inspections - Planned routine capital replacement of the overhead distribution system associated with reliability improvement. This includes target 300% SAIFI and SAIDI circuits, outage driven overhead rehab, etc. Identification of units to be replaced is a result of the ongoing annual inspection program. | 1109698.31
| EDN100773 | EDN100773 TC-Small Capacity - Proactive replacement of deteriorated sections of #1/0 and smaller underground conductor. | 229605.35
| IT211BILL | IT211BILL Corp Program Billing - Implementation of Oracle Software. | 8792042.37
| SI211TXRE | SI211TXRE - DB/SI/TC - TEXAS SYS REHAB - This is a program to target functional groups of assets for replacement at AEP Texas. | 4502588.21
| TX16POLRE | TX16POLRE TCC 2016 Pole Reinforcement Program - Reinforcement of AEP Texas owned poles resulting from inspections for ground rotting - Identification of units to be replaced is a result of the groundline inspection program. | 1455545.13
Asset Improvement Total |  |  | 67092053.29
Customer Service | 000005287 | 000005287 - AEPTCCo-D Capital Software Dev/Corporate Initiative/major software upgrades/replacement of vintage system. | 11401487.01
| 000007567 | 000007567 - TCC-PQ-QOS Mitigation - Reactive replacement of overhead or underground distribution equipment to correct a power quality or quality of service issue. | 682153.19
| 000007623 | 000007623 - TCC-Cust Req Relocate -Installation of overhead or underground distribution facilities to accommodate expansion or modification of customer owned facilities. | 679978.75
| D14065001 | D14065001 Harbor Bridge - Installation of new Distribution line facilities to accommodatethe Harbor Bridge project. TXDOT does not reimburse for facility adjustments when the existing facilities were located within the highway right of way. | 909453.29
| DP15X06A0 | DP15X06A0 - Distribution line work to serve North American Coal Mine. | 121151.23
| DP15X23A0 | DP15X23A0 - Installation of new feeders at Gateway Substation to accommodate a TXDOT road improvement project. TXDOT does not reimburse for facility adjustments when the existing facilities were located within the highway right of way. | 772142.26
| DP16X06XX | DP16X06A0 Haisley Sub- Construct new distribution facilities for the Haisley Substation project. Provides service to a new customer. | 1623709
| DP9TC03XX | DP9TC030A - Substation and distribution work to add 3 feeders and power transformer at the new Joslin substation to support load growth and enhance reliability. | 2759945
| EDN100021 | EDN100021 - Ds/TCC/Residential New - Installation of overhead and/or underground distribution facilities to provide service to new residential customer installations. Includes the installation of street lighting. | 13239374.42
| EDN100025 | EDN100025 - Ds/TCC/Residential Upgrade - Replacement or installation of overhead and/or underground distribution facilities to provide service to existing residential customer installations where load has been added. | 799170.39
| EDN100039 | EDN100039 - Ds/TCC/C&I New - Installation of overhead and/or underground distribution facilities to provide service to new commercial or industrial customer installations. | 10738542.14
| EDN100050 | EDN100050 - Ds/TCC/C&I Upgrade - Replacement or installation of overhead and/or underground distribution facilities to provide service to existing commercial/industrial customer installations where load has been added. | 1213361.44
| EDN100088 | EDN100088 - Ds-TCC-Ai Oth Make Ready - The replacement or installation of overhead distribution facilities to accommodate Third Party facilities on AEP Texas poles. | 271350.15
| EDN100096 | EDN100096 - Ds/TCC/Public Relocation - Installation of distribution facilities to accommodate a city, state, and/or federal government infrastructure improvement project such as road widening and/or roadway improvements. TXDOT does not reimburse for facility adjustments when the existing facilities were located within the highway right of way. | 1618916.74
| EDN100479 | EDN100479 - Customer Meter/TCC - Purchase and installation of electric usage meters and metering equipment. | 13496467.66
| EDN101120 | EDN101120 - Ds-TCC-AI-C&I Third Party Drvn - The replacement or installation of overhead distribution facilities to accommodate Commercial or Industrial loads. (Similar to C&I Upgrade) | 628051.35
| EDN101625 | EDN101625 - Ds-TCC-Damage Claims-Reimburse - Replacement of overhead or underground distribution facilities that were damaged by the public and not reimbursed. | 1252071.72
| EON100345 | EON100345 - Line Transformer/TCC - Purchase and installation of overhead and padmounted distribution transformers. | 27029129.03
| TCC170002 | TCC170002 Mon Mack Landing - Construct distribution facilities for new residential service in Edinburg, TX. | 121128.55
Customer Service Total |  |  | 89357583.32
Distribution Portion of a Transmission Project | TP1607102 | TP1607102 Installation of new distribution lines for the La Palma SVC Project. | 291656.2
| 000012620 | 000012620 - TCC/T Driven D AI Blkt Work - Installation of overhead or underground distribution facilities to accommodate Transmission or Substation construction. | 151443.71
Distribution Portion of a Transmission Project Total |  |  | 443099.91
Forestry | 000009181 | 000009181 - Forestry TCC D Base R W - Removal of trees with trunks 18 inches or larger in diameter. | 1410806.92
Forestry Total |  |  | 1410806.92
Planning Capacity | DP12X05A0 | DP12X05A0 - Substation and distribution work to add 2 feeders and power transformer at Cotulla substation to support load growth. | 261432.87
| DP13X02A0 | DP13X02A0 - TCC/LaGrulla-D Line - Substation and distribution work to add one feeder and replace power transformer at LaGrulla substation to support load growth and reliability. | 166355.71
| DP13X14A0 | DP13X14A0 - Substation and distribution work to add 2 feeders and power transformer at the new Holcomb substation to support load growth and enhance reliability. | 185798.31
| DP13X27A0 | DP13X27A0 - Substation and distribution work to add 2 feeders and power transformer at the new Shropshire substation to support load growth and enhance reliability. | 231877.22
| DP14X15A0 | DP14X15A0 TCC/Casa Blanca Sub D-Line - Rebuild/upgrade the distribution substation line exits and lines for the Casa Blanca Substation. | 224098.76
| DP15X03XX | DP15X03A0 - Substation and distribution work to add 2 feeders and power transformer at Escondido substation to support load growth. | 3181474
| DP15X04XX | DP15X04A0 Aransas Pass Sub D-Line - Rebuild/upgrade the distribution substation line exits and lines for the Aransas Pass Substation. | 4441105
| DP15X14B0 | DP15X14B0 - Replacement of the distribution substation transformer at Goliad substation to support load growth. | 347195.93
| DP15X22XX | DP15X22A0 - Substation and distribution work to add 3 feeders and power transformer at the new Frio substation to support load growth and enhance reliability. | 3170356
| DP16X02XX | DP16X02A0 Sierra Vista - D-Line - Upgrade to the Sierra Vista Substation distribution line equipment to support load growth and enhance reliability. | 3573594
| DP16X05XX | DP16X05A0 Zapata Sub-D Line - Upgrade to the Zapata Substation distribution line equipment to support load growth and enhance reliability. | 3023448
| DP16X07XX | DP16X07A0 - Substation and distribution work to add 2 feeders and power transformer at Garceno substation to support load growth and enhance reliability. | 4438199
| DP16X16XX | DP16X16A0 Carrizo Springs Sub - D-line - Upgrade to the Carrizo Springs Substation distribution line equipment to support load growth and enhance reliability. | 4520747
| DP17X08A0 | DP17X08A0 Pueblo D-Line - Upgrade to the Pueblo Substation distribution line equipment to support load growth and enhance reliability. | 204589.56
Planning Capacity Total |  |  | 27970271.36
Reliability | 000004744 | 000004744 - TCCSectionalizing Program - Installation of new sectionalizing equipment such as fused cutouts, reclosers, sectionalizers, and switches resulting in smaller sections of the system being outaged during fault conditions or faster response after an outage. | 1095967.45
| 000007827 | 000007827 - TCC/Small Local Asset Improv - Planned and unplanned additions/improvements to the distribution system related to load growth. | 2340740.9
| DP14X07B0 | DP14X07B0 TCC/La Pryor Sta D Station - Construct the new La Pryor Substation to support load growth and enhance reliability. | 2156267.75
| DR13X03A0 | DR13X03A0 TCC/Mayberry Substation - Upgrade the existing Mayberry Substation to support load growth and enhance reliability. | 126186.99
| DR16X05A0 | DR16X05A0 Kleberg6000-Kingsville1130 Tie - Construction of overhead distribution line to connect two feeders, allowing load to be transferred for routine maintenance or outage response. | 465715.18
| EDN100071 | EDN100071 - Ds-TCC-Ai Small Wire Repl - Proactive replacement of deteriorated sections of #2 and smaller overhead conductor. | 951559.6
| EDN100080 | EDN100080 - Ds/TCC/Ai Lightning Mitigation - Proactive replacement of lightning arrestors, static wire, and pole grounds to reduce the damage caused by lightning strikes. | 282492.17
| EDN100092 | EDN100092 - Ds-TCC-Ai Line Reclosers - Replacement of distribution line reclosers to maintain system safety and reliability. | 597459.11
| TC17DR001 | TC17DR001 Laredo Feeder Tie-Bartlett - Construction of overhead distribution line to connect two feeders, allowing load to be transferred for routine maintenance or outage response. | 612739.57
| TCFEEDTIE | TCFEEDTIE - TCC/Feeder Ties - Construction of overhead distribution line to connect two feeders, allowing load to be transferred for routine maintenance or outage response. | 2551963.32
| TCSYSHARD | TCSYSHARD - TCC System Hardening - Capital grid hardening work. | 2887856.06
Reliability Total |  |  | 14068948.1
System Restoration | DMS17TC11 | DMS17TC11 TCC/Weekend Freeze 01-06-2017 - Capitalized repairs made to the overhead and/or underground distribution system requiring facility replacement resulting from the effects of adverse weather conditions. | 115769.31
| DMS17TC17 | DMS17TC17 TCC/Beeville Tornado 05-23-17 - Capitalized repairs made to the overhead and/or underground distribution system requiring facility replacement resulting from the effects of adverse weather conditions. | 577670.27
| DMS17TC23 | DMS17TC23 TCC/Laredo Dist Storm 05-21-17 - Capitalized repairs made to the overhead and/or underground distribution system requiring facility replacement resulting from the effects of adverse weather conditions. | 872892.35
| DMS17TC24 | DMS17TC24 TCC/Memorial Day Storm 5/29/17 - Capitalized repairs made to the overhead and/or underground distribution system requiring facility replacement resulting from the effects of adverse weather conditions. | 167767.38
| DMS17TC25 | DMS17TC25 TCC/Laredo Dist Storm 06-04-17 - Capitalized repairs made to the overhead and/or underground distribution system requiring facility replacement resulting from the effects of adverse weather conditions. | 108714.17
| EDN100211 | EDN100211 - TCC Svc Restoration NonMjr Evt - Trouble call capitalized repairs to the overhead and underground distribution system requiring facility replacement, includes poles and other retirement units and their related components. Both weather and nonweather related outage response is included. | 7105662.42
System Restoration Total |  |  | 8948475.9
Total Projects < $100,000 |  | Includes Projects <$100,000 | 532571
Grand Total |  |  | 209823809.8
209823811.21
less |  | gridsSmart | 705838.79
less |  | Harvey DMS17TC31, TCCD01701 | 235117
210764767

## Exhibit_TMC-3_Final
Project Category | Project ID | Project Description | Addition
Asset Improvement | 000007593 | 000007593 - TNC-UG Cable Repl Failure - Reactive replacement of failed underground conductor. | 554795.94
| 000007608 | 000007608 - TNC-Failed Equip No Outage - Reactive replacement of failed overhead or underground equipment in situations where the failure of the unit does not result in an outage. | 2826389.27
| A12102022 | Purchase a spare 25 MVA, 69/12 kv transformer as part of the Purchase/Rebuild Major Equipment Program. | 798482.33
| A12102025 | A12102025 D/TNC/ReserveAbilene - Purchase a spare substation transformer as part of the Purchase/Rebuild Major Equipment Program. | 312526.55
| A13211073 | A13211073 S. A. Southland Hills - Telecom Legacy Project to upgrade from the existing analog lease line for communications purposes. A new router was added and connected to communication systems via fiber network. | 754095.38
| A13217595 | A13217595 S. A. South - Telecom Legacy Project to upgrade from the existing analog lease line for communications purposes. A new router was added and connected to communication systems via fiber network. | 1308458.82
| A13217596 | A13217596 S. A. Paulann - Telecom Legacy Project to upgrade from the existing analog lease line for communications purposes. A new router was added and connected to communication systems via fiber network. | 890803.74
| A13217605 | A13217605 Rebecca Lane (TX) - Telecom Legacy Project to upgrade from the existing analog lease line for communications purposes. A new router was added and connected to communication systems via fiber network. | 801489.01
| A13217606 | A13217606 Shelton St (TX) - Telecom Legaacy Project to upgrade from the existing analog lease line for communications purposes. A new router was added and connected to communication systems via fiber network. | 730470.48
| A13217607 | A13217607 Trent (WT) - Telecom Legacy Project to upgrade from the existing analog lease line for communications purposes. A new router and new telephone MPLS (multi-protocol layer switching) circuit were added. | 621299.46
| A13217621 | A13217621 Quanah (TX) Telecom Legacy Project to upgrade from the existing analog lease line for communications purposes. A new router and new telephone MPLS (multi-protocol layer switching) circuit were added. | 402771.51
| A13217628 | A13217628 Wylie Champion -Telecom Legacy Project to upgrade from the existing analog lease line for communications purposes. A new router was added and connected to communication systems via fiber network. | 954857.25
| A13217630 | A13217630 Abilene Industrial Telecom Legacy Project to upgrade from the existing analog lease line for communications purposes. A new router was added and connected to communication systems via temporary cellular connection waiting for fiber network to be completed to the station. | 526371.69
| A13217639 | A13217639 Junction Telecom Legacy Project to upgrade from the existing analog lease line for communications purposes. A new router and new telephone MPLS (multi-protocol layer switching) circuit were added. | 622588.64
| A13217642 | A13217642 Rainey Creek Telecom Legacy Project to upgrade from the existing analog lease line for communications purposes. A new router was added and connected to communication systems via temporary cellular connection waiting for fiber network to be completed to the station. | 811821.05
| B119TXSRE | B119TXSRE D/TX/Non Specific Work Station - Replace distribution circuit breakers, battery banks and battery chargers at various substations. | 515655.73
| EDN100065 | EDN100065 - Ds-TNC-Ai Pole Replacement - Replacement/reinforcement of AEP Texas owned poles resulting from inspections for ground rotting - Identification of units to be replaced is a result of the groundline inspection program. | 4623645.61
| EDN100581 | EDN100581 - Ds-TNC-Ai Ckt Inspections - Planned routine capital replacement of the overhead distribution system associated with reliability improvement. This includes target 300% SAIFI and SAIDI circuits, outage driven overhead rehab, etc. Identification of units to be replaced is a result of the ongoing annual inspection program. | 922083.85
| IT119BILL | IT119BILL Corp Program Billing - Implementation of Oracle Software. | 2610154.24
| ITCB11900 | ITCB11900 - AEP TEXAS NORTH CO - DIST - This is a program to replace information technology assets that support distribution functions. | 165021.68
| ITCT11910 | ITCT11910 Gilliland-Childress Telecommunication Site microwave upgrade to support distribution. | 318765.83
| ITCT11911 | ITCT11911 Iraan Telecommunication Site tower replacement upgrade to support distribution. | 754162.03
| SI119TXRE | SI119TXRE - DB/SI/TN - TEXAS SYS REHAB - This is a program to target functional groups of assets for replacement at AEP Texas. | 261698.51
Asset Improvement Total |  |  | 23088408.6
Customer Service | 000005238 | 000005238 - AEPTNCo-D Capital Software Dev/Corporate Initiative/major software upgrades/replacement of vintage system. | 2953758.46
| 000007568 | 000007568 - TNC-PQ-QOS Mitigation - Reactive replacement of overhead or underground distribution equipment to correct a power quality or quality of service issue. | 782442.28
| 000007624 | 000007624 - TNC-Cust Req Relocate - Installation of overhead or underground distribution facilities to accommodate expansion or modification of customer owned facilities. | 496847.19
| EDN100022 | EDN100022 - Ds/TNC/Residential New - Installation of overhead and/or underground distribution facilities to provide service to new residential customer installations. Includes the installation of street lighting. | 11666819.28
| EDN100026 | EDN100026 - Ds/TNC/Residential Upgrade - Replacement or installation of overhead and/or underground distribution facilities to provide service to existing residential customer installations where load has been added. | 519952.3
| EDN100038 | EDN100038 - Ds/TNC/C&I New - Installation of overhead and/or underground distribution facilities to provide service to new commercial or industrial customer installations. | 4167113.84
| EDN100048 | EDN100048 - Ds/TNC/C&I Upgrades - Replacement or installation of overhead and/or underground distribution facilities to provide service to existing commercial/industrial customer installations where load has been added. | 552685.55
| EDN100094 | EDN100094 TN-Public Relocation Project - Capital cost to relocate or raise various distribution lines for highway projects. | 280203.62
| EDN100477 | EDN100477 - Customer Meter/TNC - Purchase and installation of electric usage meters and metering equipment. | 2942635.5
| EDN101623 | EDN101623 - Ds-TNC-Damage Claims-Reimburse - Replacement of overhead or underground distribution facilities that were damaged by the public and not reimbursed. | 415498.39
| EON100343 | EON100343 - Line Transformer/TNC - Purchase and installation of overhead and padmounted distribution transformers. | 6946255.62
Customer Service Total |  |  | 31724212.03
Distribution Portion of a Transmission Project | P12201011 | P12201011 Yucca: Replace the 25 MVA, 138/12 kV transformer at Yucca Substation. | 1057624.45
| 000012619 | 000012619 TN-Transmission Driven Distribution Projects to upgrade distribution equipment at various substations. | 103470.92
Distribution Portion of a Transmission Project Total |  |  | 1161095.37
Forestry | 000009179 | 000009179 - Forestry TNC D Base R W - Removal of trees with trunks 18 inches or larger in diameter. | 474116.87
Forestry Total |  |  | 474116.87
Other | 000024109 | 000024109 AEPTXN-D General Plant Capital Blanket for the replacement or installation of concrete, fences and windows at various distribution service buildings. | 119391.88
Other Total |  |  | 119391.88
Reliability | 000004740 | 000004740 - TNC Sectionalizing Program - Installation of new sectionalizing equipment such as fused cutouts, reclosers, sectionalizers, and switches resulting in smaller sections of the system being outaged during fault conditions or faster response after an outage. | 552270.17
| 000007828 | 000007828 - TNC/Small Local Asset Improv - Planned and unplanned additions/improvements to the distribution system related to load growth. | 816894.91
| DP14N15B1 | DP14N15B1 TNC/Sage Sub D-Station - Prepare and construct the Sage Substation. Constructions includes the foundations, electrical assemblies, major equipment and control systems. | 3384876.77
| EDN100069 | EDN100069 Ds-TNC-Ai Small Wire Repl - Proactive replacement of deteriorated sections of #2 and smaller overhead conductor. | 325720.27
| EDN100090 | EDN100090 - Ds-TNC-Ai Line Reclosers - Replacement of distribution line reclosers to maintain system safety and reliability. | 613714.49
| TNDISTAUT | TNDISTAUT - TNC/Distribution Automation - Installation of equipment to allow the distribution system to automatically restore service to sections of a feeder in response to an outage. | 205236.77
| TNFEEDTIE | TNFEEDTIE - TNC/Feeder Ties - Construction of overhead distribution line to connect two feeders, allowing load to be transferred for routine maintenance or outage response. | 251865.58
| TNSYSHARD | TNSYSHARD - TNC/System Hardening - Capital grid hardening work. | 1997673.63
Reliability Total |  |  | 8148252.59
System Restoration | DMS17TN06 | DMS17TN06 TNC/San Angelo Wind 06/23/17 - Capitalized repairs made to the overhead and/or underground distribution system requiring facility replacement resulting from the effects of adverse weather conditions. | 287400.76
| EDN100206 | EDN100206 - TNC Svc Restoration NonMjr Evt - Trouble call capitalized repairs to the overhead and underground distribution system requiring facility replacement, includes poles and other retirement units and their related components. Both weather and nonweather related outage response is included. | 1123189.83
System Restoration Total |  |  | 1410590.59
Total Projects < $100,000 |  | Includes Projects <$100,000 | 653338.3
Grand Total |  |  | 66779406.23
66779406.41
|  | gridSmart | 523920.59
67303327