PUC Interoffice Memorandum

To:		Creighton McMurray, Attorney

Legal Division

From:		Nabaraj Pokharel, Engineering Specialist

Infrastructure Division

Maxine Gilford, Financial Analyst

Rate Regulation Division

Date:		January 10, 2020

Subject:	Docket No. 49559:  Application of City of Hallsville to Amend and Decertify a Portion of a Water Certificate of Convenience and Necessity of West Harrison WSC’s in Harrison County

On May 21, 2019, the City of Hallsville (Applicant) filed an application to amend its water Certificate of Convenience and Necessity (CCN) No. 13200 and to decertify a portion of West Harrison WSC’s water CCN No. 12728 in Harrison County. The application is being reviewed under Texas Water Code Ann. (TWC) §§ 13.242-13.250 and 16 Texas Administrative Code (TAC) §§ 24.225-24.237.

Background

The Applicant is seeking to decertify a portion of West Harrison WSC’s water CCN No. 12728 and amend to CCN No. 13200 for the water certificated service area containing approximately 16 acres and 24 existing customers.

Notice

The comment period ended October 17, 2019, and no protests or opt-out requests were received.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

TWC § 13.246(c)(1) requires the commission to consider the adequacy of service currently provided to the requested area.

The requested area currently receives service from the Applicant.

TWC § 13.246(c)(2) requires the commission to consider the need for service in the requested area.

The City of Hallsville serves approximately 1,588 current customers and provides safe and reliable water services to all the customers. A developer has built a subdivision inside the city limits of Hallsville. A small portion of the new subdivision is inside West Harrison WSC’s CCN service area. West Harrison WSC has agreed to give the City of Hallsville this portion so all members inside the new subdivision can be served by the City of Hallsville. Applicant mentioned that the public water system serving the requested area purchases water or sewer treatment capacity from the City of Longview. Applicant also provided the purchase water contract agreement with the application. In addition, there is a service agreement between the City of Hallsville and West Harrison Water Supply Corporation for a reliable and continuous supply of water services.

TWC § 13.246(c)(3) requires the commission to consider the effect of granting an amendment on the recipient and on any other retail public utility servicing the proximate area.

According to the settlement agreement included with the application, the parties agreed that City of Hallsville shall be the sole provider of the water service area.

TWC § 13.246(c)(4) requires the commission to consider the ability of the Applicant to provide adequate service.

Staff recommends that the Applicant meets the requirements of 16 TAC §24.227(a)(1) since it has a public water system registered with the Texas Commission on Environmental Quality (TCEQ) under PWS ID No. 1020004. The public water system is capable of providing drinking water that meets the requirements of Texas Health and Safety Code, Chapter 341 and TCEQ rules and has access to an adequate supply of water. The City of Hallsville also has no outstanding violations listed in the TCEQ database.

TWC § 13.246(c)(5) requires the commission to consider the feasibility of obtaining service from an adjacent retail public utility.

According to the settlement agreement, the parties agreed that City of Hallsville shall be the sole provider of the water service area.

Financial Test

TWC § 13.246(c)(6) requires the Commission to consider the financial ability of the Applicant to pay for facilities necessary to provide continuous and adequate service.

16 TAC § 24.11 establishes the criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service area. The financial tests include a leverage test and operations test. The Commission rules identify five leverage tests. The Purchaser must demonstrate that it meets one of the five tests.

The Applicant meets three out of the five leverage tests. The Applicant is only required to meet one. The first test is met with a debt to equity ratio calculated as follows: long-term debt of $6,614,513 divided by equity/net position of $7,393,881 equals 0.90 which is less than one. The Applicant also has sufficient unrestricted cash available as a cushion for two years of debt service.  Debt service payments for year 2019 of $621,276 plus year 2020 of $490,382 result in a total of two years of debt service of $1,111,658 while unrestricted cash totals $1,970,136.  In addition, the Applicant has a debt service coverage ratio of 1.58 times derived by dividing net operating income before depreciation of $981,947 by long-term debt payments of $621,276.

The Applicant meets the operations test. The owner or operator must demonstrate sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations.  Projections were not available in the application; however, the Applicant had $981,947 in net operating income before depreciation.  Therefore, there are no shortages to cover. The facilities to serve this area have already been built and no new facilities are necessary.

Staff’s analysis is based on the Applicant’s audited financial statements which contained an unqualified auditor’s opinion from Knuckols, Duvall, Hallum & Company which stated that the financial statements present fairly, in all material respects, the financial position of the Applicant as of September 30, 2018. The audit and the related opinion indicate the transparency of the Applicant and indicate sound management capabilities.

TWC §§ 13.246(7) and (9) require the commission to consider the environmental integrity and the effect on the land to be included in the certificate.

The land will be not be affected as there are existing facilities to serve the requested area.

TWC § 13.246(8) requires the commission to consider the probable improvement in service or lowering of cost to consumers.

Granting the CCN amendment will allow the area to continue to receive water service from City of Hallsville.

Staff recommends that the Applicant meets all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service and approving this application to amend its water CCN No. 13200 and to decertify a portion of West Harrison WSC’s water CCN No. 12728 in Harrison County is necessary for the service, accommodation, convenience and safety of the public. The Applicant consented to the attached maps and certificates on January 3, 2020.

Based on the above information, Staff recommends the Commission approve the application, issue an order and provide the attached map(s) and certificate(s) to the City of Hallsville. Staff further recommends that the Applicant file certified copies of the CCN maps along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257 (r)-(s).

See 16 TAC § 24.11(e)(2).

Id.

www.mactexas.com, or page 10 of the audited financial statements.

Id.

www.mactexas.com, or page 33-35 of the audited financial statements.

Id.

www.mactexas.com, or page 10 of the audited financial statements.

www.mactexas.com, or pages 8 and 32 of the audited financial statements.