PUCT Interoffice Memorandum

To:	Kourtnee Jinks, Attorney

Legal Division

From:		Roshan Pokhrel, Engineering Specialist

Infrastructure Division

Fred Bednarski III, Financial Analyst

Rate Regulation Division

Date:  	May 4, 2020

Subject:	Docket No. 49566, Application of City of Elmendorf for a Sewer Certificate of Convenience and Necessity in Bexar County

On May 23, 2019, the City of Elmendorf (Applicant or City) filed with the Public Utility Commission of Texas an application to obtain a sewer Certificate of Convenience and Necessity in Bexar County, under Texas Water Code (TWC) §§ 13.241 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237. The requested area includes approximately 4,192 acres and 0 customers. The residents of the City currently use onsite septic systems.

The Applicant recently updated the application by revising the requested area. The City is now requesting area in both Bexar and Wilson Counties. Consequently, Staff recommends that the style of the docket be changed to “Application of City of Elmendorf to Obtain a Sewer Certificate of Convenience and Necessity in Bexar and Wilson Counties”

Staff has reviewed the additional information provided by the Applicant on March 25, 2020 and recommends the application be deemed administratively incomplete and not accepted for filing due to the deficiencies in the application. In order to cure the deficiencies, Staff recommends that the Applicant be required to provide the following information:

- A detailed listing of the cost to provide service to the entire area and a map of the requested area showing where the facilities and connections will be located to provide service.  If the area is to be developed in stages, the cost of service should be projected by date and stage of development.

- The source of funding for any new facilities that will be needed to provide service to the areas. Please include copies of the developer agreements and other funding source documentation as well as a capital improvement plan, including a budget and an estimated timeline for construction of all facilities necessary to provide full service to the requested area.