TO:	Kourtnee Jinks, Attorney

Legal Division

FROM:	Roshan Pokhrel, Engineering Specialist

Infrastructure Division

Fred Bednarski, Financial Analyst

Rate Regulation Division

DATE:	October 19, 2020

RE:		Docket No. 49566 – Application of the City of Elmendorf for a Sewer Certificate of Convenience and Necessity in Bexar and Wilson Counties

On May 23, 2019, the City of Elmendorf (Elmendorf) filed an application to obtain a sewer Certificate of Convenience and Necessity (CCN) in Bexar and Wilson Counties, under Texas Water Code (TWC) §§ 13.241 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Background

Elmendorf is seeking to obtain a sewer CCN for a service area containing approximately 4,192 acres and 82 existing customers. Most of the requested area lies within the city limits and approximately 287 acres of requested area lies outside the city limits. However, Elmendorf has received requests for service in this area. Currently, most of Elmendorf is served by on-site septic systems and Elmendorf wants to improve the quality of service by developing a centralized system.

Notice

The comment period ended on August 13, 2020, and no protests or opt-out requests were received.

Criteria Considered

TWC §§ 13.241 and 13.246, and 16 TAC § 24.227 require the Commission to consider certain criteria when granting or amending a water or sewer CCN. Therefore, the following criteria were considered:

TWC § 13.246(c)(1) requires the Commission to consider the adequacy of service currently provided to the requested area.

Elmendorf is already serving some customers in the requested area. Elmendorf has a water quality discharge permit registered with Texas Commission on Environmental Quality (TCEQ). Elmendorf does not have any violations listed in the TCEQ database.

TWC § 13.246(c)(2) requires the Commission to consider the need for service in the requested area.

There is a need for service as there are 82 existing customers and potential new customers in the requested area. Elmendorf has filed documentation in the docket the showing the requests for service.

TWC §§ 13.241(b) and 13.246(c)(3) requires the Commission to consider the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area.

Elmendorf will obtain a CCN and will provide continuous and adequate service using centralized sewer system. The landowners will benefit because they will not have to construct individual septic tanks. No effect is expected on other utilities as the requested area is uncertificated.

TWC § 13.246(c)(4) requires the Commission to consider the ability of the applicant to provide adequate service.

Elmendorf has an existing water quality discharge permit registered with the TCEQ under WQ 0010749006. This permit was recently transferred from San Antonio River Authority to Elmendorf. Elmendorf does not have any violations listed in the TCEQ database. The permit has enough capacity to serve the current need. Expansion of the system may be required in the future as the development progress.

TWC § 13.241(d) requires the Applicant to demonstrate to the Commission that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area.

There are no other sewer service providers in the adjacent area that can serve the requested area.

TWC § 13.246(c)(5) requires the Commission to consider the feasibility of obtaining service from an adjacent retail public utility.

There are no other sewer service providers in the adjacent area that can serve the requested area.

TWC § 13.246(c)(6) requires the Commission to consider the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service.

The provisions of 16 TAC § 24.11 establishes the criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service area. The financial tests include a leverage test and operations test. The Commission rules identify five leverage tests. The Purchaser must demonstrate that it meets one of the five tests.

The following shows that Elmendorf meets one out of five leverage tests.  This analysis is based on financial statements ending September 30, 2019.  These financial statements contained an unqualified auditor’s opinion from Beyer & Co. CPA which stated that the that the financial statements present fairly, in all material respects, the financial position of Elmendorf as of September 30, 2019. The audit and the related opinion indicate the transparency of the Applicant and indicate sound management capabilities.

Elmendorf meets the first test under 16 TAC § 24.11(e)(2)(A), which requires that the owner or operator must have a debt to equity ratio of less than one, using long term debt and equity or net assets. Elmendorf’s debt to equity ratio calculated as follows: long term debt of $2,708,240 divided by net position of $3,583,940 equals 0.760 which is less than one.  The debt to equity ratio indicates the ability to leverage debt in order to install additional infrastructure. A debt to equity ratio of less than one is an indicator of financial stability and financial and managerial capability.

The provisions of 16 TAC § 24.11(e)(3) refers to the operations test which requires that the owner or operator must demonstrate sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations. Elmendorf submitted 2019-2020 budgets and 2020-2021 budgets which show there are no shortages to cover.  Elmendorf additionally provided their sewer capital improvement plan and impact fee summary indicating future sewer system improvements necessary to provide continuous and adequate service to the requested area will be paid for by developers and impact fees.  Finally, Elmendorf has taxing authority and the ability to issue bonds to help pay for future improvements.   Therefore, Elmendorf meets the operations test.

TWC § 13.246(d) allows the Commission to require an applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided.

Because Elmendorf meets the financial test, Mr. Bednarski does not recommend that Elmendorf be required to provide a bond or other financial assurance to ensure continuous and adequate service.

TWC §§ 13.246(c)(7) and (9) require the Commission to consider the environmental integrity and the effect on the land to be included in the certificate.

There will be positive environmental impact as sewer service through a centralized wastewater collection system will eliminate the need for individual septic systems on each property. Groundwater and wells will be protected from being contaminated.

TWC § 13.246(c)(8) requires the Commission to consider the probable improvement in service or lowering of cost to consumers.

The service will be better with the use of a centralized wastewater collection system and elimination of separate septic systems.

Elmendorf consented to the attached map and certificate on September 28, 2020.

Recommendation

Based on the above information, Staff recommends that:

- Elmendorf substantially meets all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations and is capable of providing continuous and adequate service. Staff also recommends that approving this application to obtain sewer CCN No. 21121 is necessary for the service, accommodation, convenience and safety of the public;  and

- The Commission issue an order approving the application and the attached map and certificate to Elmendorf. Staff further recommends that Elmendorf file certified copies of their CCN maps along with a written description of the CCNs service area in the county clerk’s office under TWC §§ 13.257 (r)-(s).

City of Elmendorf’s Response to Commission Staff’s First Request for Information at bates 4 (Sept. 25, 2020).

See 16 TAC § 24.11(e)(2).

Id.

Attachment FB–1 at page 21 of 82.

Id.

Attachment FB-2 at page 9 of 10.

Attachment FB-3 at page 7 of 7.

City of Elmendorf’s Response to Order No. 7 at bates 2-22 (May 20,2020).