PUC Interoffice Memorandum

To:	Rashmin Asher, Attorney

Legal Division

From:		Greg Charles, Engineer

Infrastructure Division

Fred Bednarski III, Financial Analyst

Rate Regulation

Date:	March 3, 2020

Subject:	Docket No. 49740, Application of C&R Water Suipply, Inc. to Amend its Certificates of Convenience and Necessity (CCN) in Montgomery County

On July 15, 2019, C&R Water Supply, Inc. (C&R Water) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 13098 and sewer CCN No. 20987 in Montgomery County, Texas pursuant to Texas Water Code Ann. (TWC) §§ 13.242 to 13.250 and the 16 Tex. Admin. Code (TAC) §§ 24.225 to 24.237. The requested service area consists of 45 acres and currently has no customers.

Notice

The comment period ended on December 4, 2019, and no protests or opt-out requests were received.

Criteria Considered

TWC § 13.246(c) requires the Commission to consider nine criteria when granting or amending a CCN.  Therefore, the following criteria were considered:

TWC § 13.246(c)(1) and 16 TAC § 24.227(d)(1) requires the commission to consider the adequacy of service currently provided to the requested area.

Staff did not consider these criteria as water and sewer service is not currently being provided in the requested area.

TWC § 13.246(c)(2) and 16 TAC § 24.227(d)(2) requires the commission to consider the need for service in the requested area.

The requested service area is vacant land that is being developed into residential subdivisions.

TWC § 13.246(c)(3) and 16 TAC § 24.227(d)(3) requires the commission to consider the effect of granting certificate or an amendment on the recipient and on any other retail public utility servicing the proximate area.

There will be no effect on any retail public utility servicing the proximate area as there are no other water and sewer providers within the requested service area.

TWC §§ 13.241(b) and (c), 13.246(c)(4) and 16 TAC § 24.227(d)(4) requires the commission to consider the ability of the Applicant to provide adequate service.

The Applicant has a public water system (PWS) registered with the Texas Commission on Environmental Quality (TCEQ) under PWS ID No. 1700683 which is capable of providing drinking water that meets the requirements of Chapter 341, Health and Safety Code, and requirements of the TWC and will have access to an adequate supply of water.  In addition, The Applicant has a wastewater permit registered with the TCEQ under WQ 0014285-001 serving Emerson Estates. There is one operator licensed for both water and sewer systems.

TWC §§ 13.241(d), 13.246(c)(5), and 16 TAC § 24.227(d)(5) requires the commission to consider the feasibility of obtaining service from an adjacent retail public utility.

The Applicant is the only entity within two miles of the requested service area that can provide both water and sewer utility services. The land is within the extra territorial jurisdiction of the City of Cut and Shoot (City,) and attached to the application is the minutes of the agreeing to the Applicant adding the requested area.

TWC § 13.246(c)(6) and 16 TAC § 24.227(d)(6) requires the commission to consider the financial ability of the Applicant to pay for facilities necessary to provide continuous and adequate service.

The financial criteria and tests are listed in 16 TAC § 24.11 including leverage tests and an operations test.

16 TAC § 24.11 establishes the criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service area. The financial tests include a leverage test and operations test. The Commission rules identify five leverage tests. The Purchaser must demonstrate that it meets one of the five tests.

The following shows that C&R Water meets one out of five leverage tests.  This analysis is based on financial statements ending December 31, 2018.  C&R Water meets the first test with a debt to equity ratio calculated as follows: long term debt of $725,343 divided by equity of $1,506,692 equals 0.48 which is less than one.

16 TAC § 24.11(e)(3) refers to the operations test which requires that the owner or operator must demonstrate sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations. C&R Water submitted projected financial statements in its application, which shows there are no shortages to cover.  C&R Water will provide water and sewer service with its existing public water system PWS No. 1700683 and wastewater permit WQ-0014285-001.  The requested area is planned to be developed into a subdivision containing 279 lots that will be developed in three phases.  C&R Water agrees to pay for all the labor and equipment cost to install the needed water and sewer infrastructure which is estimated to cost $95,000 to $100,000.  Per the agreement the developer will pay $1,000 per each sewer connection upfront phase by phase.  The upfront payment will be refunded to the developer as new connections are added.  The financial statements and the developer agreement indicate that funds are available for all plant investment required to provide continuous and adequate service to the area being requested. Therefore, C&R Water meets the operations test.

TWC § 13.246(d)(6) allows the Commission to require an applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided. Staff does not recommend that the Applicant be required to provide a bond or other financial assurance to ensure continuous and adequate service to the requested area.

TWC §§ 13.246(7) and (9) and 16 TAC §§ 24.227(d)(7) and (9) require the commission to consider the environmental integrity and the effect on the land to be included in the certificate.

The environmental integrity will be minimally affected as the requested area is developed.  In addition, by granting the amendment the environmental integrity of the land will be protected by eliminating the need for landowners to use individual wells and septic tanks.

TWC § 13.246(8) and 16 TAC § 24.227(d)(8) requires the commission to consider the probable improvement in service or lowering of cost to consumers.

This is not applicable because there are no homes currently receiving service in the requested service area. Staff recommends that the proposed rates are reasonable with respect to the projected financial information provided with the application and the Applicant’s responses to Staff’s requests for information.

The Applicant consented to the attached maps, certificates, and tariffs on February 4, 2020.

Recommendation

Based on the above information, Staff recommends that:

- The Commission find that the Applicant meets all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations and is capable of providing continuous and adequate service;

- The Commission find that issuance of water CCN No. 13098 and sewer CCN No. 20987 is necessary for the service, accommodation, convenience, and safety of the public;

- The Applicant be ordered to file a rate application with the Commission under 16 TAC § 24.25(b)(1)(C) within 18 months from the date service begins;

- The Commission require the Applicant to provide notice to the Commission once billing for service begins, as required by 16 TAC § 24.25(b)(1)(B)(vi);

- The Commission issue an order approving the application and provide the attached maps, certificates, and tariff to the Applicant; and

- The Applicant be required to file certified copies of their CCN maps along with a written description of the CCN service area in the county clerk’s office under TWC §§ 13.257(r)-(s).

See 16 TAC § 24.11(e)(2).

Id.

Application at 38.

Id.

Supplement to Application at 4 (Oct. 4, 2019).

Application at 9.

Response to Staff’s First Request for Information at 4 (Nov. 1, 2019).

Response to Order No. 2 at 14 (Sept. 16, 2019).