Public Utility Commission of Texas

Memorandum

To:		Rashmin Asher, Attorney

Legal Division

From:		Patricia Garcia, Engineering Specialist

Infrastructure Division

Date:  		July 24, 2020

SUBJECT:	Docket No. 49759, Application of Mark Patterson for Temporary Rates for Services Provided for a Nonfunctioning Utility

Background:

On July 17, 2019, Horseshoe Bend Water, through its temporary manager, Mark Patterson, filed with the Public Utility Commission (Commission or PUC) a request for a temporary rate increase pursuant to Texas Water Code § 13.046 and 16 Texas Administrative Code § 24.363 and § 24.43(b) in Hood County, Texas for Horseshoe Bend Water, Certificate of Convenience and Necessity (CCN) No. 10263 and Public Water System No. 1840002.

Analysis:

Under 16 Texas Administrative Code (TAC) § 24.363(a), Applicant may charge temporary rates “to recover the reasonable costs incurred for interconnection or other costs incurred in making services available and any other reasonable costs incurred to bring the nonfunctioning system into compliance with commission rules.” On April 2, 2020, Applicant filed electricity bills and reports showing the actual expenses to operate and maintain the system from July 2019 through February 2020. I have used those actual expenses to recommend expenses for the calculation of the temporary rates. In addition, to these expenses the Applicant provided an invoice from a water well driller showing repairs done on one of the wells that had a pump stolen. The invoice showed the expenses for repairs done. These expenses were recovered by the temporary manager in a surcharge noticed to the customers on October 25, 2019 and collected from the customers on their utility bills from October 2019 through December 2019.

The following table provides a summary of the expenses that I am recommending be included in the calculation of rates. I calculated the annual expenses by taking the monthly average expenses using the electricity bills and reports provided by the applicant and annualizing them by multiplying the monthly average expenses by 12. Additionally, I took into consideration the expenses the temporary manager took on for the system in order to make repairs to the well, additional expenses that were not billed to the system, and groundwater conservation district charges from the Upper Trinity Groundwater Conservation District which had not been implemented into the utility’s tariff prior to the temporary manager taking over operations of the system. Each of these items will be discussed below.

Unfortunately, the expense categories used by Applicant, which were based on his estimates, do not closely match the listing of expenses in the reports provided. In the reports, different types of costs are bundled together – for example, “Mow, rereads, install meter” and “re reads, turn ons, mowing.” As a result, the table shows $0 for some categories proposed by Applicant, but they are covered in other categories of expenses that I recommend, mainly the Operations & Maintenance category. The attached workpapers provide detail for all the expenses listed.

The other major difference between the costs estimated by Applicant and the costs from the invoices and reports that I used are that Applicant included estimated costs for capital improvements, which are listed as Needed Repairs in the table.  He amortized these costs over ten years; he included only 1/10th of the estimated costs as the annual costs. The costs amortized by Applicant over ten years include capital improvements that have not been made at this time. Additionally, there is a Sale, Transfer, Merger application in review by Commission Staff to transfer the system to a new owner. The new owner has indicated that they will be implementing many of these improvements on the utility.

Applicant requested a total yearly expense of $312,755 for the temporary rates, including $13,200 in billing/postage reviewed by Ms. Debi Loockerman in the Rate Regulation Division and $37,440 for the temporary manager’s fee. I excluded the temporary manager’s fee from my review because the temporary manager’s fee is assigned by order of the Commission or the Texas Commission on Environmental Quality (TCEQ) and listed separately on the temporary rate tariff. I reviewed the expenses requested by Applicant and listed below, totaling $262,115. I am recommending inclusion of $202,292.17 in expenses for the temporary rates. This is a decrease of $59,822.83, which is 22.8% lower than the Applicant requested. Looking at the total expenses that I have calculated, they are at a level consistent with other similar systems’ expenses that I have reviewed for temporary rates over the years when adjusting for the various sizes of the systems.

Table 1- Expenses for Temporary Rates

|  | Applicant’s Proposed Expenses Expressed as Yearly Amounts | Staff’s Recommended Yearly Expenses | Description of Expenses (see attached workpapers for details) |
| --- | --- | --- | --- |
| Laboratory fees | $30,000.00 | $1,891.21 | My recommended expenses were calculated using the testing schedule for this water system from TCEQ’s Drinking Water Watch database and the fees from https://www.tceq.texas.gov/assets/public/permitting/watersupply/pdw/chemicals/LabFees.pdf. |
| Chlorine Expenses | $5,040.00 | $3,085.88 | Reports provided by Applicant for this system. |
| Needed Repairs | $23,159.00 | $0.00 | This category of estimated costs includes costs that are not recoverable in the temporary rates. |
| New Repairs | $45,600.00 | $17,183.18 | Reports provided by Applicant for this system. |
| Electric Utility Bills | $19,200.00 | $10,028.75 | Electricity bills provided by the Applicant for this system. |
| Operations & Maintenance (O&M) | $98,172.00 | $109,942.50 | Reports provided by Applicant for this system. |
| Fuel | $14,544.00 | $0.00 | See above paragraphs discussing why this was adjusted. |
| Truck & Auto Insurance | $9,000.00 | $0.00 | Reports provided by Applicant for this system. |
| Excavator Expenses | $6,000.00 | $0.00 | See above paragraphs discussing why this was adjusted. |
| Groundwater Conservation District Fees | $7,500.00 | $0.00 | Recommend to be included as a pass-through fee of $0.22 per 1,000 gallons for the Groundwater Conservation District (GCD) fee based on the Upper Trinity GCD fee listed on their website. |
| Liability Insurance | $3,000.00 | $0.00 | See above paragraphs discussing why this was adjusted. |
| Lawn Maintenance | $900.00 | $0.00 | See above paragraphs discussing why this was adjusted. |
| Mileage | $0.00 | $60,160.66 | Reports provided by Applicant for this system. |
| Totals | $262,115.00 | $202,292.17 |  |

On November 1, 2019, the Applicant submitted a copy of the notice dated October 25, 2019 that was submitted to the customers informing them of a surcharge that would be applied to their bills from October 2019 through December 2019. The surcharge in the amount of $2.93 was applied to customer bills during the months of October 2019 through December 2019 in order to recoup expenses paid out by the Applicant in order to replace the well pump, motor and wiring that were stolen from the well in the amount of $3,868.71. To support this surcharge, Applicant submitted an invoice from Erwin Water Well Drilling dated September 27, 2019.

I also reviewed the following additional expenses provided in Applicant’s reports, which were indicated to have been “Paid for by PWS to be reimbursed.” As a result, I separated them from the expenses described above and recommend they be surcharged to the customers for four months, as the temporary manager’s term ends in when the Sale, Transfer, Merger application is complete or December 2020, whichever comes first.

Table 2- Expenses for Surcharge

|  | Staff’s Recommended Expenses for Surcharge | Description of Expenses |
| --- | --- | --- |
| Electric - Account Initiation Fee | $80.00 | Temporary Manager's reports showed these items as needing to be paid. |
| Parts | $941.47 | Temporary Manager's reports showed these items as needing to be paid. |
| Equipment use fee | $2,890.00 | Temporary Manager's reports showed these items as needing to be paid. |
| Surcharge Total | $3,911.47 |  |

Rate Analysis:

The temporary manager requested the rates as shown in the chart below:

| Minimum Monthly Charge |  |
| --- | --- |
| 5/8" or 3/4" | $ 42.00 |
| 1" | $ 57.00 |
| 2" | $ 175.00 |

| Volumetric Charge | $ 4.00 per 1000 gallons |
| --- | --- |

Under 16 TAC § 26.363, the Commission must issue an order regarding the reasonableness of the temporary rates. In making the reasonableness determination, the Commission must consider information submitted by the retail public utility taking over the provision of service, the customers of the nonfunctioning system, or any other affected person.

I calculated temporary rates that reflect the Receiver’s functional split between fixed and variable costs, as well as the updated billing determinants provided in response to Staff’s Supplemental Recommendation and requests for information. In calculating Staff’s recommended temporary rate and surcharges, I incorporated the recommendations listed above. The revenue requirement used for the calculation of the temporary rate is $212,426. The previously billed surcharge of $2.93 was collected from the customers from October 2019 through December 2019 for a total of $3,868.71. I recommend this rate be included in the approved tariff to show the temporary manager was allowed to collect this rate during that time. The surcharge for the remaining portion needing to be paid to the temporary manager is $3,911.47. The resulting temporary rate, gallonage rate and surcharge are as follows:

| Customer Meters | Monthly Minimum Charge |
| --- | --- |
| 5/8” | $17.36 |
| 3/4” | $26.03 |
| 1” | $43.39 |
| 2” | $138.84 |

Volumetric Charge

$3.10 per 1,000 gallons

| Surcharge | Amount | Duration |
| --- | --- | --- |
| New Account Fees, Parts purchased, and Equipment Use Fees | $2.22 | Four Months |

I would like to point out that the temporary rates are lower than the rates previously approved for the system. Considering that the previously approved rates included 2,000 gallons in the minimum monthly charge and the temporary rates do not include any gallonage in the monthly minimum charge, the minimum monthly charge for the 3/4” meter is similar to the previously approved rates for the 5/8” or 3/4” meters, listed separately in the proposed temporary rates listed above. The rates for the 1” and 2” meters are much lower than the previously approved rates. I recommend the following rates for the 1” and 2” meters to remain consistent with the previously approved rates:

| Customer Meters | Monthly Minimum Charge |
| --- | --- |
| 1” | $54.00 |
| 2” | $192.00 |

In support of the temporary tap fee increase, the Applicant submitted an invoice for a meter installed at a nearby water system. The invoice shows the cost of the meter installation to be approximately $1,600 including labor and locating the original meter. The invoice provided was for installation of a meter for a home that was sharing a meter with another home. This unusual situation may have resulted in the installation cost being higher than a typical meter installation. The cost for installation of the meter and labor itself shows the costs to have been approximately $1,400. The documents provided did not show what size meter was installed in this case, but given the circumstances and the fact that the receiver is requesting lower tap fees than those shown in the invoice provided, I believe the temporary tap fees requested by the receiver are reasonable based on the invoice and my experience reviewing such costs for similar systems. The receiver requests that the temporary tap fees be $1,000 for a 3/4-inch meter, $1,250 for a 1-inch meter, and $2,500 for a 2-inch meter.

I recommend inclusion of a pass-through charge for the Upper Trinity Groundwater Conservation District of $0.22 per 1,000 gallons based on the fees listed on the Upper Trinity Groundwater Conservation District website.

Based on my review of the Temporary Manager’s application and the responses to Staff’s Supplemental Recommendation and requests for information, I recommend that the above temporary rate is reasonable for the purpose of a temporary rate and should be approved. Similarly, I also recommend that the surcharges, temporary tap fees, and pass-through for the Upper Trinity Groundwater Conservation District listed above are reasonable and should be approved.

Attached is a tariff for Horseshoe Bend that reflects the temporary rates, temporary manager’s fee, surcharges, pass-through, and temporary tap fees described in the preceding paragraphs. The tariff is based on the pro forma tariff approved by the Commission for many utilities.

Recommendation:

I recommend the Commission:

- Approve the yearly expenses that I recommend in Table 1 in the preceding section.

- Approve the temporary rate and gallonage rate as follows:

| Customer Meters | Monthly Minimum Charge |
| --- | --- |
| 5/8” | $17.36 |
| 3/4” | $26.03 |
| 1” | $54.00 |
| 2” | $192.00 |

Volumetric Charge

$3.10 per 1,000 gallons

- Approve the previously billed surcharge noticed and billed to the customers for the months of October 2019 through December 2019.

| Surcharge | Amount |
| --- | --- |
| Replacement of the well pump, motor and wiring that were stolen from the well | $2.93 |

- Approve the surcharge calculated using the total from Table 2 be charged for four months.

  - Order the temporary manager provide notice of this surcharge prior to billing.

| Surcharge | Amount | Duration |
| --- | --- | --- |
| New Account Fees, Parts purchased, and Equipment Use Fees | $2.22 | Four Months |

- Approve the pass-through charge of $0.22 per 1,000 gallons for fees charged by the Upper Trinity Groundwater Conservation District.

- Approve the proposed temporary tap fees of $1,000 for a 3/4-inch meter, $1,250 for a 1-inch meter and $2,500 for a 2-inch meter.

- Approve the attached tariff.

- No refunds to the customers based on the temporary rates recommended. Staff recommends that the temporary manager keep separate accounting for all amounts collected in excess of the approved temporary rate between July 3, 2019 through May 2020 in regulatory liability. The excess funds collected should be used to pay for any repairs or maintenance at the water system and the liability reduced by the amount incurred for repairs and maintenance in excess of the amount included in the approved temporary rate. If this excess amount has already been used to help pay for repairs or maintenance, Staff recommends that the temporary manager submit the invoices to substantiate the costs of the repair or maintenance.

- Order Applicant to provide the following documentation monthly by the last day of the month following the month in question, ending with providing this documentation for the month that his term as temporary manager for Horseshoe Bend is completed:

- Summary of monthly revenues and expenses with a detailed list of actual expenses for operating the system, such as repairs, chlorine, billing, operator costs, electricity, laboratory fees, sampling costs, etc.;

- Copies of invoices and receipts to support the actual cost of service;

- The actual number of connections at the beginning and at the end of the month; and

- A signed statement that copies of the monthly report will be provided to the TCEQ at the same time it is provided to the PUC.