PUC Interoffice Memorandum

To:	Kourtnee Jinks, Attorney

Legal Division

From:	Patricia Garcia, Engineering Specialist

Infrastructure Division

Date:  	March 24, 2020

Subject:	Docket No. 50041, Application of North Custer Road Plant to Obtain a Water Certificate of Convenience and Necessity in Collin County

On September 23, 2019, North Custer Road Plant (Applicant) filed with the Public Utility Commission of Texas (Commission) an application to obtain a water Certificate of Convenience and Necessity (CCN) number in Collin County, Texas pursuant to Texas Water Code §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237. In the supplemental filing provided on December 6, 2019, the Applicant stated that its name was changed to AIRW 2017-7, L.P.

Staff has reviewed the information provided by the Applicant. The public water system that will be serving the area is North Custer Road Plant. This water system will provide service to two master meters. The Applicant filed supplemental information on February 18, 2019 indicating in Attachment 3 that 462 duplex units would be served by each master meter.

The Applicant’s proposed rate design shows a minimum monthly charge of $3,604.80 for an 8” meter and does not include minimum charges for any other meter size. The proposed rate design also indicates that each master meter will serve 462 duplex units.  The developer of these units will pay the rates contained in the proposed tariff and the tenants of  the duplexes will be charged using an allocation method established by the duplex building owners.

Staff recommends that a duplex does not meet the requirements for the allocation of master metered water utility service because a duplex only consists of two dwelling units. Therefore, Staff recommends the application be deemed administratively incomplete and not accepted for filing because the proposed rate design and tariff do not comply with Commission rules. To cure this deficiency, Staff recommends that the Applicant submit a proposed rate design that does not rely on the allocation of master metered usage.  Staff also requests that the Applicant provide signed agreements between AIRW 2017-7, L.P. and the developers regarding the development of the duplex units and the agreements for the master meter and allocation to tenants.

Note: Any confidential items should be submitted as confidential filings with the PUC.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).