PUC Interoffice Memorandum

To:	Kourtnee Jinks, Attorney

Legal Division

From:	Patricia Garcia, Senior Engineering Specialist

Infrastructure Division

Date:  	June 10, 2020

Subject:	Docket No. 50041, Application of AIRW 2017-17 to Obtain a Water Certificate of Convenience and Necessity in Collin County

On September 23, 2019, North Custer Road Plant filed with the Public Utility Commission of Texas (Commission) an application to obtain a water Certificate of Convenience and Necessity (CCN) number in Collin County, Texas pursuant to Texas Water Code §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237. In the supplemental filing provided on December 6, 2019, the Applicant stated that its name was changed to AIRW 2017-7, L.P. (Applicant) and the docket was restyled to reflect this change.

Staff has actively been working with the Applicant to provide the needed documentation; as of June 9, 2020, the Applicant has not submitted a response. The set up of the proposed utility is as follows: The public water system that will be serving the area is North Custer Road Plant. This water system will provide service to two master meters.

The Applicant’s proposed rate design shows a minimum monthly charge of $3,604.80 for an 8” meter and does not include minimum charges for any other meter size. The proposed rate design also indicates that each master meter will serve 462 duplex units.  The developers of these units will be the utility’s customers and will pay the rates contained in the proposed tariff. The developers will then allocate the master metered usage to the tenants of  the duplexes .

Staff recommends that a duplex does not meet the requirements for the allocation of master metered water utility service because a duplex only consists of two dwelling units. Therefore, Staff recommends that the application be deemed administratively incomplete and not accepted for filing because the proposed rate design and tariff do not comply with Commission rules. To cure this deficiency, Staff recommends that the Applicant submit a proposed utility set up and rate design that does not rely on the allocation of master metered usage and instead bills each customer for usage read by a separate water meter for each unit within each duplex.

Note: Any confidential items should be submitted as confidential filings with the PUC.  The instructions for filing confidential documents can be found on our website at: (http://www.puc.texas.gov/industry/filings/FilingProceed.aspx).