PUC Interoffice Memorandum

To:	Kourtnee Jinks, Attorney

Legal Division

From:		Roshan Pokhrel, Engineering Specialist

Infrastructure Division

Fred Bednarski, Financial Analyst

Rate Regulation Division

Date:	July 6, 2020

Subject:	Docket No. 50083: Application of Solar Village Homeowners Association to Obtain a Water Certificates of Convenience and Necessity in Kerr County

On October 9, 2019, Solar Village Homeowners Association (Applicant) filed an application to obtain a water Certificate of Convenience and Necessity (CCN) in Kerr County, under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Background

The Applicant is seeking to obtain a water CCN for the service area that has approximately 17 acres and 15 existing customers.

Notice

The comment period ended on April 16, 2020, and no protests or opt-out requests were received.

Criteria Considered

TWC Chapter 13 and 16 TAC Chapter 24 require the Commission to consider certain factors when granting or amending a water or sewer CCN. Therefore, the following criteria were considered:

TWC § 13.246(c)(1) requires the Commission to consider the adequacy of service currently provided to the requested area.

The Applicant is already serving all of the requested area with its existing public water system (PWS), Solar Village HOA, PWS ID 1330177 registered with the Texas Commission on Environmental Quality (TCEQ).

TWC § 13.246(c)(2) requires the Commission to consider the need for additional service in the requested area.

There are currently 15 existing customers in the requested area. No additional service is needed at this time.

TWC § 13.246(c)(3) requires the Commission to consider the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area.

A portion of the City of Kerrville’s CCN will be decertified. The landowners will benefit because they won’t have to drill individual wells.

TWC § 13.246(c)(4) requires the Commission to consider the ability of the Applicant to provide adequate service.

The Applicant is registered with the TCEQ as Solar Village HOA, PWS ID 1330177. The Applicant is capable of providing drinking water that meets the requirements of Chapter 341, Health and Safety Code, and has access to an adequate supply of water. The Applicant does not have any violations listed in the TCEQ database. Additional construction is not required to serve the requested area.

TWC § 13.241(d) requires the Applicant to demonstrate to the Commission that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area.

Construction of a physically separate water system is not needed to serve the requested area. The requested area is already being served by the Applicant.

TWC § 13.246(c)(5) requires the Commission to consider the feasibility of obtaining service from an adjacent retail public utility.

The requested area is already being served by the Applicant.

TWC § 13.246(c)(6) requires the Commission to consider the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service.

16 TAC § 24.11 establishes the criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service area. The financial tests include a leverage test and operations test. The Commission rules identify five leverage tests. The Applicant must demonstrate that it meets one of the five tests.

The Applicant meets one leverage test with a debt to equity ratio of less than one, as the Applicant has zero long-term debt. This analysis is based on financial statements ending December 31, 2018 and 2017. The Applicant meets the leverage test because the Applicant has no debt. However, Staff opines that this Applicant does not have the leverage to access funds by obtaining debt or attracting capital. Applicant has no remaining plant net book value and very little cash available. Therefore, Staff has recommended a cash reserve allowance in the proposed initial cost of service that will provide a cushion for emergency repairs or replacements of plant in service. The Applicant has succeeded in providing continuous and adequate service under the direction of the homeowners’ association for several years.

16 TAC § 24.11(e)(3) refers to the operations test that requires the owner or operator to demonstrate that cash is available to cover any projected operations and maintenance shortages in the first five years of operations. The Applicant submitted projected financial statements, that show there are no shortages to cover.  No improvements are needed to provide continuous and adequate service to the requested area. Based on the history of successful operations of the utility, Staff believes that the Applicant meets the operations test if the reserve amount is included in the cost of service and recovered in rates.

Initial Cost of Service

The Applicant has requested that the Commission set rates using the cash needs method (cash basis) for revenue requirement determination rather than the utility method.  Therefore, Staff analyzed the information available using the alternative rate mechanism of the cash basis, which includes a reserve allowance in the cost of service. Staff recommends a cash reserve allowance of ten percent of operations and maintenance, or $13,077 times .10 equals $1,308. The allowance is recommended to preserve the financial integrity of the Applicant so that funds will be available for unexpected costs including repairs and maintenance.

Mr. Bednarski adopted the adjustments of Roshan Pokhrel, Engineering Specialist in the Infrastructure Division that include reductions of ($1,088) to well maintenance expenses and ($3,600) to engineering support expenses. These recommended adjustments will be explained by Mr. Pokhrel. In addition to Mr. Pokhrel’s adjustments, Mr. Bednarski recommends a decrease in property taxes of $244 to exclude property tax expense paid for property that is not used to provide water service. Based on these adjustments, Staff recommends a cost of service of $14,451.

Adjustments on Operation and Maintenance Expense

Staff recommends that engineering support expense be amortized over five years resulting in an annual expense of $4,500 and a reduction of $3,600 to the annual cost of service requested in the application. This cost is associated with a retainer fee for engineering services. This retainer fee is a non-recurring expense. Mr. Pokhrel also recommends that well maintenance expense be amortized over 5 years because it is a non-recurring expense. This adjustment results in an annual expense of $1,360 and a reduction of $1,088 to the annual cost of service.

Recommendation on Rates

Based on the cost of service recommended by Mr. Bednarski of $14,415, Mr. Pokhrel recommends a flat rate of $80.28 per month per connection, calculated as follows:

Water Rate = Cost of Service/(Number of Connections*12)

= $14,451/(15*12)

= $80.28 per month per connection

TWC § 13.246(d) allows the Commission to require an applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided.

Staff does not recommend that the Applicant be required to provide a bond or other financial assurance to ensure continuous and adequate service.

TWC §§ 13.246(7) and (9) require the Commission to consider the environmental integrity and the effect on the land to be included in the certificate.

Approving this application will not bring any negative effect on the environment, as no further construction will be needed in the requested area. There will be no effect on the land as the homeowners won’t have to drill individual wells.

TWC § 13.246(8) requires the Commission to consider the probable improvement in service or lowering of cost to consumers.

There will be no impact or change to the quality of utility services as the Applicant already provides water to all of the requested area. New water rates will be established as a result of this application.

The Applicant consented to the attached map, certificate, and tariff on June 17, 2020.

Recommendation

Based on the above information, Staff recommends that:

The Applicant substantially meets all the statutory requirements of TWC §§ 13.242 to 13.250 and TAC §§ 24.225 to 24.237 and is capable of providing continuous and adequate service as required in TWC § 13.241(a). Staff recommends that approving this application to issue water CCN No. 13287 is necessary for the service, accommodation, convenience and safety of the public;

The Applicant file a rate application with the Commission within 18 months from the date of the order granting the water CCN pursuant to 16 TAC § 24.25(b)(1)(C), given that service is already being provided; and

The application and the recommended rate be approved;

16 TAC § 24.11(e)(2).

Id.

Supplemental application information at page 37 (Dec. 17, 2019).

Id. at page 40.

Response to Staff Request for Information No. 1-4 at page 4 (May 4, 2020).

16 TAC § 24.75(c)(1).

Id. at pages 110 - 113.