DOCKET NO. 50224

| Application of City of Bruceville-eddy and elm creek water supply corporation for sale, transfer, or merger of facilities and certificate rights in Mclennan county | § § § § § § § | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

STAFF’S SECOND supplemental RECOMMENDATION ON ADMINISTRATIVE COMPLETENESS, proposed notice, AND PROCEDURAL SCHEDULE

#### COMES NOW the Staff (Staff) of the Public Utility Commission of Texas (Commission), representing the public interest, and files this Staff’s Second Supplemental Recommendation on Administrative Completeness, Proposed Notice, and Procedural Schedule. Staff recommends that the application, as supplemented, is administratively complete. In support thereof, Staff shows the following:

- BACKGROUND

On November 12, 2019, the City of Bruceville-Eddy (Bruceville-Eddy) and Elm Creek Water Supply Corporation (Elm Creek WSC) (collectively, Applicants) filed an application for approval of the sale, transfer, or merger of facilities and certificate of convenience and necessity (CCN) rights in McLennan County. Bruceville-Eddy seeks to transfer a portion of its water service area under CCN No. 11285 to Elm Creek WSC, to be held under Elm Creek WSC’s water CCN No. 10031. The requested sale and transfer includes approximately 20 acres and 0 connections. The Applicants filed supplemental information on December 30, 2019, January 8, 2020, January 9, 2020, January 14, 2020 and February 26, 2020.

On February 13, 2020, Order No. 3 in this proceeding was issued, requiring Staff to file a supplemental recommendation on the administrative completeness of the application and proposed notice and to propose a procedural schedule for further processing of the docket by April 10, 2020. Therefore, this pleading is timely filed.

- ADMINISTRATIVE COMPLETENESS

Staff has reviewed the application and supplemental information and, as detailed in the attached memorandum from Roshan Pokhrel, Infrastructure Division, and Fred Bednarski, Rate Regulation Division, and recommends that the application, as supplemented, is administratively complete. Staff does not comment on the merits of the application at this time.

- NOTICE

In accordance with Staff’s recommendation that the application is administratively complete, Staff also recommends that the Applicants proceed with providing public notice. Staff recommends that the Applicants use the attached Notice to Current Customers, Neighboring Systems, and Cities to provide notice as detailed in the attached memorandum.

- PROPOSED PROCEDURAL SCHEDULE

In accordance with Staff’s recommendations on administrative completeness and notice, Staff proposes that the following procedural schedule be adopted:

| Event | Date |
| --- | --- |
| Deadline for Applicant to file with the Commission signed affidavits that the notice was given, along with a copy of the notice sent to the affected parties | May 11, 2020 |
| Deadline for Staff to file a recommendation on sufficiency of notice | May 21, 2020 |
| Deadline to intervene; deadline for intervenors to request a hearing on the merits | June 11, 2020 |

- CONCLUSION

Staff recommends that the application be found administratively complete, that the applicants be ordered to provide notice as detailed above and in the attached memorandum, and that the above-proposed procedural schedule be adopted. Staff respectfully requests that an order be issued consistent with the foregoing recommendations.

Dated: April 13, 2020

Respectfully submitted,

PUBLIC UTILITY COMMISSION OF TEXAS

LEGAL DIVISION

Rachelle Nicolette Robles

Division Director

Heath D. Armstrong

Managing Attorney

/s/Courtney Dean_______________

Courtney N. Dean

State Bar No. 24116269

1701 N. Congress Avenue

P.O. Box 13326

Austin, Texas 78711-3326

(512) 936-7235

(512) 936-7268 (facsimile)

courtney.dean@puc.texas.gov

Docket No. 50224

CERTIFICATE OF SERVICE

I certify that, unless otherwise ordered by the presiding officer, notice of the filing of this document was provided to all parties of record via electronic mail on April 13, 2020, in accordance with the Order Suspending Rules, issued in Project No. 50664.

/s/Courtney Dean________________

Courtney N. Dean

The Commission was closed for business on April 10, 2020, in observance of Good Friday. Therefore, pursuant to 16 TAC § 22.4, Staff’s deadline is extended until the end of the next day on which the Commission is open for business, April 13, 2020.