TO:		Kourtnee Jinks, Attorney

Legal Division

FROM:	Reginald Tuvilla, Infrastructure Analyst

Infrastructure Division

DATE:	December 29, 2020

RE:	Docket No. 50244 – Application of Quadvest, LP to Amend a Certificate of Convenience and Necessity in Harris County

On November 15, 2019, Quadvest, LP (Quadvest) filed with the Public Utility Commission of Texas (Commission) an application to amend its water and sewer certificate of convenience and necessity (CCN) Nos. 11612 and 20952 in Harris County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.  On November 3, 2020, the requested amendment to the sewer CCN was severed and ordered to be addressed in Docket No. 51431.

Background

Quadvest is seeking to amend a water CCN for the service area containing approximately 51 acres and 0 existing customers.

Notice

The comment period ended April 16, 2020, and no protests or opt-out requests were received.  On November 30, 2020, HMW Special Utility District (HMW) filed a motion to intervene. On December 15, 2020, the ALJ denied HMW’s motion to intervene.

Factors Considered

TWC §§ 13.241 and 13.246, and 16 TAC § 24.227 require the Commission to consider certain factors when granting or amending a water or sewer CCN. Therefore, the following criteria were considered:

TWC § 13.246(c)(1) requires the Commission to consider the adequacy of service currently provided to the requested area.

Quadvest has several Texas Commission on Environmental Quality (TCEQ) approved Public Water Systems (PWS). The PWS that will be providing service to the requested area is Decker Prairie Rosehill, PWS Identification No. 1013703. Service is not currently being provided to this area as there are no customers currently in the requested area.

TWC § 13.246(c)(2) requires the Commission to consider the need for service in the requested area.

There is a need for service as the property owner is developing a subdivision and has requested service from Qudavest to serve the future customers.

TWC §§ 13.241(b) and 13.246(c)(3) requires the Commission to consider the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area.

Quadvest will be the certificated entity for the requested area and be required to provide adequate and continuous service to the requested area.

The landowner in the requested area will have a water provider available for the subdivision that is being developed.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

TWC § 13.246(c)(4) requires the Commission to consider the ability of the applicant to provide adequate service.

The PWS that will be providing service to the requested area is Decker Prairie Rosehill, PWS Identification No. 1013703. Quadvest does not have any violations listed in the TCEQ database. Quadvest has received approval from the TCEQ for the construction of the facilities needed in order to provide service to the requested area.

TWC § 13.246(c)(5) requires the Commission to consider the feasibility of obtaining service from an adjacent retail public utility.

Quadvest received a request for service for the requested area from the landowner. Quadvest has approved TCEQ plans to build facilities in the requested area to serve future customers and will have sufficient capacity to serve the area. Therefore, it is not feasible to obtain service from an adjacent retail public utility.

There is one utility (HMW) within 1/2 mile from the proposed area. Service was not requested from the utility for the proposed subdivision. On December 13, 2019, a petition from the landowner to remove the requested area from HMW’s water CCN No. 10342 in Harris County was granted in Docket No. 49280.

TWC § 13.246(c)(6) requires the Commission to consider the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service.

Staff Witness Fred Bednarski III, Financial Analyst in the Rate Regulation Division, provides the following analysis for the Commission’s review and decisions.

The review addresses the financial ability and stability requirements in TWC §13.246(c)(6) and the related financial assurance provisions in 16 TAC §24.11 pertaining to Quadvest. The conclusions are based on information provided prior to the date of this memorandum and may not reflect any changes in Quadvest’s status subsequent to this review.

An owner or operator of a retail public utility must have the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service areas, as established by 16 TAC § 24.11.  Quadvest must demonstrate that it meets one of the five leverage tests under 16 TAC § 24.11(e)(2) as well as an operations test under 16 TAC § 24.11(e)(3).

Quadvest meets the second leverage test under 16 TAC § 24.11(e)(2)(B).  The financial statement included in confidential Attachment FB-1 reports a debt service coverage ratio that is more than 1.25.  A debt service coverage ratio more than 1.25 indicates financial stability and financial and managerial capability.

Quadvest meets the operations test specified in 16 TAC § 24.11(e)(3), which requires an owner or operator to demonstrate sufficient available cash to cover any projected operations and maintenance shortages during the first five years of operations.  Quadvest submitted projected financial statements associated with the provision of water service and the funding of necessary capital improvements for five years for the requested area.  The statements indicate cash flow shortages as submitted in confidential attachment FB-1.  Although Quadvest projects cash flow shortages to serve the requested area, the financial statements indicate that the Applicant generates sufficient annual net income and maintains a sufficient cash balance to cover the projected annual shortages.  Sufficient cash balances to cover projected annual shortages indicates financial stability and financial and managerial capability.

TWC § 13.246(d) allows the Commission to require an applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided.

Based on the financial and managerial review of the application and the recommendation of Fred Bednarski, Quadvest meets the financial tests.  Therefore, no additional financial assurance is needed.

TWC §§ 13.246(c)(7) and (9) require the Commission to consider the environmental integrity and the effect on the land to be included in the certificate.

The environmental integrity of the land will be minimally affected as the water plant and distribution lines are constructed to provide service to the requested area.

TWC § 13.246(c)(8) requires the Commission to consider the probable improvement in service or lowering of cost to consumers.

There will be an improvement of service as water service is not currently available in the requested area. Quadvest is an existing Investor Owned Utility and plans to use the currently approved rates from Docket No. 47910.

Based on the mapping review by Tracy Montes, Infrastructure Division, the financial and managerial review by Fred Bednarski, Rate Regulation Division, and my technical and managerial review, I recommend that Quadvest supstantially meets the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations related to amending a CCN, is capable of providing continuous and adequate service and approving this application to amend a water CCN No. 11612 is necessary for the service, accommodation, convenience and safety of the public.

Quadvest consented to the attached map, tariff, and certificate on December 22, 2020.

Based on the above information, I recommend the Commission approve the application, issue an order and provide the attached map, tariff, and certificate to Quadvest LP. I further recommend that Quadvest file certified copies of the CCN maps along with a written description of the CCN service area in the county clerk’s office pursuant to TWC §§ 13.257 (r)-(s).

Petition of Previllage, LLC to Amend HMW Special Utility District’s Water Certificate of Convenience and Necessity in Harris County by Expedited Release, Docket No. 49280, Order at 6 (Dec. 13, 2019)