PUC Interoffice Memorandum

To:	Rustin Tawater, Attorney

Legal Division

From:		Heidi Graham, Program Specialist

Infrastructure Division

Fred Bednarski, Financial Analyst

Rate Regulation Division

Date:	July 15, 2020

Subject:	Docket No. 50311, Application of Copano Heights Water Company and CSWR-Texas Utility Operating Company, LLC for Sale, Transfer, or Merger of Facilities and Certificate Rights in Aransas County

On December 4, 2019, CSWR-Texas Utility Operating Company, LLC (CSWR-Texas or Purchaser) and the Copano Heights Water Company  (Copano Heights or Seller) (collectively, Applicants) filed an application for Sale, Transfer, or Merger (STM) of facilities and certificate rights in Aransas County, Texas, pursuant to Texas Water Code Ann. (TWC) § 13.301 and the 16 Texas Administrative Code (TAC) § 24.239.

Background

CSWR-Texas is seeking to obtain a CCN and approval to acquire the water service area of Copano Heights held under CCN No. 11960 which contains approximately 61 acres and 110 existing customers.

Notice

The comment period ended February 17, 2020, and no protests or opt-out requests were received.

Criteria Considered

The TWC, Chapter 13, and TAC, Chapter 24, require the Commission to consider nine factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered:

TWC § 13.246(c)(1) requires the Commission to consider the adequacy of service currently provided to the requested area.

Copano Heights has a public water system (PWS) registered with the Texas Commission on Environmental Quality (TCEQ) under PWS No. 0040017 and purchases 100% of its water from the City of Rockport. The purchase water agreement will be transferred to CSWR-Texas. The water system has 110 connections, with tank storage capacity of 82,786 gallons and pump capacity of 400 gallons per minute, which is adequate capacity.

TWC § 13.246(c)(2) requires the Commission to consider the need for additional service in the requested area.

There are currently 110 existing customers in the requested area, therefore, there is a need for service.  No additional service is needed at this time.

TWC § 13.246(c)(3) requires the Commission to consider the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area.

There will be no effect on any retail public utility servicing the proximate area because this transaction does not include uncertificated area. There will be no effect on landowners as the area is currently certificated.

TWC §§ 13.241(b), 13.246(c)(4) requires the Commission to consider the ability of the applicant to provide adequate service.

Copano Heights does not have any outstanding violations.  No additional construction is necessary for CSWR-Texas to serve the requested area.

TWC § 13.241(d) requires the applicant to demonstrate to the Commission that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area.

No additional construction is necessary to serve the requested area.

TWC § 13.246(c)(5) requires the Commission to consider the feasibility of obtaining service from an adjacent retail public utility.

Given the nature of this transaction, the feasibility of obtaining service from another adjacent retail public utility was not considered.

TWC § 13.246(c)(6) requires the Commission to consider the financial ability of the Applicant to pay for facilities necessary to provide continuous and adequate service.

16 TAC § 24.11 establishes the criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service area. The financial tests include a leverage test and operations test. The Commission rules identify five leverage tests. The owner or operator (Purchaser) must demonstrate that it meets one of the five tests.

The Applicant meets one out of five leverage tests, by having a debt to equity ratio of less than one since (Attachment FB-1).  Staff’s analysis is based on the consolidated audited financial statements ending December 31, 2019 and 2018 of the Purchaser’s parent company, CSWR, LLC and Subsidiaries.  These financial statements were confidentially filed and contained an unqualified auditor’s opinion from RSM US LLP which stated that the that the financial statements present fairly, in all material respects, the financial position of the Purchaser as of December 31, 2019 and 2018. The audit and the related opinion indicate the transparency of the Purchaser’s parent and indicate sound management capabilities.

16 TAC § 24.11(e)(3) refers to the operations test which requires that the owner or operator must demonstrate sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations.  CSWR-Texas provided an Affidavit indicating CSWR, LLC is committed to providing funds necessary for the purchase amounts of the seller’s system and other proposed purchases of water and wastewater systems, capital improvements, and equity investments listed in the application and the projected financial statements. Staff’s calculations are contained in Attachment FB-1.  CSWR, LLC additionally provide a confidential letter from its bank indicating funds exist to help fund the purchases price and capital improvements and (Attachment FB-1).  Therefore the Purchaser meets the operations test.

TWC § 13.246(d) allows the Commission to require an applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided.

The Applicant meets the financial tests.  Staff does not recommend that the Commission require additional financial assurance.

TWC §§ 13.246(c)(7) and (9) require the Commission to consider the environmental integrity and the effect on the land to be included in the certificated area.

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

TWC § 13.246(c)(8) requires the Commission to consider the probable improvement in service or lowering of cost to consumers.

CSWR-Texas will continue to provide water service to the existing customers in the requested area.

The Applicants meet all the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations. Approving this application to transfer water facilities in the requested area, the water service area held under CCN No. 11960, cancel  CCN No. 11960, issue CCN No. 13290 to CSWR-Texas and amend the transferred area to CSWR-Texas’ CCN No. 13290 is necessary for the service, accommodation, convenience and safety of the public.

Recommendation on approval of sale

The Staff from the Rate Regulation Division and Infrastructure Division recommend that the transaction will serve the public interest and that the Applicants be allowed to proceed with the proposed transaction. Staff notes that deposits are held by Copano Heights for the customers being served in the requested area. Staff further recommends that a public hearing is not necessary.

16 TAC § 24.11(e)(2).

Id.

Confidential – Attachment B at bates 1 (3/3/2020).

Confidential – Attachment A at bates 1 through 6 (3/3/2020).

Confidential – Attachment Staff–CSWR RFI 3-2 at page 1 (06/29/20).