TO:		Phillip Lehmann, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:		May 9, 2022

RE:	Docket No. 50324 – Application of County Line Special Utility District to Obtain a Sewer Certificate of Convenience and Necessity in Hays and Caldwell County

- Application

On December 6, 2019, County Line Special Utility District (County Line SUD) filed with the Public Utility Commission of Texas (Commission) an application to obtain a sewer certificate of convenience and necessity (CCN) in Hays and Caldwell counties, Texas under Texas Water Code (TWC) §§ 13.242 through 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 through 24.237.

County Line SUD is seeking to obtain a sewer CCN for the service area containing 52 customer connections and approximately 7,788 acres of uncertificated area. If approved, the CCN number to be assigned to County Line SUD is CCN No. 21119. The original application requested approximately 17,942 acres. After revisions, the requested area includes approximately 7,788 acres.

- Notice

The deadline to intervene was May 4, 2020, there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

Under TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227, the Commission must consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

County Line SUD purchases sewer capacity from Plum Creek Utility Company, LLC (Plum Creek). Plum Creek has a Texas Commission on Environmental Quality (TCEQ) approved wastewater treatment plant(s) (WWTP) registered under the name Plum Creek Utility WWTP and wastewater discharge permit number WQ-0015635001.  Plum Creek  has one violation listed in the TCEQ database.

Installation of collection lines is necessary for County Line SUD to serve the requested area.  The Commission’s complaint records, which go back to 2017, show one complaint against County Line SUD.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there are 52 existing customers and potential new customers in the requested area.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

County Line SUD will be the certificated entity for the requested area and will be required to provide adequate and continuous service to the requested area.

The landowners in the area will have a sewer provider available when they need to request sewer service.

There will be no effect on any retail public utility servicing the proximate area.  All retail public utilities in the proximate area were provided notice of the CCN amendment requested in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

County Line SUD purchases sewer capacity from Plum Creek. Plum Creek  has a TCEQ approved WWTP registered under the name Plum Creek Utility WWTP and wastewater discharge permit number WQ-0015635001.  Plum Creek has one violation listed in the TCEQ database.

Installation of collection lines is necessary for County Line SUD to serve the requested area.  The Commission’s complaint records, which go back to 2017, show one complaint against County Line SUD.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

There are no other sewer service providers in the adjacent area which could serve the requested area.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

County Line SUD is currently serving customers in the requested area and purchases sewer capacity from Plum Creek Utility Co. Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

Fred Bednarski, III, Financial Analyst in the Rate Regulation Division, provided the following:

An owner or operator of a retail public utility must have the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service areas, as established by 16 TAC § 24.11.  County Line SUD must demonstrate that it meets one of the five leverage tests under 16 TAC § 24.11(e)(2) as well as the operations test under 16 TAC § 24.11(e)(3).

Leverage test

The analysis is based on financial statements ending December 31, 2019.  These financial statements contain an unqualified auditor’s opinion from Williams, Crow, Mask, LLP stating that the financial statements present fairly, in all material respects, the financial position of the County Line as of December 31, 2019.

Based upon the review of County Line SUD’s 2019 financial statements, Mr. Bednarski calculates debt service equal to 3.01.  The debt service coverage ratio is net operating income of $2,117,770 excluding depreciation expense divided by annual debt service of $704,150.  Because the ratio is greater than 1.25, County Line SUD meets the leverage test specified in 16 TAC § 24.11(e)(2)(B).

Operations test

An owner or operator must demonstrate sufficient available cash to cover projected cash shortages for operations and maintenance expense during the first five years of operations, as required by 16 TAC § 24.11(e)(3).

County Line SUD’s 2019 financial statements include net income of $1,523,801 and $1,896,604 in cash and cash equivalents that indicate County Line SUD will have sufficient cash to cover projected shortages.  Capital improvements needed to provide continuous and adequate service to the requested area and will be provided by Plum Creek Utility, LLC to the Uhland Ranch Subdivision, Caldwell Valley Subdivision, the Uhland school as well as transportation buildings, and Las Estancias 2 subdivision.  Additionally, County Line SUD will collect impact fees as well as obtain grants and loans for the new planned developments based on County Line SUD’s capital improvement plan.  Sufficient cash and net operating income available to cover possible future shortages provide an indication of financial stability and financial and managerial capability.  Therefore, County Line SUD meets the operations test specified in 16 TAC § 24.11(e)(3).

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

Mr. Bednarski provided the following:

Because the Applicant meets the financial tests, no additional financial assurance is recommended.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected as collection lines are installed to provide service to the requested area.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

County Line SUD will continue to provide sewer service to the existing customers in the area.  There will be no change in the quality or cost of service to customers.

- Recommendation

Based on the mapping review by Gary Horton, Infrastructure Division, the financial review by Fred Bednarski III, Rate Regulation Division, and my technical and managerial review, I recommend that County Line SUD meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service.  I further recommend that approving this application to obtain a sewer CCN No. 21119 is necessary for the service, accommodation, convenience and safety of the public.

The maps and certificates have since been updated.