TO:		Robert Parish, Attorney

Legal Division

FROM:	Alicia Maloy, Senior Infrastructure Analyst

Infrastructure Division

DATE:	February 26, 2021

RE:	Docket No. 50325 – Application of Gristmill Utility Company, LLC to Obtain a Sewer Certificate of Convenience and Necessity in Hays County

- Application

Gristmill Utility Company, LLC (Gristmill) filed with the Public Utility Commission of Texas (Commission) an application to obtain a sewer certificate of convenience and necessity (CCN) in Hays County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Gristmill is seeking to obtain a sewer CCN for the service area containing collection systems for two new single-family residential subdivisions that are currently in development.  The application indicates that the total acreage being requested is 238.71 acres.  Based on the mapping review by Tracy Montes, Infrastructure Division, of the digital data filed by Gristmill on April 3, 2020, she determined the requested area is approximately 260 acres with 55 current customers.  Ms. Montes used the digital data filed by Gristmill to determine the acreage for the requested area.  The Applicant mailed and published notice on October 12, 2020, informing utilities, districts, cities and landowners that the requested area includes approximately 260 acres.

- Notice

The deadline to intervene was November 12, 2020; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227 require the Commission to consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

Gristmill has a Texas Commission on Environmental Quality (TCEQ) approved wastewater discharge permit registered as Plum Creek Utility Wastewater Treatment Facility (Plum Creek), Wastewater Discharge Permit No. WQ-0015635001.  Plum Creek will provide wholesale wastewater treatment service to Gristmill.  The collection systems for the Gristmill Highlands subdivision was completed at the time of the application, and the collection system for the Harmony Hills subdivision was scheduled to be completed in 2020.  There are currently 55 customers in the requested area.

3.2.	Consideration of the need for additional service in the requested area (TWC                       § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service because there are two requests for service for two new residential subdivisions that are currently in development and 55 current customers in the requested area.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC                       §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Gristmill will be the certificated entity for the requested area and be required to provide adequate and continuous service to the requested area.

The landowners in the areas will have a sewer provider available when they need to request sewer service.

There will be no effect on any retail public utility servicing the proximate area. All retail public utilities in the proximate area were provided notice of the transaction taking place in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Gristmill has a TCEQ approved wastewater discharge permit registered as Plum Creek, Wastewater Discharge Permit No. WQ-0015635001.  Plum Creek will provide wholesale wastewater treatment service to Gristmill.  The collection systems for the Gristmill Highlands subdivision was completed at the time of the application, and the collection system for the Harmony Hills subdivision was scheduled to be completed in 2020.  Only collection lines will need to be installed for the collection of the wastewater and transport to the wholesale wastewater treatment service facility.

3.5	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

No other retail public utility has plans or the ability to serve the proposed CCN area, and there are no other facilities within two miles of the requested area.  Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.6.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

Spencer English, Financial Analyst in the Rate Regulation Division, will be addressing this criterion in a separate memo.

3.7.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

Spencer English, Financial Analyst in the Rate Regulation Division, will be addressing this criterion in a separate memo.

3.8.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC                       § 24.227(e)(7) and (9)).

The environmental integrity of the land will be minimally affected as collection lines are installed to provide service to the requested area.

3.9.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

This factor is not applicable because there are no homes currently receiving service in the requested service area.  I recommend that the proposed rates are reasonable with respect to the projected financial information provided with the application and Gristmill's responses to various requests for information.  In order to true-up the proposed rates, I recommend that Gristmill file a rate application with the Commission within 18 months from the date service began per 16 TAC § 24.25(b)(1)(C).

Based on the mapping review by Tracy Montes, Infrastructure Division, the financial and managerial review by Spencer English, Rate Regulation Division, and my technical and managerial review, I recommend that Gristmill meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission's Chapter 24 rules and regulations, is capable of providing continuous and adequate service and approving this application to obtain a sewer CCN, and is necessary for the service, accommodation, convenience and safety of the public.

Gristmill consented to the attached map, tariff, and certificate on February 11, 2021.

- Recommendation

Based on the above information, I recommend that:

- Gristmill meets all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations and is capable of providing continuous and adequate service.  I also recommend that approving this application to obtain sewer CCN No. 21122 is necessary for the service, accommodation, convenience and safety of the public; and

- Gristmill file a rate application with the Commission within 18 months from the date service began under 16 TAC § 24.25(b)(1)(C).