REQUEST:

For each year after 1997 for which the data is available, provide the following:

(a)	TU Electric’s estimated annual system peak demand;

(b)	TU Electric’s best estimate of the number of hours that TU Electric’s hourly load will exceed 95% of TU Electric’s estimated peak demand;

(c)	TU Electric’s best estimate of the cost (broken down by capacity and energy) of meeting the load in excess of 95% of the peak for each of those hours identified in response to (c) above; and

(d)	identify and provide all related documents.

RESPONSE:

The following response was prepared by or under the direct supervision of Stephen J. Houle, the sponsoring witness for this response.

(a)	YEAR		MW

1998		20,161

1999		20,334

2000		20,709

2001		21,113

2002		21,478

2003		21,763

2004		22,166

2005		22,667

2006		23,132

2007		23,559

(b)	YEAR		# OF HOURS

1998			29

1999			29

2000			32

2001			35

2002			33

2003			27

2004			29

2005			35

2006			33

2007			37

(c)	TU Electric does not forecast the cost of capacity and energy required to serve a specific portion of the load (i.e., load in excess of 95% of system peak load).  Such a forecast would be meaningless, since supply-side resources (owned by the utility or purchased by the utility) are committed and dispatched to serve total load requirements, not specific customers or classes of customers.  Therefore, the requested information is not available.

(d)	No related documents exist.