TO:		Robert Parish, Attorney

Legal Division

FROM:	Jolie Mathis, Utility Engineering Specialist

Infrastructure Division

DATE:	May 26, 2021

RE:	Docket No. 50399 – Application of Nevada Special Utility District to Amend its Water Certificate of Convenience and Necessity and to Decertify Portions of Certificated Water Service Areas of Caddo Basin Special Utility District, Copeville Special Utility District, and City of Josephine in Collin County

On December 30, 2019, Nevada Special Utility District (Nevada SUD) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 12175 in Collin County, Texas under Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Background

Nevada SUD is seeking to amend its water CCN to add service area containing approximately 1,377 acres and 14 existing customers. Nevada SUD is seeking to decertify a portion of Caddo Basin Special Utility District’s (Caddo Basin SUD) certificated area (CCN No. 10165, approximately 1,275 acres) and amend this area to Nevada SUD’s CCN.  The area includes 59 existing Caddo Basin SUD customers, 26,100 feet of Caddo Basin SUD water transmission facilities, and 15 existing Nevada SUD customers.

Nevada SUD is also seeking to decertify a portion of the City of Josephine’s certificated area (CCN No. 12307, approximately 103 acres) and amend this area to Nevada SUD’s CCN. There are 0 existing customers within this area.  Finally, Nevada SUD is seeking to decertify a portion of Copeville Special Utility District’s (Copeville SUD) certificated area (CCN No. 11376 approximately, 41 acres) and amend this area to Nevada SUD’s CCN.  There is 1 existing customer for Nevada SUD within this area.

- Notice

The deadline to intervene was December 16, 2020; there were no motions to intervene, protests, or opt-out requests received.

- Factors Considered

TWC §§ 13.241 and 13.246, and 16 TAC §§ 24.11(e) and 24.227 require the Commission to consider certain factors when granting or amending a water or sewer CCN. Therefore, the following factors were considered.

3.1.	Consideration of the adequacy of service currently provided to the requested area and system compliance (TWC § 13.246(c)(1); 16 TAC § 24.227(a) and (e)(1)).

Nevada SUD has a Texas Commission on Environmental Quality (TCEQ) approved public water system (PWS) registered as Nevada SUD, PWS ID No. 0430053.  Nevada SUD does not have any violations listed in the TCEQ database.  No additional construction is necessary for Nevada SUD to serve the requested area.  In addition, the Commission’s complaint records show no complaints against Nevada SUD.

3.2.	Consideration of the need for additional service in the requested area (TWC § 13.246(c)(2); 16 TAC § 24.227(e)(2)).

There is a need for service as there are 15 existing customers and potential new customers in the requested areas.

3.3.	Consideration of the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area (TWC §§ 13.241(b) and 13.246(c)(3), 16 TAC § 24.227(e)(3)).

Nevada SUD will be the certificated entity for the requested area and will be required to provide adequate and continuous service to the requested area.

The landowners in the area will have a water provider available when they need to request water service.

There will be no effect on any retail public utility servicing the proximate areas.  All retail public utilities in the proximate area were provided notice of the CCN amendment requested in this application and did not request to intervene.

3.4.	Consideration of the managerial and technical ability of the applicant to provide adequate service (TWC § 13.246(c)(4); 16 TAC § 24.227(a) and (e)(4)).

Nevada SUD has a TCEQ approved PWS registered as Nevada SUD, PWS ID No. 0430053.  Nevada SUD does not have any violations listed in the TCEQ database.  No additional construction is necessary for Nevada SUD to serve the requested area.  In addition, the Commission’s complaint records show no complaints against Nevada SUD.

3.5.	The applicants’ demonstration that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area. (TWC § 13.241(d); 16 TAC § 24.227(b)).

Construction of a physically separate water system is not required to provide service to the requested area.

3.6.	Consideration of the feasibility of obtaining service from an adjacent retail public utility (TWC § 13.246(c)(5); 16 TAC § 24.227(e)(5)).

There have been inquiries about furnishing water service to several proposed developments and to Community Independent School District, which is to be located inside Caddo Basin SUD’s service area and in close proximity to Nevada SUD’s, City Josephine’s and Copeville SUD’s service areas.

Caddo Basin SUD has customers and water transmission facilities in the vicinity of the proposed developments and desires to transfer to Nevada that portion of Caddo Basin SUD’s certificated service area, facilities and customers containing the property.

Copeville SUD and the City of Josephine do not have customers or facilities in the vicinity of the proposed developments and service requests but do have service area adjacent to the proposed developments and service requests; therefore, they are seeking to transfer to Nevada SUD that portion of Copeville SUD’s and the City of Josephine's certificated service area containing the property.

Nevada SUD is currently serving customers in the requested area, has facilities in the requested area to serve any future customers, and has sufficient capacity. Therefore, it is not feasible to obtain service from an adjacent retail public utility.

3.7.	Consideration of the financial ability of the applicant to pay for facilities necessary to provide continuous and adequate service (TWC § 13.246(c)(6); 16 TAC §§ 24.227(a) and (e)(6), 24.11(e)).

Fred Bednarski, Financial Analyst in the Rate Regulation Division, provided the following.

An owner or operator of a retail public utility must have the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service areas, as established by 16 TAC § 24.11.  Nevada SUD must demonstrate that it meets one of the five leverage tests under 16 TAC § 24.11(e)(2) as well as the operations test under 16 TAC § 24.11(e)(3).

Leverage test

This analysis is based on financial statements ending September 30, 2020 in Attachment FB-1.  These financial statements contain an unqualified auditor’s opinion from Nabors CPA Services, P.C. stating that the financial statements present fairly, in all material respects, the financial position of Nevada SUD as of September 30, 2020.

Nevada SUD’s 2020 financial statements report long-term debt of $1,724,198 and equity of $2,264,015.   The debt-to-equity ratio is 0.76.  Because the ratio is less than 1.0, Nevada SUD meets the leverage test specified in 16 TAC § 24.11(e)(2)(A).

Operations test

An owner or operator must demonstrate sufficient available cash to cover projected cash shortages for operations and maintenance expense during the first five years of operations, as required by 16 TAC § 24.11(e)(3).

Nevada SUD’s financial statements include $183,045 of operating income, excluding depreciation expense, and $320,328 of unrestricted cash and cash equivalents that indicate Nevada SUD will have sufficient cash to cover projected shortages.

Capital improvements needed to provide continuous and adequate service to the requested area will be paid for by the developer and Nevada SUD’s cash reserves and income.  Sufficient cash and net operating income available to cover possible future shortages provide an indication of financial stability and financial and managerial capability.  Therefore, Nevada SUD meets the operations test specified in 16 TAC § 24.11(e)(3).

3.8.	Requirement of the applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided (TWC §§ 13.246(d); 16 TAC § 24.227(f)).

Fred Bednarski provided the following.

Because Nevada SUD meets the financial tests, additional financial assurance is not recommended.

3.9.	Consideration of the environmental integrity and the effect on the land to be included in the certificated area (TWC § 13.246(c)(7) and (9); and 16 TAC § 24.227(e)(7) and (9)).

The environmental integrity of the land will not be minimally affected as the distribution lines to provide service to the requested area are installed.

3.10.	Consideration of the probable improvement in service or lowering of cost to consumers (TWC § 13.246(c)(8); 16 TAC § 24.227(e)(8)).

Nevada SUD will continue to provide water service to the existing customers in the area with no change to the cost to customers.

- Recommendation

Based on the mapping review by Tracy Montes, Infrastructure Division, the financial and managerial review by Fred Bednarski, Rate Regulation Division, and my technical and managerial review, I recommend that Nevada SUD meets all of the statutory requirements of Texas Water Code Chapter 13 and the Commission’s Chapter 24 rules and regulations and is capable of providing continuous and adequate service.  I further recommend that approving this application to amend water CCN No. 12175 and decertify portions of Caddo Basin SUD’s CCN No. 10165, City of Josephine’s CCN No. 12307, and Copeville SUD’s CCN No. 11376 is necessary for the service, accommodation, convenience and safety of the public.

Nevada SUD consented to the attached map and certificates on April 21, 2021.

Caddo Basin SUD, Copeville SUD, and City of Josephine consented to the attached map and certificates on April 21, 2021.