DOCKET NO. 50405

| PETITION OF THE SANCTUARY TEXAS, LLC TO AMEND AQUA TEXAS, INC.’S CERTIFICATE OF CONVENIENCE AND NECESSITY IN DENTON COUNTY BY EXPEDITED RELEASE | § § § § § § | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

COMMISSION STAFF’S RECOMMENDATION ON FINAL DISPOSITION

#### COMES NOW the Staff of the Public Utility Commission of Texas (Staff), representing the public interest, and files this recommendation.  Staff recommends that the application be denied.  In support thereof, Staff would show the following:

- Background

On January 2, 2020, The Sanctuary Texas, LLC (Petitioner) filed a petition for streamlined expedited release from Aqua Texas, Inc.’s (Aqua) water certificate of convenience and necessity (CCN) No. 13201 in Denton County, under Texas Water Code (TWC) § 13.2541(b) and 16 Texas Administrative Code (TAC) § 24.245(h).  The Petitioner asserts that the tract of land is at least 25 acres, is not receiving water service, and is located in Denton County, which is a qualifying county. Petitioner filed supplemental information on February 10, April 29, and May 7, 2020.  On January 31, 2020, Aqua filed a motion to intervene, which was granted on February 20, 2020.

On July 10, 2020, Order No. 5 was issued, establishing a deadline of July 24, 2020, for Staff to file a recommendation on final disposition.  This pleading, therefore, is timely filed.

- Recommendation

As detailed in the attached memorandum from Jolie Mathis in the Commission’s Infrastructure Division, Staff has reviewed petition for streamlined expedited release and supplemental information filed by the Petitioner and recommends that it be denied.

Under 16 TAC § 24.245(h), in addition to other requirements, the 59-acre tract of land in question must not be receiving service of the type that the current CCN holder is authorized to provide under the applicable CCN.  Here, Aqua asserts that the Petitioner is receiving water service under Aqua’s water CCN No. 13201 in three forms.  First, Aqua has a 2,930-foot active four-inch water main running through the property. Second, Aqua has a 5/8” water meter on the property that up until January 29, 2020, was used to supply water to a residential connection.  The water meter continues to be available for service presently.  Third, Aqua has facilities adjacent to the tract in question.

Of these three, Staff recommends that the second factor, the continuing presence of a water meter, should be dispositive in this matter.  Under the Crystal Clear standard, a tract is receiving service when facilities or lines are used or committed to providing such service.  Here, Aqua asserts that the meter remains at the ready to provide service again.  In addition, a residential connection within the tract was billed for water service until January 29, 2020—27 days after the petition was filed.  As such, Staff contends that the water meter is specifically committed to providing service, remains ready to provide service, and therefore, the tract at issue is receiving water service.  As the property appears to be receiving water service, Staff recommends that the petition be denied.

- Conclusion

Staff respectfully requests the issuance of an order consistent with the foregoing recommendation.

Dated:  July 24, 2020

Respectfully submitted,

PUBLIC UTILITY COMMISSION OF TEXAS LEGAL DIVISION

Rachelle Nicolette Robles

Division Director

Eleanor D’Ambrosio

Managing Attorney

/s/ Creighton R. McMurray

Creighton R. McMurray

State Bar No. 24109536

1701 N. Congress Avenue

P.O. Box 13326

Austin, Texas 78711-3326

(512) 936-7275

(512) 936-7268 (facsimile)

creighton.mcmurray@puc.texas.gov

DOCKET NO. 50405

CERTIFICATE OF SERVICE

I certify that, unless otherwise ordered by the presiding officer, notice of the filing of this document was provided to all parties of record via electronic mail on July 24, 2020, in accordance with the Order Suspending Rules, issued in Project No. 50664.

/s/ Creighton R. McMurray

Creighton R. McMurray

Aqua Texas’ Supplemental Response to Petition of The Sanctuary Texas, LLC, Affidavit of Darryl Waldock at Exhibit A and Attachment 1 (Jul. 17, 2020) (Aqua’s Response).

Tex. Gen. Land Office v. Crystal Clear Water Supply Corp., 449 S.W.3d 130, 140 (Tex. App.—Austin 2014, pet. denied).

Aqua’s Response at 3.

Id. at Attachment 2.