REQUEST:

Describe the conditions under which TU Electric would be required to interrupt loads under paragraph (a) of the Curtailment Provisions of Rate GTUC, and provide all relevant excerpts from the ERCOT Operating Guidelines and any other documents governing TU Electric’s operations.

RESPONSE:

The following response was prepared by or under the direct supervision of Stephen J. Houle, the sponsoring witness for this response.

As referenced under paragraph (a) of the Curtailment Provisions of Rate GTUC, TU Electric will interrupt loads under the direction of the ERCOT Independent System Operator (ISO) during periods of capacity limitations within ERCOT where either TU Electric, or depending on severity of the shortage another control area(s), is unable to meet the current system load plus responsive reserve requirements of the total ERCOT system.  Also, the ERCOT ISO may order the interruption of load to maintain transmission system security.

The requested documents are voluminous and will be made available in the Austin voluminous room.