PUC Interoffice Memorandum

To:		Robert Dakota Parish, Attorney

Legal Division

From:		Elisabeth English, Engineering Specialist

Infrastructure Division

Date:  		April 23, 2020

Subject:	Docket No. 50422: Application of Johnson Water Service and SP Utility Company, Inc. for Sale, Transfer, or Merger of Facilities and Certificate Rights in Brazoria County

On January 8, 2020, Johnson Water Service (Johnson WS or Seller) and SP Utility Company, Inc. (SP Utility or Buyer) (collectively “Applicants”) filed an application for Sale, Transfer, or Merger (STM) of certificate rights and facilities in Brazoria County, Texas.  The STM application is being reviewed consistent with 16 Texas Administrative Code (TAC) §§ 24.227 and 24.239 and Texas Water Code (TWC) §§ 13.241, 13.246, and 13.301. SP Utility seeks an amendment to their water Certificate of Convenience and Necessity (CCN) No. 12978 via the transfer of service area located within Johnson WS’s water CCN No. 12004. The application also seeks approval for the purchase of Johnson WS’s facilities and the subsequent cancellation of CCN No. 12004.

Johnson WS currently owns and operates the Texas Commission on Environmental Quality (TCEQ) public water supply (PWS) named “Oleander Road Mobile Home Development” (PWS ID 0200158). The PWS provides water utility service to 44 residential customers that are located within the boundaries of CCN No. 12004, which has a service area of approximately 28 acres.  The application proposes the sale and transfer of the public water system, CCN, and existing customers to SP Utility.

On March 23, 2020 Johnson WS supplemented their application. Based on Staff’s review of the above referenced application and the supplemental filing, Staff recommends that the application be deemed sufficient for filing and be found administratively complete.  Staff also recommends the following actions be required of the applicants:

- Provide notice of the application to the following:

- cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area, and any city with an extraterritorial jurisdiction that overlaps the requested area;

    - Aqua Texas Inc. (CCN No. 13203)

    - Brazoria County MUD 21 (CCN No. 13042)

    - Brazoria County MUD 22 (CCN No. 13231)

    - City of Pearland (CCN No. 11008)

    - Johnson’s Water Service (CCN No. 12004)

    - Brazoria County MUD 6

    - Brazoria County MUD 22

    - Brazoria County MUD 25

    - Brazoria County MUD 26

    - Brazoria County MUD 34

    - Brazoria County MUD 35

    - Brazoria County MUD 39

    - Brazoria County MUD 40

    - Brazoria Drainage District 4

    - Fort Bend County Drainage District

- the county judge of each county that is wholly or partially included in the requested area;

    - Brazoria County Judge

- each groundwater conservation district that is wholly or partially included in the requested area;

    - Brazoria County Groundwater Conservation District

- any affected customers and other affected parties in the requested area.

- Provide an accurate map delineating the requested service area with each individual notice to neighboring utilities, other affected parties, and customers.

- File in the docket an affidavit specifying every person and entity to whom notice was provided and the date that the notice was provided. Also file a representative copy of the actual notice and a copy of the map that was included with each individual notice. All documentation must be filed within 30 days of the date of the notice. It is recommended that the applicants use the attached notice and affidavit to meet these requirements.