PUC Interoffice Memorandum

To:	Robert Dakota Parish, Attorney

Legal Division

From:		Heidi Graham, Program Specialist

Infrastructure Division

Fred Bednarski, Financial Analyst

Rate Regulation Division

Date:	June 29, 2020

Subject:	Docket No. 50422, Application of Johnson Water Service and SP Utility Company, Inc. for Sale, Transfer, or Merger of Facilities and Certificate Rights in Brazoria County

On January 8, 2020, SP Utility Company, Inc. (Purchaser) and Johnson Water Service (Seller) (collectively, Applicants) filed an application for Sale, Transfer, or Merger (STM) of facilities and certificate rights in Brazoria County, Texas, under Texas Water Code (TWC) § 13.301 and 16 Texas Administrative Code (TAC) § 24.239.

Specifically, the Purchaser seeks approval to acquire facilities and to transfer water service area from Johnson Water Service under water Certificate of Convenience and Necessity (CCN) No. 12004, cancel CCN No. 12004 and amend SP Utility Company, Inc.’s CCN No. 12978. The requested area includes approximately 28 acres and 44 connections.

Notice

The comment period ended May 28, 2020, and no protests or opt-out requests were received.

Criteria Considered

TWC Chapter 13 and 16 TAC Chapter 24, require the Commission to consider nine criteria when granting or amending a water or sewer CCN. Therefore, the following criteria were considered:

TWC § 13.246(c)(1) requires the Commission to consider the adequacy of service currently provided to the requested area.

The Johnson Water Service has a public water system registered with Texas Commission on Environmental Quality (TCEQ) under PWS No. 0200158.  Johnson Water Service does not have any unresolved violations listed in the TCEQ database.

TWC § 13.246(c)(2) requires the Commission to consider the need for additional service in the requested area.

There are currently 44 existing customers in the requested area, therefore, there is a need for service.  No additional service is needed at this time.

TWC § 13.246(c)(3) requires the Commission to consider the effect of granting an amendment on the recipient of the certificate or amendment, on the landowners in the area, and on any other retail public utility of the same kind already servicing the proximate area.

There will be no effect on any retail public utility servicing the proximate area as there are no other water providers in the area. There will be no effect on landowners as the area is currently certificated.

TWC §§ 13.241(b), 13.246(c)(4) requires the Commission to consider the ability of the applicant to provide adequate service.

SP Utility Company, Inc. has a public water system, Savannah Plantation, registered with the TCEQ under PWS No. 0200599.  Savannah Plantation has violations listed in the TCEQ database, however, SP Utility Company, Inc.  is continuing to work toward compliance with TCEQ.  No additional construction is necessary for the purchaser to serve the requested area.

TWC § 13.241(d) requires the applicant to demonstrate to the Commission that regionalization or consolidation with another retail public utility is not economically feasible when construction of a physically separate water or sewer system is required to provide service to the requested area.

No additional construction is necessary for the purchaser to serve the requested area.

TWC § 13.246(c)(5) requires the Commission to consider the feasibility of obtaining service from an adjacent retail public utility.

The seller is currently serving customers and has sufficient capacity, therefore, the feasibility of obtaining service from another adjacent retail public utility was not considered.

TWC § 13.246(c)(6) requires the Commission to consider the financial ability of the Applicant to pay for facilities necessary to provide continuous and adequate service.

16 TAC § 24.11 establishes the criteria to demonstrate that an owner or operator of a retail public utility has the financial resources to operate and manage the utility and to provide continuous and adequate service to the current and requested utility service area. The financial tests include a leverage test and operations test. The Commission rules identify five leverage tests. The Purchaser must demonstrate that it meets one of the five tests.

The Purchaser meets one out of five leverage tests.  This analysis is based on the historical statements provided in the application.  The Purchaser meets the first test with a debt to equity ratio less than one. My calculation is available in Attachment FB-1 which has been filed as confidential.

16 TAC § 24.11(e)(3) refers to the operations test which requires that the owner or operator must demonstrate sufficient cash is available to cover any projected operations and maintenance shortages in the first five years of operations. The Purchaser submitted historical and projected financial statements, which show there are no shortages to cover.  The estimated cost of improvements needed to provide continuous and adequate service to the area is $2,245. These improvements or any future improvements will be funded by net income generated by the Purchaser and its affiliate, Flow-Tech. Therefore, the Purchaser meets the operations test.

TWC § 13.246(d)allows the Commission to require an applicant to provide a bond or other financial assurance in a form and amount specified by the Commission to ensure that continuous and adequate utility service is provided.

The Purchaser meets the financial test.  No additional assurance required.

TWC §§ 13.246(c)(7) and (9) require the Commission to consider the environmental integrity and the effect on the land to be included in the certificated area.

The environmental integrity of the land will not be affected as no additional construction is needed to provide service to the requested area.

TWC § 13.246(c)(8) requires the Commission to consider the probable improvement in service or lowering of cost to consumers.

The Purchaser will continue to provide water service to the existing customers in the requested area.

The Applicants meet all of the statutory requirements of TWC Chapter 13 and the Commission's Chapter 24 rules and regulations. Approving this application to transfer water facilities in the requested area, and the water service area of water CCN No. 12004 to SP Utility Company, Inc., cancel CCN No. 12004 and  amend SP Utility Company, Inc.’s CCN No. 12978 is necessary for the service, accommodation, convenience and safety of the public.

Recommendation on approval of sale

Staff recommends that the Commission find that the transaction will serve the public interest and allow the Applicants to proceed with the proposed transaction. Staff notes that no deposits are held by Johnson Water Service for the existing customers. Staff further recommends that a public hearing is not necessary.

See 16 TAC § 24.11(e)(2).

Id.