PUC Interoffice Memorandum

To:	Taylor Denison, Attorney

Legal Division

From:		Heidi Graham, Program Specialist VII

Infrastructure Division

Fred Bednarski, Financial Analyst

Rate Regulation Division

Date:  	June 8, 2020

Subject:	Docket No. 50424, Application of Monarch Utilities 1, L.P. and Goins Utility Service LLC for Sale, Transfer, or Merger of Facilities and Uncertificated Area in Polk County

On January 8, 2020, Monarch Utilities 1, L.P.  (Monarch or Purchaser) and Goins Utility Service LLC  (Goins or Seller) (collectively, Applicants) filed an application for Sale, Transfer, or Merger (STM) of facilities and certificate rights in Polk County, Texas, according to Texas Water Code (TWC) §§ 13.242 to 13.250 and § 13.301 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237 and § 24.239.

Specifically, Monarch, water Certificate of Convenience and Necessity (CCN) No. 12983 and sewer CCN No. 20899, seeks approval to acquire facilities and to incorporate all of Goins’ water and sewer uncertificated service area. In addition, Lake Livingston Water Supply & Sewer Service, CCN No. 10147, has agreed to decertify a portion of its water service area, which is approximately 5 acres, and Monarch requests to amend the area to CCN No. 12983.

The requested water service area includes approximately 17 total acres and 36 current customers.

The requested sewer area includes approximately 24 total acres and 36 current customers.

The area of Lake Livingston Water Supply & Sewer Service (CCN No. 10147) to be decertified is approximately 5 acres and has no customers.

The Staff from the Infrastructure Division and the Rate Regulation Division have reviewed the application and supplemental information filed by the Applicants and recommend  that the application be deemed sufficient for filing and found administratively complete. Staff further recommends the Applicants be ordered to do the following:

- Provide notice of the application to the following:

- Cities, districts, and neighboring retail public utilities providing the same utility service whose corporate boundaries or certificated service area are located within two miles from the outer boundary of the requested area;

- David Lee Sheffield (CCN No. 11997)

- Lake Livingston Water Supply & Sewer Service (CCN No. 10147)

- Texas Landing Utilities (CCN No. 20569)

- Trinity River Authority of Texas

- The county judge of each county that is wholly or partially included in the requested area;

- Polk County Judge

- Each groundwater conservation district that is wholly or partially included in the requested area;

- Lower Trinity GCD

- Landowners who own a tract of land that is at least 25 acres and is wholly or partly located in the requested area to be certified.  The landowner information may be obtained from the county appraisal district tax rolls for the county or counties in which the requested area is located;

- Any affected customers, and other affected parties in the requested area; and

- Publish notice once each week for two (2) consecutive weeks in a newspaper of general circulation in Polk County.

- Provide an accurate map delineating the requested service area with each individual notice to neighboring utilities, other affected parties, landowners and customers.  Information related to districts including addresses can be obtained by the Applicant from the TCEQ web site located at http://www14.tceq.texas.gov/iwud/.

- File in the docket a map and copy of notice along with an affidavit specifying every person and entity to whom notice was provided and the date that the notice was provided. It is recommended that the Applicant use the attached notice and affidavit to meet these requirements.

Please note, Staff may determine that additional information is needed to make a final recommendation in this docket. If additional information is needed Staff may send requests for information (RFI) to the Applicant(s). The Applicant(s) will have 20 days from the receipt of the RFI to respond unless additional time is requested by the Applicant(s).