DOCKET NO. 50424

| APPLICATION OF MONARCH UTILITIES 1, L.P. AND GOINS UTILITY SERVICE LLC FOR SALE, TRANSFER, OR MERGER OF FACILITIES AND UNCERTIFICATED AREA IN POLK COUNTY | § § § § § § | PUBLIC UTILITY COMMISSION OF TEXAS |
| --- | --- | --- |

COMMISSION STAFF’S RECOMMENDATION ON FINAL DISPOSITION

#### COMES NOW the Staff of the Public Utility Commission of Texas (Staff), representing the public interest, and in response to Order No. 9, files this Recommendation on Final Disposition. In support thereof, Staff shows the following:

- BACKGROUND

On January 8, 2020, Monarch Utilities 1, L.P. (Monarch) and Goins Utility Service LLC (Goins) (collectively, Applicants) filed an application for approval of the sale, transfer, or merger of facilities and uncertificated area in Polk County. Monarch seeks to purchase all the water and wastewater assets of Goins. The requested sale and transfer includes 36 connections and approximately 17 total acres for the requested water service area and approximately 24 total acres for the requested sewer service area. The Applicants filed supplemental information to their application on March 10, 2020, April 7, 2020, and on April 27, 2020.

On July 7, 2020, the administrative law judge (ALJ) filed Order No. 5, finding the application administratively complete. On September 2, 2020, the ALJ filed Order No. 7, finding notice sufficient.

On October 19, 2020, the ALJ filed Order No. 9, requiring Staff to request a hearing or file a recommendation on the approval of the sale and CCN amendment by November 5, 2020. Therefore, this pleading is timely filed.

- RECOMMENDATION

Staff has reviewed the supplemented application and, as supported by the attached memorandum of Heidi Graham, Infrastructure Division, recommends that the proposed transaction does not satisfy the criteria in Texas Water Code § 13.246(c) and Texas Administrative Code (TAC) §§ 24.225-24.239. Specifically, Monarch has not provided sufficient information related to: the economic feasibility of regionalization or consolidation with another retail public utility; obtaining service from a neighboring retail public utility; how Monarch’s purchase of Goins would result in any improvement in service for Goins’ customers; or the potential significant environmental impacts of construction projects that were not shown to be necessary. In addition, the transaction would result in a significant increase in rates for Goins’ customers due to the implementation of Monarch’s consolidated rates, despite no indication that those rates are based on the specific reasonable and necessary costs of serving Goins’ customers. Finally, the service provided by Goins to its customers is adequate at this time while Monarch has active violations from 2019 for its Oak Terrace Estates public water system, to which Monarch plans to  interconnect Goins, for failure to maintain all equipment in good working condition and failure to provide the required well production capacity of 0.6 gallons per minute per connection. Therefore, Staff does not recommend that the transaction be approved to proceed at this time.

- CONCLUSION

Staff respectfully requests the entry of an order consistent with the foregoing recommendation.

Dated: November 5, 2020

Respectfully submitted,

PUBLIC UTILITY COMMISSION OF TEXAS

LEGAL DIVISION

Rachelle Nicolette Robles

Division Director

Heath D. Armstrong

Managing Attorney

/s/ Taylor P. Denison_______

Taylor P. Denison

State Bar No. 24116344

1701 N. Congress Avenue

P.O. Box 13326

Austin, Texas 78711-3326

(512) 936-7203

(512) 936-7268 (facsimile)

taylor.denison@puc.texas.gov

DOCKET NO. 50424

CERTIFICATE OF SERVICE

I certify that, unless otherwise ordered by the presiding officer, notice of the filing of this document was provided to all parties of record via electronic mail on November 5, 2020, in accordance with the Order Suspending Rules, issued in Project No. 50664.

/s/ Taylor P. Denison_______

Taylor P. Denison