PUC Interoffice Memorandum

To:	John Harrison, Attorney

Legal Division

From:	Constance McDaniel Wyman, Director or Engineering

Infrastructure Division

Date: 	December 14, 2020

Subject: 	Docket 50501, Application of Kenneth V Land and Greg Coburn for Sale, Transfer or Merger of Exempt Utility Registration

On September 18, 2020, in response to Order No. 6, Greg Coburn (Mr. Coburn), filed an application for exempt utility registration under 16 Texas Administrative Code § 24.229(e) for a utility with less than 15 potential connections. Mr. Coburn later supplemented his application with maps filed on October 26, 2020.

Staff has reviewed the information filed by Mr. Coburn and recommends that the application be deemed sufficient for filing and administratively complete.  The application states that the system, Lange Ranch Subdivision, Unit 2, Lot 1, has three active connections. The system has a total of 13 potential connections. The maps filed by Mr. Coburn reflect the same area.

A copy of the required customer notice and service rules must be provided to each current customer and to each future customer at the time they connect to the system.  Mr. Coburn’s application includes a “Water Service Application/Agreement” signed by each of the three customers with existing connections. Therefore, Staff does not recommend that Mr. Coburn provide any additional notice.