PUC Interoffice Memorandum

To:	Taylor Denison, Attorney

Legal Division

From:		Patricia Garcia, Engineering Specialist

Infrastructure Division

Date:  	May 8, 2020

Subject:	Docket No. 50543, Application of SP Utility, Inc. to Amend its Certificate of Convenience and Necessity and for Dual Certification with Drew T. Spencer dba Cypresswood Estates in Montgomery County

On February 12, 2020, SP Utility, Inc. (Applicant) filed with the Public Utility Commission of Texas (Commission) an application to amend its water Certificate of Convenience and Necessity (CCN) No. 12978 and for dual certification with Drew T. Spencer dba Cypresswood Estates Water System in Montgomery County, Texas pursuant to Texas Water Code (TWC) §§ 13.242 to 13.250 and 16 Texas Administrative Code (TAC) §§ 24.225 to 24.237.

Staff has reviewed the additional information provided by the Applicant on April 10, April 13, and April 16, 2020 and recommends that the application be deemed administratively incomplete and not accepted for filing.

The Applicant has stated it intends to replace the whole public water system with new facilities to serve the area. The Applicant states plans have not been submitted to the Texas Commission on Environmental Quality (TCEQ) for the requested area. The PUCT cannot recommend that an application is administratively complete until the Applicant has submitted proof that the plans and specifications for the proposed new facilities have been submitted to the TCEQ. In order to finalize approval of the CCN amendment, construction must be approved by the TCEQ and the construction approval letters must be filed in this docket per 16 TAC § 24.233(a)(14). If the Applicant intends to move forward with this application, Staff recommends the Applicant submit proof that the plans have been submitted to the TCEQ for approval.

Additionally, the Applicant should note that if any portion of Cypresswood Estates’ facilities are going to be used to serve the customers, the facilities must be transferred through a Sale, Transfer, Merger (STM) application.